## Slide 1
PLANARNA HROMATOGRAFIJA
Mobilna faza nošena kapilarnim silama prolazi kroz stacionarnu fazu.
Hromatografija na hartiji

## Slide 2
Stacionarna faza: “kompleks celuloza – voda”
Mobilna faza: smeše vode i organskih rastvarača
Jednodimenzionalna:
- uzlazna,
- silazna,
Dvodimenzionalna
Kružna

## Slide 3
Tankoslojna hromatografija
Stacionarna faza tanak sloj neke čvrste porozne supstance (silika-gel, aluminijum-oksid, celuloza)

## Slide 4
Analitička
Preparativna

## Slide 8
- podvrsta tečne hromatografije
Čvrsta stacionarna faza = (ad)sorbent
Tečna mobilna faza
 Eluciona moć rastvarača
 Zadržavajuće dejstvo sorbenta

## Slide 10
Normalno-fazni sistem: - stacionarna faza polarnija od mobilne
- polarniji sorbend  jača sorpcija
- polarniji rastvarač  slabija retencija
specifične interakcije: H-veze, dipol-dipol, jon-dipol, DA
Reversno-fazni sistem: - mobilna faza polarnija od stacionarne
- polarniji sorbend  slabija retencija
- polarniji rastvarač  jača retencija
nespecifične interakcije: disperzione i indukcione sile

## Slide 12
Fizičke karakteristike: prečnik pora 6 - 10 nm
velika specifična površina
velika zapremina pora

## Slide 13
Interakcije sa odvajanim supstancama:
vodonične veze
dipol - dipol
druge elektrostatičke interakcije

## Slide 23
Oprema za TLC

## Slide 30
Table 1. Characteristics of conventional TLC and HPTLC
Parameter Conventional TLC HPTLC
Plate size (cm) 20 × 20 10 × 10
Layer thickness (μm) 250 100 or 200
Average particle size (μm) 10 – 15 5 – 7
Particle-size distribution (μm) 0 – 25 0 – 10
Average plate height (μm) 35 – 75 23 – 25
Number of samples 10 18 – 36
Sample volume (μL) 1 – 5 0.1 – 0.2
Solvent volume (mL) 50 5 – 10
Development distance (cm) 10 – 15 3 – 5
Development time (min) 30 – 200 3 – 20
Limit of detection (ng)
Absorbance 1 – 5 0.05 – 0.1
Fluorescence – 0.5 0.005 – 0.010