## Primer 1
Linearna regresija opste karakteristike
| I | C
| 2.1 | 0
| 5 | 2
| 9 | 4
| 12.6 | 6
| 17.3 | 8
| 21 | 10
| 24.7 | 12
LOD | 0.6727
LOQ | 2.2423
SUMMARY OUTPUT
Regression Statistics
| Multiple R | 0.99888
| R Square | 0.99776
| Adjusted R Square | 0.99731
| Standard Error | 0.43285
| Observations | 7
ANOVA
|  | df | SS | MS | F | Significance F
| Regression | 1 | 417.3432 | 417.3432 | 2227.5276 | 8.066e-08 | 6.6079
| Residual | 5 | 0.93679 | 0.18736
| Total | 6 | 418.28
|  | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95,0% | Upper 95,0%
| Intercept | 1.5179 | 0.29494 | 5.1464 | 0.0036258 | 0.7597 | 2.276 | 0.7597 | 2.276
| X Variable 1 | 1.9304 | 0.0409 | 47.1967 | 8.066e-08 | 1.8252 | 2.0355 | 1.8252 | 2.0355
0.75816
0.10514
RESIDUAL OUTPUT
| Observation | Predicted Y | Residuals | Standard Residuals
| 1 | 1.5179 | 0.58214 | 1.4733
| 2 | 5.3786 | -0.37857 | -0.95808
| 3 | 9.2393 | -0.23929 | -0.60558
| 4 | 13.1 | -0.5 | -1.2654
| 5 | 16.9607 | 0.33929 | 0.85866
| 6 | 20.8214 | 0.17857 | 0.45193
| 7 | 24.6821 | 0.017857 | 0.045193

## Primer 2
Linearna regresija: analiza reziduala
Količina [ng] | Povrsina pika A | Površina pika B | Povrsina pika C | Povrsina pika D | Povrsina E | [5 empty] | Visina pika
14 | 1559.96 | 1559.96 | 1259.96 | 1559.96 | 2559.96 | [5 empty] | 38.68
28 | 3236.7 | 3146.8 | 3136.7 | 3236.7 | 4236.7 | [5 empty] | 71.3
55.9 | 5167.84 | 4994.84 | 6267.84 | 4067.84 | 6167.84 | [5 empty] | 101.98
111.8 | 11123.37 | 11114.69 | 12343.37 | 11123.37 | 12123.37 | [5 empty] | 153.96
167.8 | 16142.33 | 16640.9 | 18142.33 | 16142.33 | 17142.33 | [5 empty] | 172.79
209.7 | 20630.16 | 20787.89 | 21330.16 | 20330.16 | 21630.16 | [5 empty] | 185.62
279.6 | 26726.24 | 25193.81 | 24726.24 | 26726.24 | 27726.24 | [5 empty] | 205.76
A-normalni rezultati
B - trend
C - kriva linija
D - prisustvo spoljašnje vrednosti
SUMMARY OUTPUT A | [8 empty] | SUMMARY OUTPUT B | [8 empty] | SUMMARY OUTPUT C | [8 empty] | SUMMARY OUTPUT D | [8 empty] | SUMMARY OUTPUT
Regression Statistics | [8 empty] | Regression Statistics | [8 empty] | Regression Statistics | [8 empty] | Regression Statistics | [8 empty] | Regression Statistics
Multiple R | 0.99953 | [7 empty] | Multiple R | 0.99694 | [7 empty] | Multiple R | 0.98987 | [7 empty] | Multiple R | 0.99797 | [7 empty] | Multiple R | 0.99867
R Square | 0.99907 | [7 empty] | R Square | 0.99388 | [7 empty] | R Square | 0.97985 | [7 empty] | R Square | 0.99595 | [7 empty] | R Square | 0.99735
Adjusted R Square | 0.99888 | [7 empty] | Adjusted R Square | 0.99266 | [7 empty] | Adjusted R Square | 0.97581 | [7 empty] | Adjusted R Square | 0.99514 | [7 empty] | Adjusted R Square | 0.83068
Standard Error | 317.8118 | [7 empty] | Standard Error | 790.1437 | [7 empty] | Standard Error | 1436.8002 | [7 empty] | Standard Error | 669.24 | [7 empty] | Standard Error | 876.5651
Observations | 7 | [7 empty] | Observations | 7 | [7 empty] | Observations | 7 | [7 empty] | Observations | 7 | [7 empty] | Observations | 7
ANOVA | [8 empty] | ANOVA | [8 empty] | ANOVA | [8 empty] | ANOVA | [8 empty] | ANOVA
| df | SS | MS | F | Significance F |  |  |  |  | df | SS | MS | F | Significance F |  |  |  |  | df | SS | MS | F | Significance F |  |  |  |  | df | SS | MS | F | Significance F |  |  |  |  | df | SS | MS | F | Significance F
Regression | 1 | 541183277.661 | 541183277.661 | 5358.0193 | 9.0142e-09 |  |  |  | Regression | 1 | 506904598.2702 | 506904598.2702 | 811.9215 | 9.9725e-07 |  |  |  | Regression | 1 | 501828523.2516 | 501828523.2516 | 243.0875 | 1.9722e-05 |  |  |  | Regression | 1 | 550556184.3182 | 550556184.3182 | 1229.2432 | 3.5517e-07 |  |  |  | Regression | 1 | 1735378858.3452 | 1735378858.3452 | 2258.5305 | 7.7926e-08
Residual | 5 | 505021.7652 | 101004.353 | [5 empty] | Residual | 5 | 3121635.5953 | 624327.1191 | [5 empty] | Residual | 5 | 10321974.4032 | 2064394.8806 | [5 empty] | Residual | 5 | 2239411.108 | 447882.2216 | [5 empty] | Residual | 6 | 4610198.161 | 768366.3602
Total | 6 | 541688299.4262 | [6 empty] | Total | 6 | 510026233.8655 | [6 empty] | Total | 6 | 512150497.6548 | [6 empty] | Total | 6 | 552795595.4262 | [6 empty] | Total | 7 | 1739989056.5062
| Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95,0% | Upper 95,0% |  | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95,0% | Upper 95,0% |  | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95,0% | Upper 95,0% |  | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95,0% | Upper 95,0% |  | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95,0% | Upper 95,0% | Upper 95,0%
Intercept | 281.8049 | 201.0602 | 1.4016 | 0.21996 | -235.0367 | 798.6466 | -235.0367 | 798.6466 | Intercept | 497.7309 | 499.8758 | 0.99571 | 0.36511 | -787.2408 | 1782.7025 | -787.2408 | 1782.7025 | Intercept | 1093.3088 | 908.976 | 1.2028 | 0.2829 | -1243.2884 | 3429.9059 | -1243.2884 | 3429.9059 | Intercept | -19.9574 | 423.3874 | -0.047137 | 0.96423 | -1108.3094 | 1068.3946 | -1108.3094 | 1068.3946 | Intercept | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 1798.6466
X Variable 1 | 95.3091 | 1.3021 | 73.1985 | 9.0142e-09 | 91.9621 | 98.6562 | 91.9621 | 98.6562 | X Variable 1 | 92.2413 | 3.2372 | 28.4942 | 9.9725e-07 | 83.9199 | 100.5628 | 83.9199 | 100.5628 | X Variable 1 | 91.7783 | 5.8865 | 15.5913 | 1.9722e-05 | 76.6465 | 106.9101 | 76.6465 | 106.9101 | X Variable 1 | 96.1309 | 2.7419 | 35.0606 | 3.5517e-07 | 89.0828 | 103.1791 | 89.0828 | 103.1791 | X Variable 1 | 101.9658 | 2.1456 | 47.524 | 5.8184e-09 | 96.7158 | 107.2158 | 96.7158 | 107.2158 | 98.6562
RESIDUAL OUTPUT | [8 empty] | RESIDUAL OUTPUT | [8 empty] | RESIDUAL OUTPUT | [8 empty] | RESIDUAL OUTPUT | [8 empty] | RESIDUAL OUTPUT
Observation | Predicted Y | Residuals | Standard Residuals | [5 empty] | Observation | Predicted Y | Residuals | Standard Residuals | [5 empty] | Observation | Predicted Y | Residuals | Standard Residuals | [5 empty] | Observation | Predicted Y | Residuals | Standard Residuals | [5 empty] | Observation | Predicted Y | Residuals | Standard Residuals
1 | 1616.1329 | -56.1729 | -0.19362 | [5 empty] | 1 | 1789.1093 | -229.1493 | -0.31769 | [5 empty] | 1 | 2378.2051 | -1118.2451 | -0.85257 | [5 empty] | 1 | 1325.8758 | 234.0842 | 0.38316 | [5 empty] | 1 | 1427.5211 | 1132.4389 | 1.3954
2 | 2950.4609 | 286.2391 | 0.98662 | [5 empty] | 2 | 3080.4877 | 66.3123 | 0.091934 | [5 empty] | 2 | 3663.1014 | -526.4014 | -0.40134 | [5 empty] | 2 | 2671.709 | 564.991 | 0.92481 | [5 empty] | 2 | 2855.0421 | 1381.6579 | 1.7025
3 | 5609.586 | -441.746 | -1.5226 | [5 empty] | 3 | 5654.0205 | -659.1805 | -0.91388 | [5 empty] | 3 | 6223.7163 | 44.1237 | 0.033641 | [5 empty] | 3 | 5353.7623 | -1285.9223 | -2.1049 | [5 empty] | 3 | 5699.8877 | 467.9523 | 0.57662
4 | 10937.3672 | 186.0028 | 0.64112 | [5 empty] | 4 | 10810.3102 | 304.3798 | 0.42199 | [5 empty] | 4 | 11354.1238 | 989.2462 | 0.75422 | [5 empty] | 4 | 10727.4821 | 395.8879 | 0.64801 | [5 empty] | 4 | 11399.7754 | 723.5946 | 0.89163
5 | 16274.6792 | -132.3492 | -0.45619 | [5 empty] | 5 | 15975.8239 | 665.0761 | 0.92205 | [5 empty] | 5 | 16493.7091 | 1648.6209 | 1.2569 | [5 empty] | 5 | 16110.8149 | 31.5151 | 0.051585 | [5 empty] | 5 | 17109.8596 | 32.4704 | 0.040011
6 | 20268.1323 | 362.0277 | 1.2478 | [5 empty] | 6 | 19840.7351 | 947.1549 | 1.3131 | [5 empty] | 6 | 20339.2203 | 990.9397 | 0.75551 | [5 empty] | 6 | 20138.7014 | 191.4586 | 0.31339 | [5 empty] | 6 | 21382.2262 | 247.9338 | 0.30551
7 | 26930.2414 | -204.0014 | -0.70316 | [5 empty] | 7 | 26288.4032 | -1094.5932 | -1.5175 | [5 empty] | 7 | 26754.5241 | -2028.2841 | -1.5464 | [5 empty] | 7 | 26858.2544 | -132.0144 | -0.21609 | [5 empty] | 7 | 28509.635 | -783.395 | -0.96532

## Primer 3
Granica detekcije: uticaj greške modela i nagiba
Slučaj C
Slučaj A | [10 empty] | C | Povrsina
| C | Povrsina | [7 empty] | 1 | 31.5 | 8815.5
1 | 31.5 | 4897.5 | [7 empty] | 2 | 63 | 12122.064
2 | 63 | 6734.48 | [7 empty] | 3 | 126 | 17994.888
3 | 126 | 9997.16 | [7 empty] | 4 | 252 | 29425.066
4 | 252 | 17458.37 | [7 empty] | 5 | 378 | 39874.302
5 | 378 | 22152.39 | [7 empty] | 6 | 472.5 | 46989.862
6 | 472.5 | 27216.59 | [7 empty] | 7 | 630 | 59464.512
7 | 630 | 33035.84
Slučaj B | [10 empty] | SUMMARY OUTPUT
| C | Povrsina
1 | 31.5 | 4597.5 | [8 empty] | Regression Statistics
2 | 63 | 6734.48 | [8 empty] | Multiple R | 0.99918
3 | 126 | 9997.16 | [8 empty] | R Square | 0.99835
4 | 252 | 17458.37 | [8 empty] | Adjusted R Square | 0.99802
5 | 378 | 22152.39 | [8 empty] | Standard Error | 844.2711
6 | 472.5 | 28216.59 | [8 empty] | Observations | 7
7 | 630 | 32035.84
ANOVA
[12 empty] | df | SS | MS | F | Significance F
[11 empty] | Regression | 1 | 2160470446.4614 | 2160470446.4614 | 3030.9896 | 3.7395e-08
[11 empty] | Residual | 5 | 3563968.7806 | 712793.7561
[11 empty] | Total | 6 | 2164034415.242
[12 empty] | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95,0% | Upper 95,0%
[11 empty] | Intercept | 7090.7688 | 534.089 | 13.2764 | 4.3337e-05 | 5717.8492 | 8463.6884 | 5717.8492 | 8463.6884
[11 empty] | X Variable 1 | 84.5114 | 1.5351 | 55.0544 | 3.7395e-08 | 80.5654 | 88.4574 | 80.5654 | 88.4574
SUMMARY OUTPUT
[11 empty] | LOD | 29.9701
Regression Statistics
| Multiple R | 0.9971
| R Square | 0.9942 | [8 empty] | C | Povrsina | Povrsina | Povrsina
| Adjusted R Square | 0.99304 | [8 empty] | 31.5 | 4897.5 | 4597.5 | 8815.5
| Standard Error | 893.4303 | [8 empty] | 63 | 6734.48 | 6734.48 | 12122.064
| Observations | 7 | [8 empty] | 126 | 9997.16 | 9997.16 | 17994.888
[11 empty] | 252 | 17458.37 | 17458.37 | 29425.066
| ANOVA | [9 empty] | 378 | 22152.39 | 22152.39 | 39874.302
|  | df | SS | MS | F | Significance F |  |  |  |  | 472.5 | 27216.59 | 28216.59 | 46989.862
| Regression | 1 | 684296801.6189 | 684296801.6189 | 857.281 | 8.7113e-07 |  |  |  |  | 630 | 33035.84 | 32035.84 | 59464.512
| Residual | 5 | 3991088.0943 | 798217.6189
| Total | 6 | 688287889.7131
|  | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95,0% | Upper 95,0%
| Intercept | 4086.1451 | 565.1873 | 7.2297 | 0.00078987 | 2633.2849 | 5539.0053 | 2633.2849 | 5539.0053
| X Variable 1 | 47.5624 | 1.6244 | 29.2794 | 8.7113e-07 | 43.3866 | 51.7381 | 43.3866 | 51.7381
| LOD | 56.3532

## Primer 4
Granica detekcije: uticaj opsega
SUMMARY OUTPUT
| C | Povrsina
1 | 31.5 | 4897.5 | Regression Statistics
2 | 63 | 6734.48 | Multiple R | 0.9971
3 | 126 | 9997.16 | R Square | 0.9942
4 | 252 | 17458.37 | Adjusted R Square | 0.99304
5 | 378 | 22152.39 | Standard Error | 893.4303
6 | 472.5 | 27216.59 | Observations | 7
7 | 630 | 33035.84
ANOVA
|  |  |  | df | SS | MS | F | Significance F
|  |  | Regression | 1 | 684296801.6189 | 684296801.6189 | 857.281 | 8.7113e-07
|  |  | Residual | 5 | 3991088.0943 | 798217.6189
|  |  | Total | 6 | 688287889.7131
|  |  |  | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95,0% | Upper 95,0%
| C | Povrsina | Intercept | 4086.1451 | 565.1873 | 7.2297 | 0.00078987 | 2633.2849 | 5539.0053 | 2633.2849 | 5539.0053
1 | 31.5 | 4897.5 | X Variable 1 | 47.5624 | 1.6244 | 29.2794 | 8.7113e-07 | 43.3866 | 51.7381 | 43.3866 | 51.7381
2 | 45 | 5623.47
3 | 63 | 6734.48 | LOD | 56.3532
4 | 100 | 8638.12 | SUMMARY OUTPUT
5 | 126 | 9997.16
6 | 180.5 | 14238.75 | Regression Statistics
7 | 252 | 17458.37 | Multiple R | 0.9972
|  |  | R Square | 0.9944
|  |  | Adjusted R Square | 0.99328
|  |  | Standard Error | 382.3372
|  |  | Observations | 7
ANOVA
|  |  |  | df | SS | MS | F | Significance F
|  |  | Regression | 1 | 129740033.2959 | 129740033.2959 | 887.5254 | 7.9914e-07
|  |  | Residual | 5 | 730908.8244 | 146181.7649
|  |  | Total | 6 | 130470942.1203
|  |  |  | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95,0% | Upper 95,0%
|  |  | Intercept | 2992.0081 | 266.2909 | 11.2359 | 9.7522e-05 | 2307.4856 | 3676.5307 | 2307.4856 | 3676.5307
|  |  | X Variable 1 | 58.4509 | 1.962 | 29.7914 | 7.9914e-07 | 53.4074 | 63.4944 | 53.4074 | 63.4944
|  |  | LOD | 19.6235

## Primer 5
Očitana vrednost - uticaj položaja očitavanja i broja ponovljenih merenja
Kalibracija |  |  |  | A |  | B |  | C
| C | Povrsina |  | Očitana vrednost |  | Očitana vrednost |  | Očitana vrednost
1 | 31.5 | 4897.5 |  | 18235.44 | 297.4925 | 9147.72 | 106.4215 | 18235.44
2 | 63 | 6734.48 |  | 17792.35 | 288.1765 | 8956.175 | 102.3942 | 17793.2
3 | 126 | 9997.16 |  | 17793.2 | 288.1944 | 8696.6 | 96.9366 | 17888.46
4 | 252 | 17458.37 |  | 17606.15 | 284.2616 | 8703.075 | 97.0728
5 | 378 | 22152.39 |  | 17888.46 | 290.1972 | 8944.23 | 102.1431
6 | 472.5 | 27216.59 |  | 18306.78 | 298.9925 | 9153.39 | 106.5407
7 | 630 | 33035.84 |  |  | 5.7903 |  | 4.2478
|  |  | y0 | 17937.0633 |  | 8933.5317 |  | 17972.3667
|  |  | x0 | 291.2191 |  | 101.9182 |  | 291.9614
|  |  | Sx0 | 10.459 |  | 12.0746 |  | 12.97
SUMMARY OUTPUT
Regression Statistics
|  |  | Multiple R | 0.9971
|  |  | R Square | 0.9942
|  |  | Adjusted R Square | 0.99304
|  |  | Standard Error | 893.4303
|  |  | Observations | 7
ANOVA
|  |  |  | df | SS | MS | F | Significance F
|  |  | Regression | 1 | 684296801.6189 | 684296801.6189 | 857.281 | 8.7113e-07
|  |  | Residual | 5 | 3991088.0943 | 798217.6189
|  |  | Total | 6 | 688287889.7131
|  |  |  | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95,0% | Upper 95,0%
|  |  | Intercept | 4086.1451 | 565.1873 | 7.2297 | 0.00078987 | 2633.2849 | 5539.0053 | 2633.2849 | 5539.0053
|  |  | X Variable 1 | 47.5624 | 1.6244 | 29.2794 | 8.7113e-07 | 43.3866 | 51.7381 | 43.3866 | 51.7381

## Primer 6
Očitana vrednost - uticaj greške modela i nagiba prave
Hromatografski uslovi A | [5 empty] | SUMMARY OUTPUT
| C | Povrsina |  | Očitana vrednost
1 | 31.5 | 4897.5 |  | 18235.44 | 297.4925 | Regression Statistics
2 | 63 | 6734.48 |  | 17792.35 | 288.1765 | Multiple R | 0.9971
3 | 126 | 9997.16 |  | 17793.2 | 288.1944 | R Square | 0.9942
4 | 252 | 17458.37 |  | 17606.15 | 284.2616 | Adjusted R Square | 0.99304
5 | 378 | 22152.39 |  | 17888.46 | 290.1972 | Standard Error | 893.4303
6 | 472.5 | 27216.59 |  | 18306.78 | 298.9925 | Observations | 7
7 | 630 | 33035.84 |  | 17937.0633 | 5.7903
|  |  | y0 | 17937.0633 |  | ANOVA
|  |  | x0 | 291.2159 |  |  | df | SS | MS | F | Significance F
|  |  | Sx0 | 10.459 |  | Regression | 1 | 684296801.6189 | 684296801.6189 | 857.281 | 8.7113e-07
[6 empty] | Residual | 5 | 3991088.0943 | 798217.6189
Hrmatografski uslovi B | [5 empty] | Total | 6 | 688287889.7131
| C | Povrsina |  | Očitana vrednost
1 | 31.5 | 4597.5 |  | 18235.44 | 298.5036 |  | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95,0% | Upper 95,0%
2 | 63 | 6734.48 |  | 17792.35 | 289.1334 | Intercept | 4086.1451 | 565.1873 | 7.2297 | 0.00078987 | 2633.2849 | 5539.0053 | 2633.2849 | 5539.0053
3 | 126 | 9997.16 |  | 17793.2 | 289.1514 | X Variable 1 | 47.5624 | 1.6244 | 29.2794 | 8.7113e-07 | 43.3866 | 51.7381 | 43.3866 | 51.7381
4 | 252 | 17458.37 |  | 17606.15 | 285.1957
5 | 378 | 22152.39 |  | 17888.46 | 291.1659 | SUMMARY OUTPUT
6 | 472.5 | 28216.59 |  | 18306.78 | 300.0123
7 | 630 | 32035.84 |  | 17937.0633 | 5.824 | Regression Statistics
|  |  | y0 | 17937.0633 |  | Multiple R | 0.99283
|  |  | x0 | 292.1933 |  | R Square | 0.98572
|  |  | Sx0 | 16.4877 |  | Adjusted R Square | 0.98286
[6 empty] | Standard Error | 1400.0774
[6 empty] | Observations | 7
ANOVA
[7 empty] | df | SS | MS | F | Significance F
[6 empty] | Regression | 1 | 676400577.8948 | 676400577.8948 | 345.0642 | 8.3208e-06
Hromatografski uslovi C | [5 empty] | Residual | 5 | 9801082.9612 | 1960216.5922
| C | Povrsina |  | Očitana vrednost |  | Total | 6 | 686201660.856
1 | 31.5 | 8815.5 |  | 32151.78 | 296.5399
2 | 63 | 12122.064 |  | 31525.55 | 289.1299 |  | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95,0% | Upper 95,0%
3 | 126 | 17994.888 |  | 31865.29 | 293.15 | Intercept | 4120.072 | 885.6941 | 4.6518 | 0.0055731 | 1843.3228 | 6396.8212 | 1843.3228 | 6396.8212
4 | 252 | 29425.066 |  | 31361.6 | 287.1899 | X Variable 1 | 47.2872 | 2.5456 | 18.5759 | 8.3208e-06 | 40.7434 | 53.8309 | 40.7434 | 53.8309
5 | 378 | 39874.302 |  | 31950.64 | 294.1599
6 | 472.5 | 46989.862 |  | 32022.48 | 295.01
7 | 630 | 59464.512
|  |  | y0 | 32022.48
|  |  | x0 | 295.01 |  | SUMMARY OUTPUT
|  |  | Sx0 | 5.5655
Regression Statistics
[6 empty] | Multiple R | 0.99918
[6 empty] | R Square | 0.99835
[6 empty] | Adjusted R Square | 0.99802
[6 empty] | Standard Error | 844.2711
[6 empty] | Observations | 7
ANOVA
[7 empty] | df | SS | MS | F | Significance F
[6 empty] | Regression | 1 | 2160470446.4614 | 2160470446.4614 | 3030.9896 | 3.7395e-08
[6 empty] | Residual | 5 | 3563968.7806 | 712793.7561
[6 empty] | Total | 6 | 2164034415.242
[7 empty] | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95,0% | Upper 95,0%
[6 empty] | Intercept | 7090.7688 | 534.089 | 13.2764 | 4.3337e-05 | 5717.8492 | 8463.6884 | 5717.8492 | 8463.6884
[6 empty] | X Variable 1 | 84.5114 | 1.5351 | 55.0544 | 3.7395e-08 | 80.5654 | 88.4574 | 80.5654 | 88.4574

## Primer 7
Očitana vrednost - uticaj koncentracionog opsega
SUMMARY OUTPUT
| C | Povrsina |  | Očitana vrednost
1 | 31.5 | 4897.5 |  | 9147.72 | 106.4197 | Regression Statistics
2 | 63 | 6734.48 |  | 8956.175 | 102.3942 | Multiple R | 0.9971
3 | 126 | 9997.16 |  | 8696.6 | 96.9366 | R Square | 0.9942
4 | 252 | 17458.37 |  | 8703.075 | 97.0728 | Adjusted R Square | 0.99304
5 | 378 | 22152.39 |  | 8944.23 | 102.1431 | Standard Error | 893.4303
6 | 472.5 | 27216.59 |  | 9153.39 | 106.5407 | Observations | 7
7 | 630 | 33035.84
|  |  | y0 | 9153.39 |  | ANOVA
|  |  | x0 | 106.5389 |  |  | df | SS | MS | F | Significance F
|  |  | Sx0 | 11.9963 |  | Regression | 1 | 684296801.6189 | 684296801.6189 | 857.281 | 8.7113e-07
[6 empty] | Residual | 5 | 3991088.0943 | 798217.6189
[6 empty] | Total | 6 | 688287889.7131
[7 empty] | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95,0% | Upper 95,0%
[6 empty] | Intercept | 4086.1451 | 565.1873 | 7.2297 | 0.00078987 | 2633.2849 | 5539.0053 | 2633.2849 | 5539.0053
| C | Povrsina |  | Očitana vrednost |  | X Variable 1 | 47.5624 | 1.6244 | 29.2794 | 8.7113e-07 | 43.3866 | 51.7381 | 43.3866 | 51.7381
1 | 126 | 8907.16 |  | 9147.72 | 106.4215
2 | 165 | 12132.7128 |  | 8956.175 | 102.3942
3 | 215 | 13710 |  | 8696.6 | 96.9366 | SUMMARY OUTPUT
4 | 252 | 16458.37 |  | 8703.075 | 97.0728
5 | 300 | 17435.63 |  | 8944.23 | 102.1431 | Regression Statistics
6 | 350 | 20163.873 |  | 9153.39 | 106.5407 | Multiple R | 0.98812
7 | 378 | 23252.39 |  |  |  | R Square | 0.97638
|  |  | y0 | 9153.39 |  | Adjusted R Square | 0.97166
|  |  | x0 | 122.0434 |  | Standard Error | 821.0848
|  |  | Sx0 | 12.821 |  | Observations | 7
ANOVA
[7 empty] | df | SS | MS | F | Significance F
[6 empty] | Regression | 1 | 139343107.5971 | 139343107.5971 | 206.6852 | 2.9361e-05
[6 empty] | Residual | 5 | 3370901.353 | 674180.2706
[6 empty] | Total | 6 | 142714008.9502
[7 empty] | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95,0% | Upper 95,0%
[6 empty] | Intercept | 2867.6281 | 965.3023 | 2.9707 | 0.031132 | 386.2395 | 5349.0166 | 386.2395 | 5349.0166
[6 empty] | X Variable 1 | 51.5043 | 3.5825 | 14.3766 | 2.9361e-05 | 42.2952 | 60.7135 | 42.2952 | 60.7135

## Primer 8
Metoda standardnog dodatka
Dodato Ag | Apsorbanca | [9 empty] | Dodato Ag | Apsorbanca
0 | 0.32 | [9 empty] | 0 | 0.32
5 | 0.41 | [9 empty] | 10 | 0.52
10 | 0.52 | [9 empty] | 20 | 0.7
15 | 0.6 | [9 empty] | 30 | 0.89
20 | 0.7
25 | 0.79
30 | 0.89
xE | 16.9245 | [9 empty] | xE | 17.1429
SxE | 0.38705 | [9 empty] | SxE | 0.4764
|  | SUMMARY OUTPUT | [10 empty] | SUMMARY OUTPUT
|  | Regression Statistics | [10 empty] | Regression Statistics
|  | Multiple R | 0.99967 | [9 empty] | Multiple R | 0.9998
|  | R Square | 0.99933 | [9 empty] | R Square | 0.99961
|  | Adjusted R Square | 0.9992 | [9 empty] | Adjusted R Square | 0.99941
|  | Standard Error | 0.0057941 | [9 empty] | Standard Error | 0.0059161
|  | Observations | 7 | [9 empty] | Observations | 4
|  | ANOVA | [10 empty] | ANOVA
|  |  | df | SS | MS | F | Significance F | [6 empty] | df | SS | MS | F | Significance F
|  | Regression | 1 | 0.2508 | 0.2508 | 7470.7447 | 3.9289e-09 | [5 empty] | Regression | 1 | 0.17861 | 0.17861 | 5103 | 0.00019591
|  | Residual | 5 | 0.00016786 | 3.3571e-05 | [7 empty] | Residual | 2 | 7e-05 | 3.5e-05
|  | Total | 6 | 0.25097 | [8 empty] | Total | 3 | 0.17868
|  |  | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95,0% | Upper 95,0% |  |  |  | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95,0% | Upper 95,0%
|  | Intercept | 0.32036 | 0.003948 | 81.1441 | 5.3866e-09 | 0.31021 | 0.33051 | 0.31021 | 0.33051 |  |  | Intercept | 0.324 | 0.0049497 | 65.4579 | 0.00023331 | 0.3027 | 0.3453 | 0.3027 | 0.3453
|  | X Variable 1 | 0.018929 | 0.000219 | 86.4335 | 3.9289e-09 | 0.018366 | 0.019492 | 0.018366 | 0.019492 |  |  | X Variable 1 | 0.0189 | 0.00026458 | 71.4353 | 0.00019591 | 0.017762 | 0.020038 | 0.017762 | 0.020038
[11 empty] | Dodato Ag | Apsorbanca
[11 empty] | 0 | 0.32
[11 empty] | 5 | 0.41
[11 empty] | 10 | 0.52
[11 empty] | 15 | 0.6
[11 empty] | xE | 16.8421
[11 empty] | SxE | 1.0182
SUMMARY OUTPUT
Regression Statistics
[13 empty] | Multiple R | 0.99834
[13 empty] | R Square | 0.99669
[13 empty] | Adjusted R Square | 0.99503
[13 empty] | Standard Error | 0.0086603
[13 empty] | Observations | 4
ANOVA
[14 empty] | df | SS | MS | F | Significance F
[13 empty] | Regression | 1 | 0.045125 | 0.045125 | 601.6667 | 0.0016579
[13 empty] | Residual | 2 | 0.00015 | 7.5e-05
[13 empty] | Total | 3 | 0.045275
[14 empty] | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95,0% | Upper 95,0%
[13 empty] | Intercept | 0.32 | 0.0072457 | 44.1642 | 0.0005123 | 0.28882 | 0.35118 | 0.28882 | 0.35118
[13 empty] | X Variable 1 | 0.019 | 0.0007746 | 24.5289 | 0.0016579 | 0.015667 | 0.022333 | 0.015667 | 0.022333

## Primer 9
Poređenje dve metode linearnom regresijom
Standard | Metod A | [8 empty] | Standard | Metod B
1.87 | 1.98 | [8 empty] | 1.87 | 2.18
2.2 | 2.31 | [8 empty] | 2.2 | 2.51
3.15 | 3.29 | [8 empty] | 3.15 | 3.49
3.42 | 3.56 | [8 empty] | 3.42 | 3.76
1.1 | 1.23 | [8 empty] | 1.1 | 1.43
1.41 | 1.57 | [8 empty] | 1.41 | 1.77
1.84 | 2.05 | [8 empty] | 1.84 | 2.25
0.68 | 0.66 | [8 empty] | 0.68 | 0.86
0.27 | 0.31 | [8 empty] | 0.27 | 0.51
2.8 | 2.92 | [8 empty] | 2.8 | 3.12
0.14 | 0.13 | [8 empty] | 0.14 | 0.33
3.2 | 3.15 | [8 empty] | 3.2 | 3.35
2.7 | 2.72 | [8 empty] | 2.7 | 2.92
2.43 | 2.31 | [8 empty] | 2.43 | 2.51
1.78 | 1.92 | [8 empty] | 1.78 | 2.12
1.53 | 1.56 | [8 empty] | 1.53 | 1.76
0.84 | 0.94 |  | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% |  | 0.84 | 1.14 |  | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95%
2.21 | 2.27 | Intercept | 0.059278 | 0.042106 | 1.4078 | 0.17622 | -0.029184 | 0.14774 | OK | 2.21 | 2.47 | Intercept | 0.25928 | 0.042106 | 6.1577 | 8.1725e-06 | 0.17082 | 0.34774 | NO
3.1 | 3.17 | X Variable 1 | 1.0055 | 0.019365 | 51.9228 | 4.6193e-21 | 0.96481 | 1.0462 | OK | 3.1 | 3.37 | X Variable 1 | 1.0055 | 0.019365 | 51.9228 | 4.6193e-21 | 0.96481 | 1.0462 | OK
2.34 | 2.36 | [8 empty] | 2.34 | 2.56
Standard | Metod C | [8 empty] | Standard | Metod D
1.87 | 2.277 | [8 empty] | 1.87 | 2.616
2.2 | 2.6565 | [8 empty] | 2.2 | 3.012
3.15 | 3.7835 | [8 empty] | 3.15 | 4.188
3.42 | 4.094 | [8 empty] | 3.42 | 4.512
1.1 | 1.4145 | [8 empty] | 1.1 | 1.716
1.41 | 1.8055 | [8 empty] | 1.41 | 2.124
1.84 | 2.3575 | [8 empty] | 1.84 | 2.7
0.68 | 0.759 | [8 empty] | 0.68 | 1.032
0.27 | 0.3565 | [8 empty] | 0.27 | 0.612
2.8 | 3.358 | [8 empty] | 2.8 | 3.744
0.14 | 0.1495 | [8 empty] | 0.14 | 0.396
3.2 | 3.6225 | [8 empty] | 3.2 | 4.02
2.7 | 3.128 | [8 empty] | 2.7 | 3.504
2.43 | 2.6565 | [8 empty] | 2.43 | 3.012
1.78 | 2.208 | [8 empty] | 1.78 | 2.544
1.53 | 1.794 |  | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% |  | 1.53 | 2.112 |  | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95%
0.84 | 1.081 | Intercept | 0.06817 | 0.048422 | 1.4078 | 0.17622 | -0.033561 | 0.1699 | OK | 0.84 | 1.368 | Intercept | 0.31113 | 0.050528 | 6.1577 | 8.1725e-06 | 0.20498 | 0.41729 | NO
2.21 | 2.6105 | X Variable 1 | 1.1563 | 0.02227 | 51.9228 | 4.6193e-21 | 1.1095 | 1.2031 | NO | 2.21 | 2.964 | X Variable 1 | 1.2066 | 0.023238 | 51.9228 | 4.6193e-21 | 1.1578 | 1.2554 | NO
3.1 | 3.6455 | [8 empty] | 3.1 | 4.044
2.34 | 2.714 | [8 empty] | 2.34 | 3.072