## Sheet1
Прилог уз конкурсну документацију ЈНМВ 11/15
Партија број | Назив | Опис | Напомена | Количина | Јединица | Цена по ј.мере без ПДВ-а | Укупно без ПДВ-а(колона 5 x колона 7) | Укупно са ПДВ-ом (колона 8 x ПДВ) | Произвођач
1 | adapter for thermometer, borosilicate glass 3.3 | neck thread 14, cone NS 14/23, adapter bore 6-8 mm |  | 6 | ком.
2 | Avan, porcelanski | Zapremina 220 ml, diam. 105 mm, height 64 mm |  | 1 | ком.
3 | Keramička mrežica | dimenzije 200 x 200 mm | dostaviti uzorak | 43 | ком.
4 | Balon sa ravnim dnom, zapremina 250 cm3, slif 29 | Balon sa ravnim dnom, stakleni, zapremina 250 cm3, slif 29 | staklo evropskog porekla | 6 | ком.
5 | Balon, jednogrli, 25 mL | stakleni, okruglo dno, sa šlifom NŠ 14 | staklo evropskog porekla | 11 | ком.
6 | Balon, jednogrli, 250 mL | stakleni, okruglo dno, sa šlifom NŠ 29 | staklo evropskog porekla | 14 | ком.
7 | Balon Kjeldalu od 500 mL | stakleni, okruglo dno, bez šlifa | staklo evropskog porekla | 30 | ком.
8 | Balon, jednogrli, 500 mL | stakleni, okruglo dno, sa šlifom NŠ 29 | staklo evropskog porekla | 2 | ком.
9 | Balon, trogrli, 100 mL | stakleni, okruglo dno, sa šlifovima 1*NŠ 29 i 2*NŠ 14 | staklo evropskog porekla | 6 | ком.
10 | Bireta automatska po Pelet-u, 50 mL | sa bocom |  | 5 | ком.
11 | Bireta 10ml po Schellbah-u | staklena sa teflonskom slavinom | dostaviti uzorak | 59 | ком.
12 | Bireta po Schelbach-u, 25 mL | staklena sa teflonskom slavinom | dostaviti uzorak | 55 | ком.
13 | Bireta po Schelbach-u, 50 mL | staklena sa teflonskom slavinom | dostaviti uzorak | 60 | ком.
14 | plamenik po Teclu | sa igličastim ventilom za propan visine 150 mm, težina preko 300 g. | dostaviti uzorak | 2 | ком.
15 | časa od 100 mL | visoka forma, staklena |  | 12 | ком.
16 | časa od 250 mL | visoka forma, staklena |  | 12 | ком.
17 | Čep stakleni, NŠ 14 | šlifovani |  | 12 | ком.
18 | Čep stakleni, NŠ 29 | šlifovani |  | 12 | ком.
19 | Četkica za pranje epruveta | broj 1 |  | 44 | ком.
20 | Četkica za pranje epruveta | broj 2 |  | 29 | ком.
21 | Četkica za pranje epruveta | broj 3 |  | 45 | ком.
22 | Četkica za pranje epruveta | broj 4 |  | 42 | ком.
23 | Četkica za pranje epruveta | broj 5 |  | 36 | ком.
24 | Četkica za pranje epruveta | broj 6 |  | 21 | ком.
25 | Četkica za pranje epruveta | broj 7 |  | 40 | ком.
26 | combustion boat, 10 mL | high alumina, 90x17x11.5 |  | 5 | ком.
27 | Crevo za dijalizu cutt off 3 kDa | Pierce SnakeSkin™ Pleated Dialysis Tubing, MWCO 3500, diametar 35 mm |  | 1 | ком.
28 | Disposable needles | Outer Ø (mm) = 0,80; Length (mm) = 50; Gauge = 21 G |  | 100 | ком.
29 | Eksikator stakleni, sa uloškom | φ 220-300mm |  | 1 | ком.
30 | eppendorf tube | 1,5 mL | dostaviti uzorak | 100 | ком.
31 | Epruveta, 15*100 mm | plastična |  | 200 | ком.
32 | Epruveta, sa konusnom osnovom i poklopcem, 15 mL | sterilna, nepirogena, graduisana, poklopac na zavrtanje (screw cap), polipropilenska, prozirna; φ 17 mm, visina 120 mm; mogućnost centrifugiranja do 15000g; autoklavabilna na 121°C; SARSTED ili odgovarajuće |  | 20 | ком.
33 | Epruveta, sa konusnom osnovom i poklopcem, 50 mL | sterilna, nepirogena, graduisana, poklopac na zavrtanje (screw cap), polipropilenska, prozirna; φ 28 mm, visina 115 mm; mogućnost centrifugiranja do 15000g; autoklavabilna na 121°C; SARSTED ili odgovarajuće |  | 250 | kom.
34 | Epruveta, sa konusnom osnovom i poklopcem, 50 mL | nesterilna , nepirogena, graduisana, poklopac na zavrtanje (screw cap), polipropilenska, prozirna; φ 28 mm, visina 115 mm; mogućnost centrifugiranja do 15000g; autoklavabilna na 121°C; SARSTED ili odgovarjuce |  | 200 | kom.
35 | epruvete 15ml Falcon, 17/120mm, PP, nesterilne, | set=50 kom | dostaviti uzorak | 50 | kom.
36 | epruvete 50ml, 115x28mm konično dno, stojece, nesterilne | set=100 kom |  | 100 | ком.
37 | Erlenmajer, 1 L | stakleni, široko grlo |  | 2 | ком.
38 | Erlenmajer, 1 L | stakleni, usko grlo |  | 1 | ком.
39 | Erlenmajer, 100 mL | stakleni, široko grlo |  | 5 | ком.
40 | Erlenmajer, 250 mL | stakleni, široko grlo |  | 8 | ком.
41 | Erlenmajer, 300 mL | stakleni, široko grlo |  | 5 | ком.
42 | glass cutting knife, replacement blade |  |  | 5 | ком.
43 | Guč boca, 100 mL | staklena (sa staklenom olivom za crevo 6 do 10 mm), atestirana )obavezno da na boci piše da je atestirana na 3 bara | staklo evropskog proizvođača, dostaviti atest | 8 | ком.
44 | Guč boca, 250 mL | staklena (sa staklenom olivom za crevo 6 do 10 mm), atestirana )obavezno da na boci piše da je atestirana na 3 bara | staklo evropskog proizvođača, dostaviti atest | 6 | ком.
45 | Gumeni čepovi | 20 mm visina, 16 mm gornji prečnik |  | 20 | ком.
46 | Gumeno crevo, za vakuum | 12/22, sa koncem |  | 1 | m
47 | Gumica za guč bocu | bottom O.D. × I.D. = 16 mm × 11 mm; top O.D. × I.D. = 27 mm × 22 mm; H = 21 mm |  | 12 | ком.
48 | Gumica za Pasterovu pipetu | gumena |  | 11 | ком.
49 | Gumica za Pasterovu pipetu | silikonska, transparentna | pakovanje od 10 komada | 2 | pak.
50 | Hirsch funnel - Hiršov levak | keramički, spoljašnji prečnik 40 mm |  | 3 | ком.
51 | Hirsch funnel - Hiršov levak | keramički, spoljašnji prečnik od 20 do 30 mm |  | 2 | ком.
52 | Kada za tankoslojnu hromatografiju | 6x10x6 cm |  | 10 | ком.
53 | Kapalica po Grignard-u, 100 mL | sa šlifom NŠ 14 | Cylindrical dropping funnels, with pressure equalising tube, With PTFE key, NS 14/23, Bore 2,5 mm, Grad 2 mL | 10 | ком.
54 | Kapalica, obična, 100 mL | sa šlifom NŠ 14, teflonska slavina | staklo evropskog proizvođača | 3 | ком.
55 | Kapalica, obična, 50 mL | sa šlifom NŠ 14, teflonska slavina | staklo evropskog proizvođača | 6 | ком.
56 | kese za sterilizaciju | velike,HIMEDIA HiDispo Bag TM -34 Clear, transparent, autoclavable, disposable bag. Size: 34´´ x 20´´, recommended for disposal of pathological/clinical or contaminated material and also for sterilization of glasswares and plasticwares. Autoclavable with stream sterilizer. Can withstand stream autoclaving at a temperature of 121 ®C, for 15 minutes. Stable for 15 times autoclaving |  | 10 | kom.
57 | Klema za balon | Powder coated, diecast zinc, with nickel plated, vinyl coated jaws, rod diameter 10 mm, jaw opening 20 - 40 mm |  | 30 | kom.
58 | Klema za balon mala | Powder coated, diecast zinc, with nickel plated, vinyl coated jaws, rod diameter 10 mm, jaw opening 12 - 25 mm |  | 15 | kom.
59 | Klema za biretu, jednostrana | metalne kleme za birete sa duplim hvatanjem za biretu, za stativ od 8 - 14 mm |  | 45 | ком.
60 | Klema za kondenzator sa tri viljuške | napravljena od hromiranog čelika sa viljuškama presvučenim PVC-om, dva odvojena podesiva šrafa za pritezanje, maksimalni otvor 70 mm, debljina šipke 12 mm |  | 9 | kom.
61 | Klema, mala | micro clamps,lacquered green finish, length 150mm, jaw opening 15mm, malleable cast iron, prongs with cork |  | 6 | ком.
62 | Klipna pipeta 2 ml | staklena |  | 1 | ком.
63 | Klipna pipeta 5 ml | staklena |  | 2 | ком.
64 | Kolona za GC-MS HP-5MS 30m, 0,25mm, 0,25um | Agilent, 19091S-433 |  | 1 | ком.
65 | Kondenzator po Allihn-u | sa šlifovima 2 * NŠ 29 | staklo evropskog proizvođača | 6 | ком.
66 | kvarcna cev, fi 10 mm, debljina zida 1 do 1,5 mm | 1-1,5 m |  | 2 | kom.
67 | Kvarcna kiveta za spektrofotometar | optički put 10mm,zapremina 4ml, Hellma ili ekvivalent |  | 2 | ком.
68 | Laboratorijska čaša, 1 L | staklena, niska forma |  | 8 | kom.
69 | Laboratorijska čaša, 100 mL | staklena, niska forma |  | 165 | kom.
70 | Laboratorijska čaša, 150 mL | staklena, niska forma |  | 9 | ком.
71 | Laboratorijska čaša, 2 L | staklena, niska forma |  | 1 | ком.
72 | Laboratorijska čaša, 25 mL | staklena, niska forma |  | 13 | ком.
73 | Laboratorijska čaša, 250 mL | staklena, niska forma |  | 53 | ком.
74 | Laboratorijska čaša, 250 mL | staklena, niska forma | staklo evropskog proizvođača | 8 | ком.
75 | Laboratorijska čaša, 3 L | staklena, niska forma |  | 4 | ком.
76 | Laboratorijska čaša, 400 mL | staklena, niska forma |  | 21 | ком.
77 | Laboratorijska čaša, 50 mL | staklena, niska forma |  | 13 | ком.
78 | Laboratorijska čaša, 800 mL | staklena, niska forma |  | 1 | ком.
79 | Lecture-bottle control valve | brass, hose outlet I.D. 1/4 in. |  | 1 | ком.
80 | Levak kvalitativni | stakleni, φ 10 cm |  | 3 | ком.
81 | Levak kvalitativni | stakleni, φ 5 cm |  | 20 | ком.
82 | Levak kvalitativni | stakleni, φ 7 cm |  | 1 | ком.
83 | Levak kvantitativni | stakleni, φ 10 cm |  | 2 | ком.
84 | Levak po Büchner-u | porcelanski, φ 5 cm |  | 6 | ком.
85 | levak za cvrsto dodavanje, fi 100 mm | polipropilenski |  | 5 | ком.
86 | levak za cvrsto dodavanje, fi 120 mm | polipropilenski |  | 5 | ком.
87 | levak za cvrsto dodavanje, fi 150 mm | polipropilenski |  | 5 | ком.
88 | levak za cvrsto dodavanje, fi 65 mm | polipropilenski |  | 10 | ком.
89 | levak za cvrsto dodavanje, fi 80 mm | polipropilenski |  | 10 | ком.
90 | Levak za odvajanje (po Squibb-u), 1 L | stakleni sa teflonskom slavinom |  | 2 | ком.
91 | Levak za odvajanje (po Squibb-u), 500 mL | stakleni sa teflonskom slavinom |  | 1 | ком.
92 | Magnet cilindrični, glatke površine presvučen teflonom, 6 x 3 mm | Brand ili ekvivalent | u obliku valjka, bez ostrih ivica | 2 | ком.
93 | Magnet cilindrični, glatke površine, presvučen teflonom, 10 x 6 mm | Brand ili ekvivalent | u obliku valjka, bez ostrih ivica | 2 | ком.
94 | Magnet jajasti | [15x6 mm, PTFE] |  | 15 | ком.
95 | Magnet jajasti | [25x10 mm, PTFE] |  | 10 | ком.
96 | Magnet jajasti | [30x15 mm, PTFE] |  | 20 | ком.
97 | Magnet štapićasti, 12 * 5 mm |  |  | 16 | ком.
98 | Magnet štapićasti, 20 * 6 mm |  |  | 31 | kom.
99 | Magnet štapićasti, 40 * 8 mm |  |  | 15 | ком.
100 | Mašice | 50-60 cm |  | 2 | ком.
101 | membran filter | Gridded Membrane Filters, Sterile, White/black, 0.45 Micron |  | 10 | ком.
102 | membran filter | Minisart medium filter pore size |  | 15 | ком.
103 | Membranski filter za mikrocentrifusku kivetu -Amicon Ultra-15 | Millipore, UFC903008, Amicon Ultra-15 Centrifugal Filter Unit with Ultracel-30 membrane, cut off 30 kDa | pakovanje od 8 kom, Sigma, Merck ili ekvivalent | 1 | пак.
104 | Membranski filter za mikrocentrifusku kivetu-Amicon Ultra-4 | Millipore, UF800308, Amicon Ultra-4 Centrifugal filter unit with Ultracel-3 membrane, cut off 3kDa | pakovanje od 8 kom, Sigma, Merck ili ekvivalent | 1 | пак.
105 | Menzura, 10 mL | borosilikatno staklo, graduisana | staklo evropskog proizvođača | 11 | ком.
106 | Menzura, 100 mL | borosilikatno staklo, graduisana |  | 15
107 | Menzura, 25 mL | borosilikatno staklo, graduisana |  | 1 | ком.
108 | Menzura, 25 mL | borosilikatno staklo, graduisana | podeoci 0.2 ml, greska 0.2 mL | 2 | ком.
109 | Menzura, 250 mL | borosilikatno staklo, graduisana |  | 3 | kom.
110 | Menzura, 5 mL | borosilikatno staklo, graduisana |  | 1 | ком.
111 | Menzura, 50 mL | borosilikatno staklo, graduisana |  | 5 | ком.
112 | Menzura, 500 mL | borosilikatno staklo, graduisana |  | 2 | ком.
113 | Metalni kek (klip) za šlif NŠ 29 |  |  | 2 | ком.
114 | Mikro tube od 0.2 ml | pakovanje 500 kom | Sarstedt ili ekvivalent dostaviti uzorak | 1 | пак.
115 | mikro tube od 1.5mL | pakovanje 500 kom | Sarstedt ili ekvivalent dostaviti uzorak | 7 | пак.
116 | Mikrocentrifuske kivete sa poklopcem, zapremina 1.5 ml / Micro tubes with lid 1.5 ml / RCF max.20000 g (at 20 °C for 20 min), Lid-Ø mm 8.5, thickness lid membrane mm 0,3, height mm 40,8; graduisana, | Brand, Sarsted ili ekvivalent | dostaviti uzorak | 2000 | ком.
117 | Mikrotitar pločica, plastična (PE ili PP) | 96 bunara, transparentno ravno dno |  | 100 | kom.
118 | Mikrotitar pločice | 96 bunara, ravno dno |  | 20 | ком.
119 | Mikrotuba sa poklopcem | 1.5 mL, plastična (PE ili PP), φ 10.8mm, visina 39 mm, graduisana, sa prostorom za obeležavanje i matiranim poklopcem | dostaviti uzorak | 7000 | ком.
120 | Mikrotuba sa poklopcem (Eppendorf) | 0.5 mL | dostaviti uzorak | 1000 | ком.
121 | Mikrotuba sa poklopcem (Eppendorf) | 1.5 mL, nesterilna, plastična (PE ili PP) | dostaviti uzorak | 16500 | kom.
122 | Mikrotuba sa poklopcem i zaptivnim mehanizmom koji omogućava upotrebu u PCR-u | 0.2 mL | dostaviti uzorak | 250 | ком.
123 | Muf za kleme | od livenog gvožđa hromirani otvor 16,5 mm uglovi 90 i 180 | dostaviti uzorak | 32 | ком.
124 | Multifunkcionalni stalak za fiole i kivete | 4*50ml / 12*15ml / 32*1,5ml / 32*0,5ml | dostaviti uzorak | 22 | ком.
125 | Nastavci za automatske pipete | 100-1000 µL, za pipete Brand i Sokorex | dostaviti uzorak | 22000 | ком.
126 | Nastavci za automatske pipete, 0.1-10 μL | Brand ili ekvivalent | dostaviti uzorak | 100 | ком.
127 | Nastavci za automatske pipete, 0.1-10 μL | Ependorf ili ekvivalent | dostaviti uzorak | 2000 | ком.
128 | Nastavci za automatske pipete, 100-1000 μL | Ependorf ili ekvivalent | dostaviti uzorak | 5000 | ком.
129 | Nastavci za automatske pipete, 2-200 μL | Brand,Sarsted ili ekvivalent | dostaviti uzorak | 27800 | ком.
130 | Nastavci za automatske pipete, 2-200 μL | eppendorf research plus ili ekvivalent | dostaviti uzorak | 7000 | kom.
131 | Nastavci za automatske pipete, 5000 μL | Brand, Sarsted ili ekvivalent | dostaviti uzorak | 200 | ком.
132 | Nastavci za automatske pipete, 5000 μL | Eppendorf ili ekvivalent | dostaviti uzorak | 100 | ком.
133 | Normalni sud, 1 L | stakleni | stakleni sa slifovanim cepom | 3 | ком.
134 | Normalni sud, 10 mL | stakleni | stakleni sa slifovanim cepom | 1 | ком.
135 | Normalni sud, 100 mL | stakleni | stakleni sa slifovanim cepom | 28 | ком.
136 | Normalni sud, 2 L | stakleni | stakleni sa slifovanim cepom | 2 | ком.
137 | Normalni sud, 25 mL | stakleni | stakleni sa slifovanim cepom | 7 | ком.
138 | Normalni sud, 250 mL | stakleni | stakleni sa slifovanim cepom | 6 | ком.
139 | Normalni sud, 50 mL | stakleni | stakleni sa slifovanim cepom | 26 | ком.
140 | Normalni sud, 500 mL | stakleni | stakleni sa slifovanim cepom | 11 | ком.
141 | osigurač (kek) za balon za rotacioni vakuum-uparivač, NŠ29 |  | dostaviti uzorak | 5 | ком.
142 | Parafilm | 50 mm x 75 m |  | 4 | pak.
143 | Parafilm | 100 mm x 75 m |  | 8 | pak.
144 | Pasterova pipeta, plastična (PE ili PP) | 3 mL, graduisana, nesterilna |  | 5000 | kom.
145 | Pasterova pipeta, staklena | dužina 23 cm | dostaviti uzorak | 1000 | kom.
146 | Petri šolja, plastična, sterilna | prečnik 90 mm |  | 120 | ком.
147 | petri solje plasticne | prečnik 90 mm |  | 2000 | ком.
148 | Petri-solja, fi 150 mm | borsilikatno staklo |  | 1 | ком.
149 | Piknometri od 10 cm3 | A klasa |  | 5 | ком.
150 | Pinceta, prava, zaobljenih ivica čelik 18/10 | metalna, 130 mm |  | 16 | ком.
151 | Pinceta, prava, zaobljenih ivica čelik 18/10 | metalna, 160 mm |  | 2 | ком.
152 | Pipeta graduisana, 10 mL |  |  | 6 | ком.
153 | Pipeta graduisana, 2 mL |  |  | 6 | ком.
154 | Pipeta klipna graduisana, 1 mL |  |  | 1 | ком.
155 | Pipeta klipna graduisana, 10 mL |  |  | 1 | ком.
156 | Pipeta klipna graduisana, 2 mL |  |  | 7 | ком.
157 | Pipeta klipna graduisana, 5 mL |  |  | 5 | ком.
158 | Pipette Tip 1000µl, Blue | 1000µl, Blue, Sarstedt ili ekvivalent, pakovanje 250 kom |  | 10 | пак.
159 | Pipette Tip 10µl, neutral | 10µl, neutral, Sarstedt ili ekvivalent, pakovanje 1000 kom |  | 3 | пак.
160 | Plastične tube od 15 mL sa zatvaračem | graduisane,nestajace,nesterilne |  | 50 | ком.
161 | Plastične tube od 50 mL sa zatvaračem | graduisane,stajace ,nesterilne |  | 50 | ком.
162 | Plutani podmetač za balone od 250 mL | d=110/60 mm |  | 40 | ком.
163 | Porcelanska šolja, φ 150 -155 mm H = 50 do 55 mm, V=400 do 450 ml | sa okruglim dnom |  | 10 | ком.
164 | Porcelanski tigl | d=30 mm, h=38 mm | dostaviti uzorak | 60 | ком.
165 | Porcelanski tigl | d=50 mm, h=60 mm | dostaviti uzorak | 5 | ком.
166 | staklena bočica sa navojem i plasticnim cepom (plavim), 100 mL |  |  | 10 | ком.
167 | pouring ring for Duran laboratory bottles (blue) | za GL 45 |  | 10 | ком.
168 | powder funnels, borosilicate glass 3.3, with NS-cone | fi 120, NS 29/32 |  | 5 | ком.
169 | powder funnels, borosilicate glass 3.3, with NS-cone | fi 60, NS 14/23 |  | 5 | ком.
170 | Propipeta gumena | prirodna guma, stakleni zaštitni ventil, univerzalna veličina za pipete do 100 mL |  | 34 | ком.
171 | gumena pumpica za automatsku biretu po Pelletu | guma |  | 10 | ком.
172 | Reagens boca za lako isparljive tečnosti sa duplim čepom | 250 ml |  | 1 | ком.
173 | Reagens boca za lako isparljive tečnosti sa duplim čepom | 50 ml |  | 1 | ком.
174 | RP 18 silika (SPE) kolone za ekstrakciju | 3ml,100 mg |  | 100 | ком.
175 | Sahatno staklo | φ 12 cm |  | 2 | ком.
176 | Sahatno staklo | φ 8 cm |  | 10 | ком.
177 | sahatno staklo, fi 100 mm | borsilikatno staklo 3.3 |  | 10 | ком.
178 | sahatno staklo, fi 125 mm | borsilikatno staklo 3.3 |  | 10 | ком.
179 | sahatno staklo, fi 60 mm | borsilikatno staklo 3.3 |  | 10 | ком.
180 | sahatno staklo, fi 70 mm | borsilikatno staklo 3.3 |  | 10 | ком.
181 | sahatno staklo, fi 80 mm | borsilikatno staklo 3.3 |  | 10 | ком.
182 | Schlauch-Olive 8 x 115 mm doppelseitig | 1 pak = 100 kom |  | 1 | пак.
183 | Semering za rotacioni vakuum uparivač Heidolph Spare PFTE vacuum seal p/n 23-30-01-01-30 |  |  | 2 | ком.
184 | Semeringza rotacioni vakuum uparivač Ika RV 06.13 DICHTUNG D21.6 |  |  | 2 | ком.
185 | Silikonsko crevo, obično | 8/12 mm | dostaviti uzorak | 40 | m
186 | Silikonsko crevo, obično | 6/10 mm | dostaviti uzorak | 70 | m
187 | Silikonsko crevo, za vakuum | 16/8 | dostaviti uzorak | 17 | m
188 | Silikonsko crevo, za vakuum | 14/6 | dostaviti uzorak | 5 | m
189 | Silikonsko crevo, za vakuum | precnik 18 i 8 | dostaviti uzorak | 3 | m
190 | Šlif, muški, NŠ 14 |  |  | 10 | ком.
191 | Šlif, ženski, NŠ 14 |  |  | 30 | ком.
192 | Šolja za kristalizaciju, φ 100 mm | staklena |  | 4 | ком.
193 | Špric boca, 250 mL | PVC | dostaviti uzorak | 10 | ком.
194 | Špric boca, 500 mL | PVC | dostaviti uzorak | 84 | ком.
195 | Staklena cev, fi 120, debljina zida 3 mm | borsilikatno staklo (Simax ili ekvivalent); 1 pak = 3 kom |  | 1 | ком.
196 | Staklena cev, fi 58, debljina zida 1.8 mm | borsilikatno staklo (Simax ili ekvivalent); 1 pak = 12 kom |  | 1 | пак.
197 | Staklena cev, fi 85, debljina zida 2.5 mm | borsilikatno staklo (Simax ili ekvivalent); 1 pak = 4 kom |  | 1 | пак.
198 | Staklena cev, fi 95, debljina zida 2.5 mm | borsilikatno staklo (Simax ili ekvivalent); 1 pak = 4 kom |  | 1 | пак.
199 | Staklena kiveta za spektrofotometar | optički put 10mm, Hellma ili ekvivalent, zapremina 0,5 mL | dostaviti uzorak | 2 | ком.
200 | Staklene ploče za PAG elektroforezu | Dimenzije 7x10 cm, debljine kao kod miniproteain 3 BioRAD ovog sistema. Pet komada staklenih ploča u jednom pakovanju. | Bio-Rad mini protean 3 sistem ili odgovarajući ekvivalent. | 1 | пак.
201 | stalak za epruvete,metalni | 4x3 epruvete,precnik rupa 1,7cm,duzina 10,5cm,sirina 8,5cm i visina 8cm |  | 4 | ком.
202 | stalak za epruvete | polipropilenski 174 x 95 x 52 mm, sa 4 strane, Isolab ili odgovarajuće |  | 2 | ком.
203 | Stalak za epruvete, metalni | sa 4 nogice, za 16 epruveta, 10*10 cm | dostaviti uzorak | 2 | ком.
204 | Štap za vađenje magneta (izvlakač magneta) |  |  | 6 | ком.
205 | Štipaljka za epruvete | drvena |  | 19 | ком.
206 | Stopcocks 3-way, T-bore | borosilicate glass 3.3 Acc. to DIN 12554 and in addition to DIN standard, T-bore, with solid glass plug or PTFE plug and screw thread retaining device. Material: borosilicate glass 3.3, leakage rate to DIN 12540-1. NS 14,5, bore 2,5 |  | 3 | ком.
207 | Stopcocks, 2-way with PTFE key2,5 | Borosilicate glass 3.3 With PTFE key and screwthread retaining device. With two oblique bores. Leakage rate acc. to DIN 12540-1. NS 14.5, bore 2,5 |  | 2 | ком.
208 | Syringe PP/PE without needle, capacity 1 mL, graduated, 0.01 mL | luer tip, centered, capacity 1 mL, graduated, 0.01 mL |  | 50 | ком.
209 | TALON Superflow | 10 mL, GE Healthcare ili ekvivalent |  | 1 | ком.
210 | Termometar, obični, 0-200°C | bez žive |  | 8 | ком.
211 | Termometar, obični, 0-300°C | bez žive |  | 1 | ком.
212 | Termometar, sa šlifom NŠ 14, 0-360°C | duzina nosa sa slifom 100 mm |  | 1 | ком.
213 | Tikvica za jodni broj | 300 mL, sa čepom NŠ 29 | stakleni cep | 5 | ком.
214 | Tikvica za jodni broj | 500 mL, sa čepom NŠ 29 | stakleni cep | 6 | ком.
215 | Trougao za žarenje |  | dostaviti uzorak | 14 | ком.
216 | Tučak za avan, porcelanski | lenght 150 mm |  | 1 | ком.
217 | vajle | 15 ml polystyrene tubes, sterile, 25 tubes/ bag | nestojece | 50 | ком.
218 | vajle | 50 ml polypropylene tubes, sterile, 25 tubes / bag | nestojece | 50 | ком.
219 | Vegeglas | 30 ml, diam. 50 mm, height 30 mm |  | 12 | ком.
220 | Vratilo Ika RV 10.70 Vaport tube (NS29/32) Ident.No. 000381200 |  |  | 1 | ком.
221 | žuti nastavci za pipete | 200μL, Sarstedt ili ekvivalent, pakovanje 1000 kom | dostaviti uzorak | 7 | пак.
222 | Tikvica za jodni broj | 250 mL, sa čepom NŠ 29 | stakleni cep | 56 | ком.
223 | Normalni sud | 100 mL,A klasa, sa čepom NŠ 14/32 plasticnim cepom,sa sertifikatom |  | 50 | ком.
224 | Epruveta, 16*100 mm | staklena,bez ruba |  | 200 | ком.
225 | sahatno staklo, fi 100 mm |  |  | 85 | ком.
226 | Špric boca, 500 mL | PVC | dostaviti uzorak | 50 | ком.
227 | Prava slavina sa PTFE čepom | NB 14.5, 2.5 mm |  | 30 | ком.
228 | Staklene cevi | fi 20 mm spoljasnji ,debljina zida 2,5mm | duzina cevi 1.5m | 5 | кг
229 | Staklene cevi | fi 7 mm spoljasnji ,debljina zida 1,5mm | duzina cevi 1.5m | 3 | кг
230 | Avan, porcelanski | fi 70mm,glaziran |  | 50 | ком.
231 | Tučak za avan, porcelanski | duzina 12mm,glaziran | za avan fi 70mm | 50 | ком.
232 | kvarcna cev, fi 30 mm, debljina zida 1,5 do 2,5 mm | 1-1,5 m |  | 1 | kom.
233 | Petri posuda | pr.90, sterilna, plastika |  | 1500 | ком.
234 | Petri posuda | pr.55, sterilna, plastika |  | 1700 | ком.
235 | Epruveta 16/100 sa zapusacem (2000kom) | sterilna, plastika |  | 2000 | kom.
236 | nastavci epTIPS 50-1000μl, set=1000 kom | nesterilni, BEZBOJNI, set=1000 kom | kompatibilni sa ependorf pipetama, dostaviti uzorak | 5 | пак.
237 | nastavci epTIPS 2-200 μl, bezbojni, nesterilni, set=1000 kom | bezbojni, nesterilni, set=1000 kom | kompatibilni sa ependorf pipetama, dostaviti uzorak | 3 | ком.
238 | Mikrotuba sa poklopcem (Eppendorf) | 1.5 mL, nesterilna, plastična (PE ili PP) PCR Clean | dostaviti uzorak | 3000 | kom.
239 | Mikrotuba sa poklopcem (Eppendorf) | 2 mL, nesterilna, plastična (PE ili PP) PCR Clean | dostaviti uzorak | 1500 | kom.
240 | epruvete 15ml Falcon, 17/120mm, PP, sterilne, set=50 kom | 15ml Falcon, 17/120mm, PP, sterilne, set=50 kom,Sarstedt ili odovarajuce |  | 4 | пак.
241 | epruvete 50ml Falcon, 28/114mm, PP, sterilne, set=25 kom | 50ml Falcon, 28/114mm, PP, sterilne, set=25 kom,Sarstedt ili odovarajuce |  | 2 | пак.
242 | Menzura | Cilindar graduisan, visoka forma 50ml |  | 6 | ком.
243 | Menzura | Cilindar graduisan, visoka forma 100ml |  | 6 | ком.
244 | Levak | kratka cev, 10 mm |  | 4 | ком.
245 | Pipeta klipna graduisana, 10 mL | staklo | najmanje AGA kvalitet | 8 | ком.
246 | Pipeta klipna graduisana, 5 mL | staklo | najmanje AGA kvalitet | 1 | ком.
247 | Pipeta klipna graduisana, 25 mL | staklo | najmanje AGA kvalitet | 1 | ком.
248 | Balon jednogrli šlifovani od 100 ml | NB 29/32, 100 ml,okruglo dno | staklo evropskog proizvođača | 8 | ком.
249 | Tigl za zarenje (40X50mm) |  | dostaviti uzorak | 10 | ком.
250 | Laboratorijska čaša, 600 mL | staklena, visoka forma |  | 5 | ком.
251 | Balon od 250 ml,jednogrli | 250 ml, kratko usko grlo NB-L 29/32, ravno dno | staklo evropskog proizvođača | 12 | ком.
252 | Menzura -Cilindar graduisan, visoka forma 25ml | Cilindar graduisan, visoka forma 25ml |  | 2 | ком.
253 | Laboratorijska čaša, 1 L | staklena, visoka forma |  | 2 | ком.
254 | Tikvica za određivanje jodnog broja | 50ml, sa NB čepom 29/32, | stakleni cep | 2 | ком.
255 | Tikvica za određivanje jodnog broja | 100ml, sa NB čepom 29/32, | stakleni cep | 4 | ком.
256 | Bireta po Schelbach-u, 10 mL | staklena sa staklenom slavinom |  | 2 | ком.
257 | Bireta po Schelbach-u, 50 mL | staklena sa staklenom slavinom |  | 1 | ком.
258 | Erlenmajer, 5000ml |  |  | 3 | ком.
259 | Erlenmajer, 3000ml |  |  | 1 | ком.
260 | Balon jednogrli od 50 ml | 50 ml, NS 14/23, okruglo dno, | staklo evropskog proizvođača | 3 | ком.
261 | Kvarcni slif NS 14/23, muski |  |  | 2 | ком.
262 | Kvarcni slif NS 29/32, muski |  |  | 2 | ком.
263 | Kvarcni slif NS 14/23, zenski |  |  | 2 | ком.
264 | Kvarcni slif NS 29/32, zenski |  |  | 2 | ком.
265 | Kvarcna cev, spoljasnji precnik 4 mm, debljina zida 1-1,5 mm | duzina 1 - 1,5 m |  | 2 | ком.
266 | Kvarcna cev, spoljasnji precnik 10 mm, debljina zida 1-2,5 mm | duzina 1 - 1,5 m |  | 1 | ком.
267 | Kvarcna cev, spoljasnji precnik 12 mm, debljina zida 1-2,5 mm | duzina 1 - 1,5 m |  | 1 | ком.
268 | Kvarcna cev, spoljasnji precnik 14 mm, debljina zida 1-2,5 mm | duzina 1 - 1,5 m |  | 1 | ком.
269 | Kvarcna cev, spoljasnji precnik 16 mm, debljina zida 1-2,5 mm | duzina 1 - 1,5 m |  | 1 | ком.
270 | Kvarcna cev, spoljasnji precnik 18 mm, debljina zida 1-2,5 mm | duzina 1 - 1,5 m |  | 1 | ком.
271 | Kvarcna cev, spoljasnji precnik 25 mm, debljina zida 1-2,5 mm | duzina 1 - 1,5 m |  | 1 | ком.
272 | Kvarcna cev, spoljasnji precnik 30 mm, debljina zida 1-2,5 mm | duzina 1 - 1,5 m |  | 1 | ком.
273 | Vacuum stopcocks, one way, straight, NS 18.8, Bore 4.0 mm |  |  | 2 | ком.
274 | Stopcock with solid glass key 14.5, bore 2.5 mm | Lenz quality; according to DIN 12541-1 |  | 10 | ком.
275 | Needle-valve Stopcocks. Smooth, PTFE plug spindle, with retention device to avoid accidental dismantling. PP screw cap and retention device. Operating temperature -20°C to 150°C. Needle-valve stopcocks can be used for accurate dispensing and fit perfectly to glass apparatus. Needle to valve stopcocks, right-angled | Valve bore 0 to 2.5 mm |  | 4 | ком.
276 | Needle-valve Stopcocks. Smooth, PTFE plug spindle, with retention device to avoid accidental dismantling. PP screw cap and retention device. Operating temperature -20°C to 150°C. Needle-valve stopcocks can be used for accurate dispensing and fit perfectly to glass apparatus. Straight | Valve bore 0 to 2.5 mm |  | 4 | ком.
277 | Separating funnel stopcocks, Gilson type, complete with PTFE-keys, bore 2.5 mm, NS 14.5 |  |  | 2 | ком.
278 | Separating funnel stopcocks, Gilson type, complete with PTFE-keys, bore 4 mm, NS 18.8 |  |  | 2 | ком.
279 | Sinterovani disk (filter plate) 5 mm, Por.3 |  |  | 10 | ком.
280 | Sinterovani disk (filter plate) 10 mm, Por.3 |  |  | 10 | ком.
281 | Sinterovani disk (filter plate) 15 mm, Por.3 |  |  | 10 | ком.
282 | Sinterovani disk (filter plate) 20 mm, Por.3 |  |  | 10 | ком.
283 | Sinterovani disk (filter plate) 30 mm, Por.3 |  |  | 10 | ком.
284 | Sinterovani disk (filter plate) 40 mm, Por.3 |  |  | 10 | ком.
285 | Sinterovani disk (filter plate) 50 mm, Por.3 |  |  | 5 | ком.
286 | Sinterovani disk (filter plate) 60 mm, Por.3 |  |  | 5 | ком.
287 | Petri-solja, fi 100 mm | borsilikatno staklo |  | 4 | ком.
288 | Petri-solja, fi 120 mm | borsilikatno staklo |  | 4 | ком.
289 | Petri-solja, fi 60 mm | borsilikatno staklo |  | 4 | ком.
290 | Petri-solja, fi 80 mm | borsilikatno staklo |  | 4 | ком.
291 | Air regulator Type HM-2 | for tubes,8mm to 15mmdiametar,6mm to 12.5mm diametar,for air-leak capillary tubes,acts as a fine regulation valve (needle valve),plastic body,brass needle with fine thread. |  | 4 | kom.