## Sheet1
Prilog uz konkursnu dokumentaciju JN 9/16
Partija broj | Naziv | Opis | Napomena | Količina | Jedinica mere | Cena po jedinici mere bez PDV-a | Ukupno bez PDV-a( kolona 5x kolona 7) | Ukupno sa PDV-om( kolona 8x PDV) | Proizvođač
1 | Balon okruglog dna od 10000 mL, usko grlo | sa ojacanim grlom |  | 2 | komad
2 | Balon okruglog dna od 2000 mL, usko grlo | sa ojacanim grlom |  | 10 | komad
3 | Balon okruglog dna od 5000 mL, usko grlo | sa ojacanim grlom |  | 2 | komad
4 | Balon, jednogrli, 1 L | stakleni, okruglo dno, sa šlifom NŠ 29 |  | 1 | komad
5 | Balon, jednogrli, 100 mL | stakleni, okruglo dno, sa šlifom NŠ 29 | staklo evropskog proizvođača | 10 | komad
6 | Balon, jednogrli, 25 mL | stakleni, okruglo dno, sa šlifom NŠ 14 | staklo evropskog proizvođača | 10 | komad
7 | Balon, jednogrli, 50 mL | stakleni, okruglo dno, sa šlifom NŠ 14 | staklo evropskog proizvođača | 10 | komad
8 | Balon, jednogrli, 500 mL | stakleni, okruglo dno, sa šlifom NŠ 29 |  | 1 | komad
9 | Balon, jednogrli, 250 mL | stakleni, okruglo dno, sa šlifom NŠ 29 |  | 30 | komad
10 | Bireta po Schelbach-u, 10 mL | staklena, podela ± 0,02 | A klasa | 2 | komad
11 | Bireta po Schelbach-u, 50 mL | staklena, podela ± 0,05 | A klasa | 3 | komad
12 | Boca za destilovanu vodu | Sa slavinom, od 5 lit, PE-LD |  | 1 | komad
13 | Bočice za uzorkovanje, nesterilna | 15 ml, sa zapušačem, svetla, plastična |  | 100 | komad
14 | Bočice, PP | 30 ml, sa zatvaračem, svetle |  | 100 | komad
15 | Bušač čepova | set od 12 komada |  | 1 | set
16 | Crucible tongs, 18/10 steel, 600 mm |  |  | 2 | komad
17 | Čaura za ekstrakciju, celulozna | d=30 mm, l=100 mm |  | 25 | komad
18 | Čep gumeni | gornji prečnik 18 mm, visina 20 mm | za epruvete 16x160 | 50 | komad
19 | Čep gumeni | gornji prečnik 22 mm, visina 25 mm |  | 10 | komad
20 | Čep gumeni | gornji prečnik 27 mm, visina 30 mm |  | 10 | komad
21 | Čep gumeni | gornji prečnik 32 mm, visina 30 mm |  | 10 | komad
22 | Čep gumeni | gornji prečnik 35 mm, visina 30 mm |  | 10 | komad
23 | Čep plastični, NŠ 14 | PE-LD |  | 40 | komad
24 | Čep plastični, NŠ 29 | PE-LD |  | 40 | komad
25 | Čep stakleni, NŠ 14 | šlifovani |  | 6 | komad
26 | Čep stakleni, NŠ 29 | šlifovani |  | 6 | komad
27 | Četkica za pranje čaša |  |  | 5 | komad
28 | Četkica za pranje epruveta | broj 4 |  | 32 | komad
29 | Četkica za pranje epruveta | broj 1 |  | 25 | komad
30 | Četkica za pranje epruveta | broj 2 |  | 25 | komad
31 | Četkica za pranje epruveta | broj 3 |  | 22 | komad
32 | Četkica za pranje epruveta | broj 7 |  | 10 | komad
33 | Četkica za pranje epruveta | broj 6 |  | 25 | komad
34 | Četkica za pranje epruveta | broj 5 |  | 10 | komad
35 | Četkica za pranje epruveta | broj 0 |  | 10 | komad
36 | Četkice za pranje balona |  | za balone od 100 ml i 250 ml | 2 | komad
37 | Dissecting needle holder | Wironit shaft with aluminium handle. Wironit CrNi 18/12. For specimen loops and dissecting needles up to max. diam. 1.0mm |  | 3 | komad
38 | DSC-18 SPE Tube | 500 mg, volume 6 mL, pk of 30 |  | 1 | pakovanje
39 | Dupla kašika | metalna, dužina 200 mm, uska | dostaviti uzorak! | 20 | komad
40 | dupla kašika | 210 мм, широка | dostaviti uzorak! | 1 | komad
41 | Dupla špatula | metalna, Double spatulas, Chattaway type, curved, Length 235 mm Blade width 10mm Blade length 70 mm, Roth ili ekvivalent | dostaviti uzorak! | 2 | komad
42 | Dupla špatula | metalna, Double spatula, both spatula blades rounded, Length 150 mm Blade width 7mm, Blade length 28 mm, Stem ⌀ 2.5mm, Roth ili ekvivalent | dostaviti uzorak! | 1 | komad
43 | Dupla špatula | metalna, dužina 150 mm, uska | dostaviti uzorak! | 18 | komad
44 | dupla špatula uska | 150 мм | dostaviti uzorak! | 1 | komad
45 | ependorf tube | 1,5 mL, градуисана | dostaviti uzorak! | 100 | komad
46 | Epruveta, 10*100 mm | staklena |  | 200 | komad
47 | Epruveta, 15*100 mm, sa poklopcem | plastična |  | 150 | komad
48 | Epruveta, 16*160 mm | staklena |  | 200 | komad
49 | Epruvete za centrifugu po Janeckom | 17*98 mm | dostaviti uzorak! | 500 | komad
50 | Epruveta, sa konusnom osnovom i poklopcem, 15 mL | nepirogena, graduisana, poklopac na zavrtanje (screw cap), polipropilenska, prozirna; φ 17 mm, visina 120 mm; mogućnost centrifugiranja do 15000g; autoklavabilna na 121°C; SARSTED ili odgovarajuće | dostaviti uzorak! | 50 | komad
51 | Epruveta, sa konusnom osnovom i poklopcem, 50 mL | nepirogena, graduisana, poklopac na zavrtanje (screw cap), polipropilenska, prozirna; φ 28 mm, visina 114 mm; mogućnost centrifugiranja do 15000g; autoklavabilna na 121°C; SARSTED ili odgovarajuće | dostaviti uzorak! | 80 | komad
52 | Erlenmajer, 100 mL | stakleni, široko grlo |  | 50 | komad
53 | Epruveta, sa konusnom osnovom i poklopcem, 50 mL, stojeća polipropilenska | graduisana, poklopac na zavrtanje (screw cap), polipropilenska, prozirna; φ 28 mm, visina 114 mm; mogućnost centrifugiranja do 15000g; autoklavabilna na 121°C; SARSTED ili odgovarajuće | dostaviti uzorak! | 30 | komad
54 | Erlenmajer, 250 mL | stakleni, široko grlo |  | 55 | komad
55 | Erlenmajer, 50 mL | stakleni, usko grlo | staklo evropskog proizvođača | 10 | komad
56 | Flaschenverschluß NS 14 | Stopper fastener for NS 14 | usbeck ili ekvivalent | 10 | komad
57 | Flaschenverschluß NS 19 | Safety closure for bottles up to 250ml (NS 19) | usbeck ili ekvivalent | 10 | komad
58 | Flaschenverschluß NS 24 | Safety closure for bottles up to 500ml (NS 24) | usbeck ili ekvivalent | 10 | komad
59 | Flaschenverschluß NS 29 | Safety closure for bottles up to 1000ml (NS 29) | usbeck ili ekvivalent | 10 | komad
60 | glass staining trough | Hellendahl extended | staklena | 10 | komad
61 | Gumena pumpica za automatsku biretu po Peletu |  |  | 2 | komad
62 | Gumica za guč bocu | gornji prečnik 41 mm, donji prečnik 27.5 mm, visina 27 mm,debljina zida 4mm |  | 106 | komad
63 | Gumica za Pasterovu pipetu | silikonska, transparentna | pakovanje od 10 komada | 6 | pakovanje
64 | gumica za Pasterovu pipetu | гумена |  | 30 | komad
65 | Heat- / Cold-resistant gloves (Size S (7 - 8)) | Comfortable rough cord glove, constructed in carbon fibre. CE proofed. Cat. II Heat-resistant material for short-term use up to 650 °C, cold-resistance down to -80 °C. Continuous use from - 20 °C up to + 90 °C. Five-finger gloves. Arm length: 360mm (long type) |  | 2 | komad
66 | hilzne | Whatman® cellulose extraction thimbles 603 Cellulose thimbles, 33 x 118 mm - thickness 1.5 mm, 25/pak. |  | 1 | pakovanje
67 | Kada za tankoslojnu hromatografiju | 6x10x4 cm |  | 3 | komad
68 | Kapalica, obična, 100 mL | sa šlifom NŠ 14 | sa čepom | 2 | komad
69 | Keramička mrežica | 20x20cm | dostaviti uzorak! | 52 | komad
70 | Klema za balon | Powder coATE d.o.o.d, diecast zinc, with nickel plATE d.o.o.d, vinyl coATE d.o.o.d jaws, rod diameter 10 mm, jaw opening 20 - 40 mm | dostaviti uzorak! | 15 | komad
71 | Klema za biretu, dvostrana | metalne kleme za birete sa duplim hvatanjem za biretu, za stativ od 12 - 14 mm | dostaviti uzorak! | 7 | komad
72 | Klema za kondenzator | viljuškasta, napravljena od hromiranog čelika sa viljuškama presvučenim PVC-om, dva odvojena podesiva šrafa za pritezanje, maksimalni otvor 70 mm, debljina šipke 12 mm | dostaviti uzorak! | 13 | komad
73 | Kondenzator po Liebig-u | sa šlifovima 2 * NŠ 14 | staklo evropskog proizvođača | 10 | komad
74 | Kivete negraduisane 10-15ml | staklena konusna sa rubom | dostaviti uzorak | 500 | komad
75 | korpice za sterilizaciju mikrobioloških epruveta | ширина 13 cm*13 cm висина 16 cm, друга ширина 10 cm*12 cm висина 16 cm |  | 2 | komad
76 | Laboratorijska čaša, 1 L | staklena, niska forma |  | 2 | komad
77 | Laboratorijska čaša, 10 mL | staklena, niska forma |  | 10 | komad
78 | Laboratorijska čaša, 100 mL | staklena, niska forma |  | 70 | komad
79 | Laboratorijska čaša, 150 mL | staklena, niska forma |  | 10 | komad
80 | Laboratorijska čaša, 250 mL | staklena, niska forma |  | 75 | komad
81 | Laboratorijska čaša, 2 L | staklena, niska forma |  | 10 | komad
82 | Laboratorijska čaša, 25 mL | staklena, niska forma |  | 50 | komad
83 | Laboratorijska čaša, 400 mL | staklena, niska forma |  | 20 | komad
84 | Laboratorijska čaša, 50 mL | staklena, niska forma |  | 40 | komad
85 | Laboratorijska čaša, 50 mL | polipropilen, graduisana, autoklavabilna, sa prostorom za obeležavanje |  | 20 | komad
86 | Laboratorijska čaša, 600 mL | staklena, niska forma |  | 2 | komad
87 | Laboratorijska čaša, 3 L | staklena, niska forma |  | 5 | komad
88 | Laboratorijska čaša, 800 mL | staklena, niska forma |  | 2 | komad
89 | Levak kvalitativni | stakleni,fi 3 cm | staklo evropskog proizvođača | 6 | komad
90 | Levak kvalitativni | stakleni, fi 5 cm | staklo evropskog proizvođača | 6 | komad
91 | Levak kvalitativni | stakleni,fi 8 cm | staklo evropskog proizvođača | 6 | komad
92 | Levak po Büchner-u | porcelanski, φ 6 cm |  | 10 | komad
93 | Levak po Hirsch-u, kapacitet ~20 mL | Coors™ | Aldrich ili ekvivalent | 3 | komad
94 | Levak za odvajanje (po Squibb-u), 100 mL | stakleni | staklo evropskog proizvođača | 15 | komad
95 | Levak za odvajanje (po Squibb-u), 50 mL | stakleni | staklo evropskog proizvođača | 10 | komad
96 | Levak za odvajanje po Squibb-u od 250 mL sa NS 19 | sa staklenim cepom i teflonskom slavinom |  | 3 | komad
97 | Levak za odvajanje po Squibb-u od 500 mL sa NS 29/32 | sa staklenim cepom i teflonskom slavinom |  | 3 | komad
98 | Magnet cilindrični, glatke površine presvučen teflonom, 10x6 mm, | Brand ili ekvivalent | u obliku valjka, bez oštrih ivica | 6 | komad
99 | Magnet cilindrični, glatke površine presvučen teflonom, 6x3 mm | Brand ili ekvivalent | u obliku valjka, bez oštrih ivica | 4 | komad
100 | Magnet štapićasti, 12 * 5 mm |  |  | 20 | komad
101 | Magnet štapićasti, 20 * 6 mm |  |  | 50 | komad
102 | Magnet štapićasti, 40 * 8 mm |  |  | 15 | komad
103 | Mekerbrenner für Erdgas Lufregulierung | Nadelventil Rohr Ø 28 mm, Kopf Ø 32 mm | usbeck ili ekvivalent | 1 | komad
104 | membran filter | Gridded membrane filters, sterile, white/black, 0.45 microns |  | 10 | komad
105 | membran filter | minisart medium filter pore size 0.45 microns |  | 10 | komad
106 | Menzura, 10 mL | borosilikatno staklo, graduisana | staklo evropskog proizvođača | 4 | komad
107 | Menzura, 100 mL | borosilikatno staklo, graduisana |  | 56 | komad
108 | Menzura, 50 mL | staklа, graduisana |  | 50 | komad
109 | Metalni kek (klip) za šlif NŠ 19 |  |  | 2 | komad
110 | Mikrotitar pločica, plastična (PE ili PP) | 96 bunara, transparentno ravno dno, nesterilna |  | 80 | komad
111 | Mikrotuba sa poklopcem | 1.5 mL, plastična (PE ili PP), φ 10.8mm, visina 39 mm, graduisana, sa prostorom za obeležavanje, navesti iso sertifikat proizvođača za proizvodnju, Sarstedt ili ekvivalent | dostaviti uzorak | 7500 | komad
112 | Mikrotuba sa poklopcem i zaptivnim mehanizmom koji omogućava upotrebu u PCR-u | 0.2 mL | dostaviti uzorak! | 500 | komad
113 | Muf za kleme | hromirani otvor 16,5 mm uglovi 90 i 180 , za stalke prečnika 12-14 cm, LLG ili odgovarajuće | dostaviti uzorak! | 37 | komad
114 | Multifunkcionalni stalak za fiole i kivete | 4*50ml / 12*15ml / 32*1,5ml / 32*0,5ml |  | 10 | komad
115 | Nastavci za automatske pipete, 0.1-10 μL | za pipetu Brand varijabilnu 0.1-10 μL, nastavci Thermo, cat 102-Q, QSP 0.1-10 μL pipette tip micropoint, graduated, clear, non-sterile ili ekvivalent | dostaviti uzorak! | 1000 | komad
116 | Nastavci za automatske pipete, 0.1-10 μL | Brand ili Sokorex | dostaviti uzorak! | 200 | komad
117 | Nastavci za automatske pipete, 0.1-10 μL | Eppendorf | dostaviti uzorak! | 500 | komad
118 | Nastavci za automatske pipete, 0.1-10 μL | [eppendorf i socorex] | dostaviti uzorak! | 300 | komad
119 | Nastavci za automatske pipete, 0.1-10 μL | sarstedt kratki ili ekvivalent (odgovara ependorf i gilson pipetama) | dostaviti uzorak! | 1500 | komad
120 | Nastavci za automatske pipete, 100-1000 μL | za pipetu Brand varijabilnu 100-1000 μL | dostaviti uzorak! | 3000 | komad
121 | Nastavci za automatske pipete, 100-1000 μL | Brand ili Sokorex | dostaviti uzorak! | 4500 | komad
122 | Nastavci za automatske pipete, 100-1000 μL | Eppendorf | dostaviti uzorak! | 4500 | komad
123 | Nastavci za automatske pipete, 100-1000 μL | [eppendorf i socorex] | dostaviti uzorak! | 1000 | komad
124 | Nastavci za automatske pipete, 100-1000 μL | brand ili ekvivalent | dostaviti uzorak! | 2000 | komad
125 | Nastavci za automatske pipete, 2-200 μL | .za pipetu Brand varijabilnu 2-200 μL, nastavci Sarstedt ili ekvivalent | dostaviti uzorak! | 2000 | komad
126 | Nastavci za automatske pipete, 2-200 μL | Brand ili Sokorex | dostaviti uzorak! | 5000 | komad
127 | Nastavci za automatske pipete, 2-200 μL | Eppendorf | dostaviti uzorak! | 2500 | komad
128 | Nastavci za automatske pipete, 2-200 μL | [eppendorf i socorex] | dostaviti uzorak! | 1000 | komad
129 | Nastavci za automatske pipete, 2-200 μL | Brand, Gilson | dostaviti uzorak! | 3000 | komad
130 | Nastavci za automatske pipete, 5000 μL | Brand | dostaviti uzorak! | 500 | komad
131 | Normalni sud, 10 mL | stakleni | A klasa | 10 | komad
132 | Normalni sud, 100 mL | stakleni | A klasa | 10 | komad
133 | Normalni sud, 25 mL | stakleni | A klasa | 20 | komad
134 | Normalni sud, 25 mL | plastični | A klasa | 10 | komad
135 | Normalni sud, 50 mL | plastični | A klasa | 10 | komad
136 | Normalni sud, 50 mL | stakleni | A klasa | 10 | komad
137 | Parafilm | 4 in. * 125 ft. |  | 4 | pakovanje
138 | Parafilm | 2 in. * 250 ft. |  | 1 | pakovanje
139 | Pasterova pipeta, plastična (PE ili PP) | 3 mL, graduisana, nesterilna |  | 3500 | komad
140 | Pasterova pipeta, staklena | dužina 23 cm |  | 100 | komad
141 | Petri šolja | пластична, стерилна, 100 мм |  | 2000 | komad
142 | Petri šolja, plastična, sterilna | φ 90 mm |  | 500 | komad
143 | Petri šolja, staklena | φ 100 mm | dostaviti uzorak | 15 | komad
144 | Pinceta, prava | metalna, 120 mm | dostaviti uzorak! | 1 | komad
145 | Pinceta, prava | metalna, 150 mm |  | 7 | komad
146 | Pinceta prava sa špicastim vrhom | metalna, 250 mm |  | 1 | komad
147 | Pipeta graduisana, 10 mL |  | staklo evropskog proizvođača | 11 | komad
148 | Pipeta graduisana, 2 mL |  | staklo evropskog proizvođača | 11 | komad
149 | Pipeta graduisana, 5 mL |  |  | 55 | komad
150 | Pipeta klipna graduisana, 10mL |  |  | 15 | komad
151 | Pipeta klipna graduisana, 2 mL |  |  | 10 | komad
152 | Pipeta klipna graduisana, 5 mL |  |  | 11 | komad
153 | pipeta staklena Pasterova | дужина 23 cm |  | 200 | komad
154 | Plutani podmetač za balone od 250 mL | d=110/60 mm |  | 10 | komad
155 | Porcelanska šolja, φ 100 mm | okruglo dno |  | 7 | komad
156 | Porcelanska šolja, φ 50 mm | ravno dno |  | 5 | komad
157 | Porcelanski tigl | d=30 mm, h=38 mm | dostaviti uzorak! | 60 | komad
158 | Porcelanski tigl | d=40 mm, h=32 mm | dostaviti uzorak! | 20 | komad
159 | Predmetno staklo za mikroskopiju, 76 * 26 mm | debljina 1-1.2 mm, rezani rubovi, matirana obostrano, uglovi 90° |  | 200 | komad
160 | Propipeta gumena | prirodna guma, stakleni zaštitni ventil, univerzalna veličina za pipete do 100 mL | dostaviti uzorak! | 37 | komad
161 | Pumpice za pasterovu pipetu, silikonske |  |  | 20 | komad
162 | Reagens boca sa poklopcem, staklena | široko grlo, svetla, 100 mL |  | 10 | komad
163 | Reagens boca sa poklopcem, staklena | široko grlo, svetla, 250 mL |  | 10 | komad
164 | Reagens boca za tečnosti od 250ml sa šlifovanim zatvaračem |  |  | 6 | komad
165 | Screw neck vials (clear), 4 mL | Staklena bocica sa navojem i crnim cepom |  | 200 | komad
166 | Silikonske kapice za staklene pipete |  |  | 5 | komad
167 | Stalak za epruvete i kivete | drveni fi 18 mm, 12 mesta |  | 24 | komad
168 | Stalak za epruvete i kivete | aluminijumski fi 18 mm, 30 mesta (visina 100-160mm) |  | 6 | komad
169 | Staklene cevi | fi 10 mm spoljasnji ,debljina zida 1,5mm |  | 1 | kg
170 | stakleni čepovi NŠ 19/26, šlifovani |  |  | 30 | komad
171 | stakleni čepovi NŠ 29/32, šlifovani |  |  | 30 | komad
172 | Prava slavina sa PTFE čepom | NB 14.5, 2.5 mm |  | 30 | komad
173 | Stalak za epruvete, metalni, sa 4 nogice, za 16 epruveta, 10x10cm |  | dostaviti uzorak! | 2 | komad
174 | Stalak za kivete | Made of PP. With 80 numerically labelled holes in 5 x 16 array, for 1.5/2 ml centrifuge tubes as well as screw cap vials with volumes up to 2 ml. 11 mm ⌀ of holes, depth 25 mm, vertically drilled. With a space for labelling. Temperature stable down to -80 °C. Autoclavable. Dimensions: L 210 x W 65 x H 27 mm. Rotilabo®-test tube racks. Roth ili ekvivalent |  | 2 | komad
175 | Šlif, muški, NŠ 14 |  | staklo evropskog proizvođača | 10 | komad
176 | Šlif, muški, NŠ 19 |  |  | 2 | komad
177 | Šlif, muški, NŠ 29 | ukoliko ima oznaku ona mora biti na brušenom delu nikako na staklenom | dostaviti uzorak! | 34 | komad
178 | Šlif, ženski, NŠ 19 |  |  | 4 | komad
179 | Šlif, ženski, NŠ 29 | ukoliko ima oznaku ona mora biti na brušenom delu nikako na staklenom | dostaviti uzorak! | 33 | komad
180 | Špatula | metalna, dužina 210 mm, široka | dostaviti uzorak! | 3 | komad
181 | Špatula | čelična, dužina 180 mm | dostaviti uzorak! | 7 | komad
182 | špatula | 210 мм, широка |  | 1 | komad
183 | Špatula, s jednim ravnim krajem i kašičicom na drugom kraju | metalna, dužina 100 mm | dostaviti uzorak! | 17 | komad
184 | Špatula, s jednim ravnim krajem i kašičicom na drugom kraju | metalna, dužina 180 mm | dostaviti uzorak! | 2 | komad
185 | Špric boca, 250 mL | PE-LD | dostaviti uzorak! | 10 | komad
186 | Špric boca, 500 mL | PE-LD | dostaviti uzorak! | 12 | komad
187 | safety wash bottle PE-LD distilled water | colour coded cap and bottle, printing on the body of safety symbols as well as chemical formula with non scratch ink |  | 7 | komad
188 | safety wash bottle PE-LD acetone | colour coded cap and bottle, printing on the body of safety symbols as well as chemical formula with non scratch ink |  | 2 | komad
189 | safety wash bottle PE-LD ethanol | colour coded cap and bottle, printing on the body of safety symbols as well as chemical formula with non scratch ink |  | 2 | komad
190 | Špric za GC-MS | Syringe, 10.0 ul. FN, bevel tip 5190-1483 |  | 2 | komad
191 | Štapić za hvatanje magneta |  |  | 3 | komad
192 | Štipaljka za epruvete | drvena |  | 35 | komad
193 | Teclu burner for natural gas | with needle valve and air regulator tube Ø 19 mm, burnerhead Ø 32 mm | usbeck ili ekvivalent | 1 | komad
194 | teflonska slavina, otvor 1.5 mm | Lenz ili ekvivalent | staklo evropskog proizvodjaca. | 10 | komad
195 | teflonska slavina, otvor 2.5 mm | Lenz ili ekvivalent | staklo evropskog proizvodjaca. | 10 | komad
196 | Tučak za avan, porcelanski | duzina 12mm,glaziran za avan fi 60-70mm |  | 25 | komad
197 | vajle | Sarstedt: epruvete 15ml Falcon, 17/120mm, PP, sterilne, set=50 kom |  | 1 | pakovanje
198 | vajle | Sarstedt: epruvete 50ml Falcon, 28/114mm, PP, sterilne, set=25 kom |  | 2 | pakovanje
199 | Viale | sa čepom i septumom od 2mL |  | 1000 | komad
200 | viale za HPLC, graduisane, sa plavim čepom i septumom 2ml 12 x 32 mm | Agilant ili ekvivalent |  | 1 | pakovanje
201 | Бунзенов пламеник | with flame stabilizer, air regulator and orifice |  | 4 | komad
202 | Avan, porcelanski | unutrašnji fi 50-65 mm, spoljni fi 60-76 mm, visina 50-80 ml,glaziran |  | 25 | komad
203 | Uložak za eksikator | porcelanski, φ 140mm |  | 15 | komad
204 | Uložak za eksikator | porcelanski, φ 130mm |  | 15 | komad
205 | assy needle with guide and seat. | m 700005215 za Waters acquity ftn autosampler sn. C11SDI149M. |  | 1 | komad
206 | Combust./Reduct.- tube, Quartz | Elementar kat. br.: 11.00-1150/4 |  | 1 | komad
207 | Wilmad® external reference system complete set | SIGMA ALDRICH kat. br.: Z562904-1SET |  | 2 | komad
208 | Parafilm | 2 in. * 250 ft. |  | 2 | pakovanje
209 | Bosshead, standard | solid stem bosshead, chrome plated cast alloy |  | 4 | komad
210 | Burette holders | aluminium, for two burette, with bosshead, distance between rollers 170 mm, PVC rollers |  | 1 | komad
211 | Clamp, 2 prongs | chrome plated cast steel with two PVC coated prongs, grip width 0-50 mm, solid stem clamp |  | 4 | komad
212 | Eppendorf tubes | 5 mL, Eppendorf quality | pak po 100 kom, dostaviti uzorak | 200 | komad
213 | Laboratory bottles 250 mL | Borosilicate glass 3.3, GL 45, with PP screw cap |  | 10 | komad
214 | Laboratory bottles 500 mL | Borosilicate glass 3.3, GL 45, with PP screw cap |  | 10 | komad
215 | Laboratory jack, stainless steel | length 200 mm, width 200 mm |  | 1 | komad
216 | Nastavci za automatske pipete, 100-1000 uL, 1000 kom/pak | Brand ili ekvivalent | dostaviti uzorak | 3 | pakovanje
217 | Screw caps for wide-mouth bottles | PP/LDPE, neck thread GL 32 | dostaviti uzorak | 200 | komad
218 | Tubes, glass, culture, screw cap, Soda-lime glass | 15 mL, dia 27 mm, height 45 mm, aluminium screw cap | 100 kom u pakovanju, dostaviti uzorak | 1 | pakovanje
219 | . Stakleni konusni inserti za viale za HPLC, zapremine 200uL. (100kom) |  |  | 1 | pakovanje
220 | epruvete sa poklopcem 15ml Falcon, | 17/120mm, PP, sterilne, set=50 kom., sartsted ili odgovarajuće | dostaviti uzorak | 4 | pakovanje
221 | epruvete sa poklopcem 50ml Falcon, | 28/114mm, PP, sterilne, pak=25 kom,sartsted ili odgovarajuće | dostaviti uzorak | 8 | pakovanje
222 | epruvete Safe-Lock 1,5ml | PCR clean, pak=1000kom | dostaviti uzorak | 4 | pakovanje
223 | epruvete Safe-Lock 2ml | PCR clean, pak=1000kom | dostaviti uzorak | 4 | pakovanje
224 | epTIPS 2-200 μl, | autoklavibilni nesterilni, pak=1000 kom,kompatibilni sa ependorf pipetama i ependorf kutijama za sterilizaciju | dostaviti uzorak | 4 | pakovanje
225 | Erlenmajer, 300 mL | stakleni, široko grlo | staklo evropskog porekla | 30 | komad
226 | Erlenmajer, 500 mL | stakleni, široko grlo | staklo evropskog porekla | 30 | komad
227 | nastavci epTIPS 50-1000μl | nesterilni, autoklavibilni, kompatibilni sa ependorf pipetama i ependorf kutijama za sterilizaciju, set 1000 kom | dostaviti uzorak | 4 | pakovanje
228 | Petri šolja, plastična, sterilna | φ 90 mm |  | 2000 | komad
229 | Viale za HPLC, graduisane, sa plavim čepom i septumom (crvena guma sa jedne strane i beli PTFE sa druge strane septuma) (komplet), zapremine 2mL, dimenzija 12x32mm (pakovanje sa 100 kom). |  |  | 5 | pakovanje
230 | Magnet štapićasti, 40 * 8 mm |  |  | 10 | komad
231 | Vegeglas | 25 ml |  | 10 | komad
232 | Magnet štapićasti, 20 * 6 mm |  |  | 5 | komad
233 | Magnet štapićasti, 5 * 2 mm |  |  | 3 | komad
234 | Mikrotuba sa poklopcem | 1.5 mL, plastična (PE ili PP), φ 10.8mm, visina 39 mm, graduisana, sa prostorom za obeležavanje i matiranim poklopcem | dostaviti uzorak | 2000 | komad
235 | Mikrotuba sa poklopcem i zaptivnim mehanizmom koji omogućava upotrebu u PCR-u | 0.5 mL | dostaviti uzorak | 1000 | komad
236 | Nastavci za automatske pipete, 0.1-10 μL | Eppendorf ili odgovarajuće | dostaviti uzorak! | 1000 | komad
237 | Nastavci za automatske pipete, 2-200 μL | Eppendorf ili odgovarajuće | dostaviti uzorak! | 2000 | komad
238 | Pasterova pipeta, plastična (PE ili PP) | 3 mL, graduisana, nesterilna |  | 2000 | komad
239 | magneti cilindrični 10 x 6 |  |  | 10 | komad
240 | magneti cilindrični 15 x 6 |  |  | 10 | komad
241 | magneti cilindrični 20 x 6 |  |  | 10 | komad
242 | joint clamps for spherical ground joints | za šlif 29/15, Made of stainless steel. With adjustment screw |  | 3 | komad
243 | kugl šlif NŠ 29 | DURAN ili odgovarajuće |  | 3 | komad
244 | Mikrotuba sa poklopcem (Eppendorf) | 2 mL, nesterilna, plastična okruglo dno (PE ili PP) | dostaviti uzorak | 1000 | komad
245 | nastavci za pipete od 20 µl | kompatibilne sa thermo fisher (finntip 50) | dostaviti uzorak | 1000 | komad
246 | Needle-valve stopcocks, straight Valve bore 0 to 4 mm, PTFE plug spindle |  |  | 3 | komad
247 | syringe filter 25 mm 0.45 µm PTFE |  |  | 1000 | komad
248 | Parafilm | 2 in. * 250 ft. |  | 2 | pakovanje
249 | Mira Mist Nebuliser | za uređaj ICP ICAP 6500 |  | 1 | komad
250 | Screwthread tubes (GL 25) | Precnik 22 mm, duzina 100 mm) |  | 20 | komad
251 | Screwthread tubes (GL 32) | Precnik 28 mm, duzina 140 mm) |  | 20 | komad
252 | Staklena cev, fi 46 mm, duzina 1.5 m, debljina zida 2.2 mm | Simax ili ekvivalent (1pak = 16 kom) |  | 1 | pakovanje
253 | Staklena cev, fi 52 mm, duzina 1.5 m, debljina zida 2.5 mm | Simax ili ekvivalent (1pak=12 kom) |  | 1 | pakovanje
254 | Staklena cev, fi 56 mm, duzina 1.5 m, debljina zida 1.8 mm | Simax ili ekvivalent (1pak=12 kom) |  | 1 | pakovanje
255 | Staklena cev, fi 65 mm, duzina 1.5 m, debljina zida 2.2 mm | Simax ili ekvivalent (1pak = 8 kom) |  | 1 | pakovanje
256 | Gumena pumpa za automatsku biretu | Aspirator bulb for automatic burette |  | 5 | komad
257 | Kivete za UV/VIS | Hellma® absorption cuvettes, standard cells, Micro optical glass, limit 320-2,500 nm spectral range, pathlength 10 mm, chamber volume 700 μL | Kat. Br. Z802867 Sigma-Aldrich ili odgovarajuće | 1 | pakovanje
258 | Adapter-reducir sa NS 14/23 na NS 19/26 | Adapter expansion socket NS 14/23 cone NS 19/26, boro 3.3 |  | 1 | komad
259 | Čaša niska forma 250ml | Beaker, Borosilicate Glass, 250ml |  | 5 | komad
260 | Stezaljke za NB spoj - NB 19/26 | Clips For NS Joints NS 19/26 Blue | PE-LD | 2 | komad