## Sheet1
Prilog uz konkursnu dokumentaciju JN 14/17
Partija broj | Naziv | Opis | Napomena | Količina | Jedinica mere | Cena po jedinici mere bez PDV-a | Ukupno bez PDV-a ( kolona 5x kolona 7) | Ukupno sa PDV-om ( kolona 8x PDV) | Proizvođač
1 | Muf za laboratorijsku klemu | metalni |  | 3 | kom
2 | Laboratorijska klema | metalna |  | 3 | kom
3 | TLC pločice | Aluminijumske ploče sa silika gelom 60, fluorescentne 254 nm (F 254), dimenzije jedne ploče 20 x 20 cm, 25 ploči po pakovanju |  | 1 | pak.
4 | Vakuum crevo | debljina zida creva 4 mm, širina otvora creva 7 mm |  | 10 | m
5 | Parafilm | 4 in. * 125 ft. |  | 1 | pak.
6 | Špatula, s jednim ravnim krajem i kašičicom na drugom kraju | metalna, dimenzija kašičice 9*5 mm, dužina 150 mm | dostaviti uzorak! | 5 | kom
7 | Špatula, s jednim ravnim krajem i kašičicom na drugom kraju | metalna, dimenzija kašičice 38*27-32*22 mm, dužina 150 mm | dostaviti uzorak! | 5 | kom
8 | Erlenmajer, 300 ml | stakleni, široko grlo |  | 10 | kom
9 | Laboratorijska čaša, 100 mL | staklena, niska forma |  | 20 | kom
10 | Laboratorijska čaša, 150 mL | staklena, niska forma |  | 10 | kom
11 | Laboratorijska čaša, 1 L | staklena, visoka forma |  | 4 | kom
12 | Laboratorijska čaša, 250 mL | staklena, niska forma |  | 10 | kom
13 | Magnet štapićasti, 60 * 9 mm |  |  | 3 | kom
14 | Laboratorijska čaša, 50 mL | staklena, niska forma |  | 20 | kom
15 | Pipeta klipna graduisana, 10 mL |  |  | 2 | kom
16 | Menzura, 100 mL | borosilikatno staklo, graduisana |  | 2 | kom
17 | Menzura, 50 mL | borosilikatno staklo, graduisana |  | 5 | kom
18 | Menzura, 25 mL | borosilikatno staklo, graduisana |  | 3 | kom
19 | Nastavci za automatske pipete, 100-1000 μL | Brand ili odgovarajuće | dostaviti uzorak! | 2000 | kom
20 | Pasterova pipeta, plastična (PE ili PP) | 5 mL, graduisana, nesterilna |  | 100 | kom
21 | Normalni sud, 25 mL | stakleni, plastični čep |  | 5 | kom
22 | Pinceta, prava | metalna, 150 mm | dostaviti uzorak! | 3 | kom
23 | Porcelanski tigl | d=30 mm, h=38 mm | dostaviti uzorak! | 30 | kom
24 | Trougao za žarenje |  |  | 2 | kom
25 | Kvarcna kiveta za spektrofotometar (UV/VIS) | Hellma absorption cuvettes, standard cells, Macro, materijal: Suprasil 300 quartz, spektralni opseg 200-3500 nm, dužina optičkog puta: 10 mm, zapremina kivete: 3500 µL, dimenzije: 45 mm*12,5 mm*12,5 mm, dva polirana prozora |  | 1 | kom
26 | Teflonska membrana za HG-ICP-OES tehniku | MEMBRANE DIA 47 PTFE*L, CAS 942346010021 |  | 1 | kom
27 | Elektroda za konduktometar | WTW, Cond 330i |  | 1 | kom
28 | Filteri za špric | materijal: nylon; veličina pora 0,22 um; prečnik filtera 11 mm |  | 500 | kom
29 | Filteri za špric | materijal: PTFE; veličina pora 0,22 um; prečnik filtera 11 mm; 500 komada |  | 500 | kom
30 | Filteri za špric | materijal: PTFE, velicina pora 0,45 um, precnik 25 mm; 250 komada |  | 250 | kom
31 | Špric, 5 mL | plastični |  | 20 | kom
32 | Epruveta, 10*100 mm | staklena |  | 100 | kom
33 | Nastavci za automatske pipete, 100-1000 μL | eppendorf ili odgovarajuće | dostaviti uzorak! | 6000 | kom
34 | Nastavci za automatske pipete, 2-200 μL | eppendorf ili odgovarajuće | dostaviti uzorak! | 10000 | kom
35 | Nastavci za automatske pipete, 0.1-10 μL | eppendorf ili odgovarajuće | dostaviti uzorak! | 5000 | kom
36 | Mikrotuba sa poklopcem i zaptivnim mehanizmom koji omogućava upotrebu u PCR-u | 0.5 mL | dostaviti uzorak! | 2000 | kom
37 | Mikrotuba sa poklopcem i zaptivnim mehanizmom koji omogućava upotrebu u PCR-u | 0.2 mL | dostaviti uzorak! | 1000 | kom
38 | Petri šolja, plastična, sterilna | φ 90 mm | dostaviti uzorak! | 1200 | kom
39 | Mikrotitar pločica, plastična (PE ili PP), sterilna sa poklopcem | 96 bunara, transparentno ravno dno | dostaviti uzorak! | 200 | kom
40 | Membranski filteri, GVWP04700 Durapore | φ 47 mm, hidrofilna PVDF membrana, veličina pora 0.22 mikrometra, bele boje | dostaviti uzorak! | 100 | kom
41 | Reaction flasks, flat flange, DURAN®; Flat flange lids, DN 60, DURAN®; Quick release clamps in stainless steel, DURAN®; O-ring seals, silicone, LF 60, LENZ; Paddle rod 350 MM; Anchor paddle head SS10/14; KPG STIRRER GUIDES, Stirrer Adapters (Stirrer Bearings) | Reaction flasks, flat flange, DURAN®(manufacturer P/n (šifra): 243903601; Product Specification: Capacity: 250ml Full capacity: 315ml DN: 60 Capacity: 315ml Flange diam.: 100mm Body Diam.: 70mm Height: 125mm Pressure: 2,5 bar); Flat flange lids, DN 60, DURAN®(manufacturer P/n (šifra): 243923406 Product Specification: DN: 60 4 standard ground necks: CS NS 29/32, SS NS 2X19/26 1X14/23 ANGLED); Quick release clamps in stainless steel, DURAN®(manufacturer P/n (šifra): 290713407 Product Specification: DN: 60 Quick release clamps in stainless steel, with 3 retaining clips, for flange DN60); O-ring seals, silicone, LF 60, LENZ (manufacturer P/n (šifra): 6.2480.06 9142834 Product Specification: For flange: 60 DN Diam.: 75mm Thickness: 4mm); Paddle rod 350 MM( Bibby Scientific Ltd manufacturer P/n (šifra): SS10/5 9950401 Product Specification: Diam.: 8mm Type: Shaft 350mm long); Anchor paddle head SS10/14(Bibby Scientific Ltd. manufacturer P/n (šifra): SS10/14 9950407 Product Specification: Type: Anchor Width: 60 mm); KPG STIRRER GUIDES, Stirrer Adapters (Stirrer Bearings)( Lenz manufacturer P/n (šifra): 6.3010.29 9197351 Product Specification: Cone NS 29/32 Bearing surface ground and polished). | u pakovanju se nalazi po 1 komad od svake tražene stavke | 1 | pak.
42 | Gumica za guč bocu | Top diam. 27 mm Bottom diam. 17 mm Height 20 mm Wall thickness 3 mm | gumena gumica konusnog oblika | 5 | kom
43 | Gumica za guč bocu | Top diam. 21 mm Bottom diam. 12 mm Height 18 mm Wall thickness 2.5 mm | gumena gumica konusnog oblika | 5 | kom
44 | Stopcocks, straight bore with solid glass plug, borosilicate glas 3.3 | With solid glass key NS 18,8 Bore 6mm |  | 1 | kom
45 | NS stoppers, PP | NS 29/32 |  | 5 | kom
46 | NS stoppers, PP | NS 14/23 |  | 5 | kom
47 | Levak kvalitativni | stakleni, 15 cm |  | 1 | kom
48 | Filter paper qualitative, sheets | , W × L 460 mm × 570 mm, pack of 100 |  | 1 | pak.
49 | silokonsko crevo | Int. diam. 7.00 Ext. diam. 11.0 Wall thickness 2.0 |  | 5 | m
50 | Mikrotube sa poklopcem, 0.5 ml | Mikrotube sa poklopcem, zapremina 0,5ml, max 1000 kom/pak |  | 1 | kom
51 | Sterilne najlonske mrežice za pravljenje ćelijske suspenzije (strainer) | - strainer sa najlonskom mrežicom veličine pora 40 μm - fituje na sterilne konusne epruvete prečnika 28 mm - sterilno - pojedinačno pakovano - za pripremu ćelijskih suspenzija - BD Biosciences kat. br.352340 ili ekvivalent |  | 50 | kom
52 | čaša staklena od 250 mL |  |  | 4 | kom
53 | Carestream Medical X ray blue/MXBE film | 18x24cm, 100 kom u pakovanju |  | 1 | pak.
54 | Pasterove pipete od 3 mL | 3 mL, graduated, non sterile, PE, pack of 500, LLG ili odgovarajuće |  | 2 | pak.
55 | Nastavci za pipete (20-200 uL) | Pipette Tip 200µl, yellow, Pakovanje od 1000 kom. Sardstedt ili odgovarajuće | dostaviti uzorak | 10 | pak.
56 | Nastavci za pipete (1-10 uL) | Pipette Tip 10µl, neutral. Pakovanje od 1000 kom, Sardstet ili odgovarajuće | dostaviti uzorak | 4 | pak.
57 | Nastavci za pipete (100-1000 uL) | Pipette Tip 1000µl, neutral, Pakovanje od 250 kom. Sardstet ili odgovarajuće | dostaviti uzorak | 20 | pak.
58 | Mikrotube sa poklopcem | Mikrotube sa poklopcem, zapremina 1,5ml, max 1000 kom/pak, konusno dno | dostaviti uzorak | 7 | pak.
59 | PIPETA PO PASTERU STAKLENA 230mm | LLG-Pasteur pipets, glass, cap. 2 ml, length 230 mm, pack of 250 | dostaviti uzorak | 4 | pak.
60 | COVER GLASSES, ROUND, PURE WHITE | Cover glasses, round, pure white, 0,13-0,16 mm thick, diam. 14 mm, pack of 100 |  | 1 | pak.
61 | Circular cover slips 18 MM, 0.13-0.16mm | Cover glasses, round, pure white, 0,13-0,16 mm thick, diam. 18 mm, pack of 100 |  | 1 | pak.
62 | Serological pipette 10 ml | graduated, with cotton plug, colour code: orange, polystyrene, sterile, non-pyrogenic/endotoxin-free, non-cytotoxic, 1 pc./paper/plastic packaging (set od 50kom) |  | 2 | seta
63 | Cell culture dish 35 x 10 mm, polystyrene | Standard growth surface for adherent cells, red, SUREGrip design, sterile, non-pyrogenic/endotoxin-free, non-cytotoxic, 10 pcs/beg |  | 2 | pak.
64 | Cell culture dish 60 x 15 mm, polystyrene | Standard growth surface for adherent cells, red, SUREGrip design, sterile, non-pyrogenic/endotoxin-free, non-cytotoxic, 10 pcs./bag |  | 2 | pak.
65 | Cell culture dish 100 x 20 mm | standard growth surface for adherent cells, red, SUREGrip Design, sterile, pyrogen-free, non-cytotoxic, 10 pieces packed in the minigrip bag |  | 2 | pak.
66 | Cell culture plate, 12-well | Cell culture plate, 12-well, polystyrene, Standard growth surface for adherent cells, red, flat base, sterile, non-pyrogenic/endotoxin-free, non-cytotoxic, 1 pc./paper/plastic packaging |  | 20 | kom
67 | Cell culture plate, 24-well | Cell culture plate, 24-well, polystyrene, Standard growth surface for adherent cells, red, flat base, sterile, non-pyrogenic/endotoxin-free, non-cytotoxic |  | 20 | kom
68 | High Conversion dynode/electron multiplier power supply | Power supply that delivers a potential of +15 kV for negative ion detection or -15 kV for positive ion detection is applied to the conversion dynode of the LTQ ORbitrap XL. Supplies the -0.8 kV to -2.5 kV dc high voltage to the cathodes of the electron multipliers.Power supply that delivers a potential of +15 kV for negative ion detection or -15 kV for positive ion detection is applied to the conversion dynode of the LTQ ORbitrap XL. Supplies the -0.8 kV to -2.5 kV dc high voltage to the cathodes of the electron multipliers.The polarity of the voltage applied to the conversion dynode is determined by a control signal from the Analog PCB. | Obavezno kompatibilno sa LTQ ORbitrap XL hibridnim masenim spektrometrom visoke rezolucije (Thermo Fischer Scinetific Inc.), dostaviti potvrdu, sertifikat autorizaciju,ugovor ili sličan dokument izdat od strane proizvođača (Thermo Fischer Scinetific Inc.) | 1 | kom
69 | Filter bowl Assembly (Complete Unit) AFD30-F | Micro mist separator: AFD; Body size: 30; Thread type: F (Drain guide is G ¼); Fluid: air.; Proof pressure: 1.5 Mpa; Maximum operating pressure: 1.0 Mpa; Ambient and fluid temperature: –5 to 60°C (With no freezing);Rated flow (L/min (ANR)): 240 ; Nominal filtration rating: 0.01 μm (95% filtered particle size); Outlet side oil mist concentration: Max. 0.1 mg/m3 (ANR) (Before saturated with oil: 0.01 mg/m3 (ANR) or less, approx. 0.008 ppm) (When the compressor oil mist discharge concentration is 30 mg/m3 (ANR)); Bowl material: Polycarbonate; Bowl guard: Standard; Drain capacity (cm3): 25; Weight (kg): 0.22 Construction:1. Body material: Aluminum die-casted (Platinum silver), 2. Element assembly, 3. Bowl assembly (1) – material: PC, 4. Bowl O-ring - material: NBR | Micro mist separator za generator azota visoke cistoce “High Purity Nitrogen Generator, NM30LA, 230Vac, Gas Station (19” Rack System), Peak Scientific” Proizvodjaca SMC pneumatics ili kompatibilan | 2 | kom
70 | Spric boca, 500ml/PVC |  |  | 4 | kom
71 | Epruveta, sa konusnom osnovom I poklopcem, 15ml/sterilna, nepirogena, graduisana, poklopac na zavrstanje (screw cap), polipropilenska, prozima,17mm, visina 120mm, mogucnost centrifugiranja do 15000g, autoklavabilna na 121C, SARSTED ili odgovarJUCE |  |  | 200 | kom
72 | Mikrotuba sa poklopcem (Eppendorf)/1.5ml, nesterilna, plasticna (PE ili PP) |  |  | 2000 | kom
73 | Pasterova pipeta/staklena |  |  | 1000 | kom
74 | Nastavci za pipete, 1000 ul, kompatibilni sa Eppendorfovim pipetama, |  | Dostaviti uzorak | 2000 | kom
75 | Nastavci za pipete, 1000 ul, Brand ili odgovarajuće |  | pakovanje od 500 kom | 4 | pak.
76 | Nastavci za pipete, 200 ul, kompatibilni sa Eppendorfovim pipetama. |  | Dostaviti uzorak | 5000 | kom
77 | Staklena cev, fi 10 mm, duzina 1.5 m, debljina zida 1.0 mm | Simax ili ekvivalent; 1 pak = 64 kom |  | 1 | pak.
78 | Staklena cev, fi 140 mm, duzina 1.5 m, debljina zida 5.0 mm | Simax ili ekvivalent; 1 pak = 2 kom |  | 1 | pak.
79 | Staklena cev, fi 6 mm, duzina 1.5 m, debljina zida 1.0 mm | Simax ili ekvivalent; 1 pak = 170 kom |  | 1 | pak.
80 | Staklena cev, fi 75 mm, duzina 1.5 m, debljina zida 3.2 mm | Simax ili ekvivalent; 1 pak = 4 kom |  | 2 | pak.
81 | Staklena cev, fi 8 mm, duzina 1.5 m, debljina zida 1.0 mm | Simax ili ekvivalent; 1 pak = 100 kom |  | 1 | pak.
82 | Filter disc with hole, d = 23 mm, hole d = 8,4 mm, porosity 0 |  |  | 10 | kom.
83 | Magnet štapićasti, 12 * 5 mm |  |  | 25 | kom.
84 | Silikonsko crevo, za vakuum | [9/18 mm] |  | 5 | m
85 | Levak za ukapavanje( kapalica), 100 mL | teflonska slavina, sa dva šlifa NŠ 14 |  | 1 | kom.
86 | Levak za odvajanje (po Squibb-u), 250 mL, NS 29/32 | stakleni sa teflonskom slavinom | staklo evropskog porekla | 1 | kom.
87 | Lula za vakuum destilaciju | sa šlifovima 2 * NŠ 29 |  | 1 | kom.
88 | Termometar, sa šlifom NŠ 14, 0-360°C | duzina od rezervoara do slifa 55-60 mm |  | 5 | kom.
89 | Porcelanska šolja, φ45- 55 mm | ravno dno, visina 2,2-3,0 cm | dostaviti uzorak! | 105 | kom.
90 | Gumeno crevo za kondenzatore | unutrašnji φ 6 mm |  | 10 | m
91 | Metalni kek (klip) za šlif NŠ 14 |  |  | 12 | kom.
92 | Kiveta za centrifugiranje | staklena 37*120 mm |  | 1 | kom.
93 | Vegeglas | d=30mmh=60 mm |  | 2 | kom.
94 | Porcelanski tigl | d=30 mm, h=38 mm | dostaviti uzorak! | 60 | kom.
95 | keramicka mrezica | 200x200 mm | dostaviti uzorak! | 31 | kom.
96 | Špric zapremine 10 mikrolitara za GC-MS | Syringe, 10 µL, FN, bevel tip 5190-1483, za Agilent GC-MS | dostaviti uzorak! | 1 | kom.
97 | Porcelanski tigl | d=50 mm, h=60 -62mm | dostaviti uzorak! | 20 | kom.
98 | Multifunkcionalni stalak za fiole i kivete | 4*50ml / 12*15ml / 32*1,5ml / 32*0,5ml |  | 20 | kom.
99 | poklopci za porcelanski tigl | d=66-68 mm |  | 12 | kom.
100 | Klema za kondenzator | viljuškasta, napravljena od hromiranog čelika sa tri viljuške presvučene PVC-om, dva odvojena podesiva šrafa za kontrolu pritiska i pozicije držanja, maksimalan otvor 70mm, debljina šipke 12mm |  | 12 | kom.
101 | Epruveta, 16-16,5*100-101 mm, sa poklopcem | plastična |  | 40 | kom.
102 | Epruveta, 16*100 mm | plastična |  | 100 | kom.
103 | TLC ploče | Aluminijumske ploče sa silika gelom 60, fluorescentne 254 nm (F 254), dimenzije jedne ploče 20 x 20 cm, 25 ploča po pakovanju | Merck ili odgovarajuće | 5 | pak.
104 | Bond Elut Mycotoxin, 500mg 3 ml |  | 50 komada u pakovanju | 1 | pak.
105 | Gumice za Pasterovu pipetu | silikonske, transparentne | dostaviti uzorak! | 50 | kom
106 | Septa for Wide Opening Screw Caps | Ivory, PTFE/red silikone rubber septa | pakovanje po 100 komada dostaviti uzorak! | 2 | pak.
107 | Splitless liner za GC 4 mm ID tap | Agilent ili odgovarajuće | dostaviti uzorak! | 2 | kom
108 | UltraClean 18mm acrew cap w/septa | Screw cap, hedspace, steel, magnetic cap, PTFE/silicone septa(top/white, bottom blue), 18 mm | pakovanje po 100 komada dostaviti uzorak! | 2 | pak.
109 | Filter | PTFE, hydrophobic, 0.22 µm, 13 mm, white, plain | dostaviti uzorak! | 100 | kom.
110 | Filter | PTFE, hydrophobic, 0.22 µm, 47 mm, white, plain | dostaviti uzorak! | 100 | kom.
111 | Syringe Filters | Hydrophilic, PTFE, 13 mm, 0.22 µm | dostaviti uzorak! | 100 | kom.
112 | Syringe Filters | Hydrophilic, PTFE, 13 mm, 0.20 µm | dostaviti uzorak! | 100 | kom.
113 | Epruvete | staklene 130x14x0,8 mm, soda-glass runder boden, ohne rand round bottom, rimless, | dostaviti uzorak! | 200 | kom.
114 | Epruvete plastične | Sterilne, sa čepom ᴓ16/100, 10 mL | dostaviti uzorak! | 350 | kom.
115 | Micro tube | Reaction tubes, 1.5 ml, PP, with attached lid, with moulded graduation and frosted writing space, 500 pcs./bag, Graduation Yes Cap Attached Recommended centrifugation 20000 x g Size Sample volume 1,5 ml Diameter 10,8 mm Length of product 39 mm Material & colours Product material Polypropylene (PP) Colour of product Transparent Cap material Polypropylene (PP) Colour of cap Transparent Purity & certification Product in accordance with MDD or IVDD No marking necessary CE certified No CE marking Lot or serial number non batched, Sarstedt ili odgovarajuci | 500 komada u pakovanju; dostaviti uzorak! | 4 | pak.