## Sheet1
Prilog uz konkursnu dokumentaciju JN 12/19
Partija broj | Naziv | Opis | Napomena | Količina | Jedinica mere | Cena po jedinici mere bez PDV-a | Ukupno bez PDV-a( kolona 5x kolona 7) | Ukupno sa PDV-om ( kolona 8x PDV) | Proizvođač
1 | Air regulator Type HM-2 | For air-leak capillary tubes. Acts as a fine regulation valve (needle valve). Plastic body Brass needle with fine thread. |  | 5 | ком.
2 | Balon, jednogrli, 1 L | stakleni, okruglo dno, sa šlifom NŠ 29/32 | borsilikatno staklo; odgovarajući DIN / ISO standard za slif | 13 | ком.
3 | Balon, jednogrli, 100 mL | stakleni, okruglo dno | borsilikatno staklo | 6 | ком.
4 | Balon, jednogrli, 100 mL | stakleni, okruglo dno, sa šlifom NŠ 29/32 | borsilikatno staklo; odgovarajući DIN / ISO standard za slif | 6 | ком.
5 | Balon, jednogrli, 2 L | stakleni, okruglo dno, sa šlifom NŠ 29/32 | borsilikatno staklo; odgovarajući DIN / ISO standard za slif | 10 | ком.
6 | Balon, jednogrli, 250 mL | stakleni, okruglo dno, sa šlifom NŠ 29/32 | borsilikatno staklo; odgovarajući DIN / ISO standard za slif | 12 | ком.
7 | Balon, jednogrli, 250 mL | stakleni, ravno dno, sa slifom NS 29/32 | borsilikatno staklo; odgovarajući DIN / ISO standard za slif | 8 | ком.
8 | Balon, jednogrli, 250 mL | stakleni, okruglo dno, bez šlifa, usko grlo | borsilikatno staklo | 30 | ком.
9 | Balon, jednogrli, 5 L | usko grlo, okruglo dno | borsilikatno staklo | 4 | ком.
10 | Balon, jednogrli, 500 mL | stakleni, okruglo dno | borsilikatno staklo | 5 | ком.
11 | Balon, jednogrli, 500 mL | stakleni, okruglo dno, sa šlifom NŠ 29/32 | borsilikatno staklo; DIN / ISO standard za slif | 10 | ком.
12 | Bireta po Schellbachu od 10 mL, raspodela 0,02 ml, plava graduacija, prava sa teflonskom slavinom, klasa AS | Schellbach line for easier reading, declaration of conformity acc. to DIN 12600, with dated batch identification, high-contrast blue graduations, main point ring graduation at major subdivisions, EX (TD) calibrated, acc. to DIN EN ISO 385. Scale length approx. 500mm. | dostaviti uzorak | 50 | ком.
13 | Bireta po Schellbachu od 50 mL, raspodela 0,1 ml, plava graduacija, prava sa teflonskom slavinom, klasa AS | Schellbach line for easier reading, declaration of conformity acc. to DIN 12600, with dated batch identification, high-contrast blue graduations, main point ring graduation at major subdivisions, EX (TD) calibrated, acc. to DIN EN ISO 385. Scale length approx. 500mm. | dostaviti uzorak | 2 | ком.
14 | Boca za uzorke (50 ml) sa navojem i poklopcem. | Bočice za čuvanje uzorka, plastične sa pokopcima i navojem. |  | 300 | ком.
15 | Bunzenov plamenik | With needle valve,Air regulation | dostaviti uzorak | 3 | ком.
16 | Čep gumeni | donji prečnik 17 mm, gornji prečnik 22 mm, visina 25 mm |  | 10 | ком.
17 | Čep gumeni | donji prečnik 26 mm, gornji prečnik 32 mm, visina 30 mm |  | 6 | ком.
18 | Čep gumeni | Za epruvete otvora φ 10 mm; donji prečnik 8 mm, gornji prečnik 12 mm, visina 20 mm |  | 50 | kom
19 | Čep plastični, NŠ 29/32 | PVC |  | 5 | ком.
20 | Čep silikonski | donji prečnik 14 mm, gornji prečnik 18 mm, visina 20 mm |  | 10 | ком.
21 | Čep silikonski | donji prečnik 26 mm, gornji prečnik 32 mm, visina 30 mm |  | 9 | ком.
22 | Četkica za pranje epruveta | broj 0 | dostaviti uzorak! | 90 | ком.
23 | Četkica za pranje epruveta | broj 1 | dostaviti uzorak! | 90 | ком.
24 | Četkica za pranje epruveta | broj 2 | dostaviti uzorak! | 50 | ком.
25 | Četkica za pranje epruveta | broj 3 | dostaviti uzorak! | 30 | ком.
26 | Četkica za pranje epruveta | broj 4 | dostaviti uzorak! | 50 | ком.
27 | Četkica za pranje epruveta | broj 5 | dostaviti uzorak! | 20 | ком.
28 | Četkica za pranje epruveta | broj 6 | dostaviti uzorak! | 40 | ком.
29 | Četkica za pranje epruveta | broj 7 | dostaviti uzorak! | 30 | ком.
30 | Dupla kašika | metalna, dužina 200 mm, uska | dostaviti uzorak! | 5 | ком.
31 | Dupla špatula | metalna, dužina 150 mm, uska | dostaviti uzorak! | 8 | ком.
32 | Epruveta, 10*100 mm | staklena, bez ruba |  | 50 | ком.
33 | Epruveta, 13*130 mm | staklena, bez ruba |  | 300 | ком.
34 | Epruveta, 15*100 mm, sa poklopcem | plastična |  | 100 | ком.
35 | Epruveta, 16*160 mm | staklena, bez ruba |  | 900 | ком.
36 | Epruveta, 16*160 mm | staklena, sa rubom |  | 1000 | ком.
37 | Epruveta, sa konusnom osnovom i poklopcem, 15 mL | sterilna, nepirogena, graduisana, poklopac na zavrtanje (screw cap), polipropilenska, prozirna; φ 17 mm, visina 120 mm; mogućnost centrifugiranja do 15000g; autoklavabilna na 121°C; SARSTED ili odgovarajuće | dostaviti uzorak | 250 | ком.
38 | Epruveta, sa konusnom osnovom i poklopcem, 50 mL | sterilna, nepirogena, graduisana, poklopac na zavrtanje (screw cap), polipropilenska, prozirna; φ 28 mm, visina 114 mm; mogućnost centrifugiranja do 15000g; autoklavabilna na 121°C; SARSTED ili odgovarajuće | dostaviti uzorak | 250 | ком.
39 | Epruveta, sa poklopcem, 50 mL, samostojeca | sterilna, nepirogena, graduisana, poklopac na zavrtanje (screw cap), polipropilenska, prozirna; φ 28 mm, visina 114 mm; mogućnost centrifugiranja do 15000g; autoklavabilna na 121°C; SARSTED ili odgovarajuće | dostaviti uzorak | 50 | ком.
40 | erlenmajer od 1000 ml slif 29/32 |  | borsilikatno staklo; DIN / ISO standard za slif | 10 | ком.
41 | erlenmajer od 2000 ml slif 29/32 |  | borsilikatno staklo; DIN / ISO standard za slif | 5 | ком.
42 | Erlenmajer, 1 L | stakleni, usko grlo | borsilikatno staklo | 11 | ком.
43 | Erlenmajer, 100 mL | stakleni, usko grlo | borsilikatno staklo | 35 | ком.
44 | Erlenmajer, 2 L | stakleni, usko grlo | borsilikatno staklo | 10 | ком.
45 | Erlenmajer, 25 mL | stakleni, usko grlo | borsilikatno staklo | 20 | ком.
46 | Erlenmajer, 250 mL | stakleni, široko grlo | borsilikatno staklo | 20 | ком.
47 | Erlenmajer, 250 mL | stakleni, usko grlo | borsilikatno staklo | 4 | ком.
48 | Erlenmajer, 3 L | stakleni, usko grlo | borsilikatno staklo | 5 | ком.
49 | Erlenmajer, 300 mL | stakleni, široko grlo | borsilikatno staklo | 40 | ком.
50 | Erlenmajer, 50 mL | stakleni, usko grlo | borsilikatno staklo | 15 | ком.
51 | Erlenmajer, 500 mL | stakleni, usko grlo | borsilikatno staklo | 22 | ком.
52 | Filter za špric, PTFE | 25 mm, 0.45 μm, minisart medium filter |  | 500 | ком.
53 | Gas distribution tubes, central ring, porosity 1 | precnik diska 25 mm, debljina cevi 9 mm | borsilikatno staklo | 5 | ком.
54 | Gumeno crevo za kondenzatore | unutrašnji φ 8 mm |  | 10 | m
55 | Gumica za guč bocu | gumena, gornji prečnik 27mm, donji prečnik 17mm, visina 20mm, debljina zida 3mm |  | 6 | ком.
56 | Gumica za guč bocu | gumena, gornji prečnik 33mm, donji prečnik 21mm, visina 24mm, debljina zida 3mm |  | 4 | ком.
57 | Gumica za guč bocu | gumena, gornji prečnik 53mm, donji prečnik 33mm, visina 34mm, debljina zida 5mm |  | 4 | ком.
58 | inserti za viale | vial insert, 250 µL glass with polymer feet | Agilant ili ekvivalent, 1 pak = 100 kom | 1 | пак.
59 | Kekovi, plasticni | zuti, za slif 14/23 |  | 10 | kom
60 | Keramička mrežica za plamenik | dimenzije 200*200 mm | dostaviti uzorak | 50 | ком.
61 | Kesa za sterilizaciju,polipropilenska ili odgovarajuceg materijala | HIMEDIA, HiDispoBag - 34 | pakovanje od 50 komada | 2 | пак.
62 | Klema za balon | nš29 |  | 10 | ком.
63 | Klema za kondenzator | viljuškasta, od hromiranog čelika, sa viljuškama prevučenim PVC-om, 2 odvojena podesiva šrafa za pritezanje, debljina šipke 12mm, maksimalni otvor 70 mm |  | 20 | ком.
64 | Kolona HP-5MS, 30m, 0,25mm, 0,25um za GC-MS instrument Agilent Technologies 7890A/5975C | Kolona HP-5MS 30m, 0,25mm, 0,25um, kompatibilno sa instrumentom Agilent Technologies 7890A/5975C, Agilent, 19091S-433 | kompatibilno sa postojecim instrumentom, Agilent, 19091S-433 | 1 | ком.
65 | kvarcna cev | spoljasnji precnik 38 mm | duzina 1 m | 1 | ком.
66 | kvarcna cev | spoljasnji precnik 8 mm | duzina 1 m | 3 | ком.
67 | Kvarcna kiveta za spektrofotometar | optički put 10mm, Hellma ili ekvivalent | 12.5 x 12.5 x 45 mm ,zapremina 3,5 ml, talasna duzina 190 – 2500nm | 2 | ком.
68 | Laboratorijska čaša, 1 L | staklena, niska forma | borsilikatno staklo | 20 | ком.
69 | Laboratorijska čaša, 1 L | staklena, visoka forma | borsilikatno staklo | 8 | ком.
70 | Laboratorijska čaša, 10 mL | staklena, niska forma | borsilikatno staklo | 30 | ком.
71 | Laboratorijska čaša, 100 mL | staklena, niska forma | borsilikatno staklo | 50 | ком.
72 | Laboratorijska čaša, 100 mL | staklena, visoka forma | borsilikatno staklo | 10 | ком.
73 | Laboratorijska čaša, 150 mL | staklena, niska forma | borsilikatno staklo | 72 | ком.
74 | Laboratorijska čaša, 150 mL | staklena, visoka forma | borsilikatno staklo | 10 | ком.
75 | Laboratorijska čaša, 2 L | staklena, niska forma | borsilikatno staklo | 7 | ком.
76 | Laboratorijska čaša, 25 mL | staklena, niska forma | borsilikatno staklo | 40 | ком.
77 | Laboratorijska čaša, 250 mL | staklena, niska forma | borsilikatno staklo | 127 | ком.
78 | Laboratorijska čaša, 250 mL | staklena, visoka forma | borsilikatno staklo | 10 | ком.
79 | Laboratorijska čaša, 400 mL | staklena, niska forma | borsilikatno staklo | 105 | ком.
80 | Laboratorijska čaša, 5 L | staklena, niska forma | borsilikatno staklo | 5 | ком.
81 | Laboratorijska čaša, 50 mL | staklena, niska forma | borsilikatno staklo | 60 | ком.
82 | Laboratorijska čaša, 50 mL | staklena, visoka forma | borsilikatno staklo | 10 | ком.
83 | Laboratorijska čaša, 600 mL | staklena, niska forma | borsilikatno staklo | 70 | ком.
84 | Laboratorijska čaša, 600 mL | staklena, visoka forma | borsilikatno staklo | 17 | ком.
85 | Laboratorijska čaša, 800 mL | staklena, niska forma | borsilikatno staklo | 60 | ком.
86 | Levak kvalitativni | stakleni, precnik 7 cm | borsilikatno staklo | 25 | ком.
87 | Levak za odvajanje (po Squibb-u), 100 mL | stakleni, teflonska slavina, NS 19/26 | borsilikatno staklo; DIN / ISO standard za slif | 2 | ком.
88 | Levak za odvajanje (po Squibb-u), 50 mL | stakleni, teflonska slavina, NS 19/26 | borsilikatno staklo; DIN / ISO standard za slif | 2 | ком.
89 | Magnet štapićasti, 12 * 4.5 mm, PTFE | bez prstena | moguće odstupanje do 1 mm od datih dimenzija | 6 | ком.
90 | Magnet štapićasti, 20 * 6 mm, PTFE | bez prstena | moguće odstupanje do 1 mm od datih dimenzija | 16 | ком.
91 | Magnet štapićasti, 30 * 6 mm, PTFE | bez prstena | moguće odstupanje do 1 mm od datih dimenzija | 10 | ком.
92 | Magnet štapićasti, 60 * 9 mm, PTFE | bez prstena | moguće odstupanje do 1 mm od datih dimenzija | 5 | ком.
93 | Magneti jajasti PTFE 20 x 10 mm |  | moguće odstupanje do 1 mm od datih dimenzija | 10 | ком.
94 | Magneti jajasti PTFE 25 x 12 mm |  | moguće odstupanje do 1 mm od datih dimenzija | 10 | ком.
95 | Menzura, 10 mL | visoka forma | borsilikatno staklo, bez plastičnih delova | 35 | ком.
96 | Menzura, 100 mL | visoka forma | borsilikatno staklo, bez plastičnih delova | 70 | ком.
97 | Menzura, 25 mL | visoka forma | borsilikatno staklo, bez plastičnih delova | 20 | ком.
98 | Menzura, 250 mL | visoka forma | borsilikatno staklo, bez plastičnih delova | 5 | ком.
99 | Menzura, 50 mL | visoka forma | borsilikatno staklo, bez plastičnih delova | 30 | ком.
100 | Menzura, 500 mL | visoka forma | borsilikatno staklo, bez plastičnih delova | 15 | ком.
101 | Mikrokapilare | 1 μL | pakovanje od 100 komada | 1 | пак.
102 | Mikrotitar pločica, plastična (PE ili PP) | 96 bunara, transparentno ravno dno |  | 180 | ком.
103 | Muf za kleme | hromirani, otvor 16.5 cm, uglovi 90 i 180 stepeni, za stalke prečnika 12 - 14 cm |  | 20 | ком.
104 | Normalni sud, 10 mL | stakleni | borsilikatno staklo; DIN / ISO standard za slif | 20 | ком.
105 | Normalni sud, 100 mL | stakleni | borsilikatno staklo; DIN / ISO standard za slif | 16 | ком.
106 | Normalni sud, 25 mL | stakleni | borsilikatno staklo; DIN / ISO standard za slif | 26 | ком.
107 | Normalni sud, 50 mL | stakleni | borsilikatno staklo; DIN / ISO standard za slif | 16 | ком.
108 | Parafilm | 2 in. * 250 ft. |  | 3 | пак.
109 | Parafilm | 4 in. * 125 ft. |  | 12 | пак.
110 | Pasterova pipeta, plasticna (PE ili PP), 3 mL | graduisana, nesterilna | dostaviti uzorak! | 12800 | ком.
111 | Pasterova pipeta, plasticna (PE ili PP), 5 mL | graduisana, nesterilna | dostaviti uzorak! | 1000 | ком.
112 | Pasterova pipeta, staklena | dužina 23 cm | dostaviti uzorak! | 1550 | ком.
113 | Petri šolja, plastična, sterilna | φ 90 mm |  | 2250 | ком.
114 | Piknometar zapremine 10 mL | Stakleni | borsilikatno staklo; DIN / ISO standard za slif | 3 | ком.
115 | Pinceta, prava | metalna, 150 mm | dostaviti uzorak! | 3 | ком.
116 | Pipeta klipna graduisana, 1 mL |  |  | 5 | ком.
117 | Pipeta klipna graduisana, 2 mL |  |  | 5 | ком.
118 | Plutani podmetač za balone od 1000-2000 mL | d=140/90 mm |  | 15 | ком.
119 | Plutani podmetač za balone od 10-100 mL | d=80/30mm |  | 10 | ком.
120 | Plutani podmetač za balone od 250-500 mL | d=110/60 mm |  | 13 | ком.
121 | Poklopci za tigl | d=50 mm | d=50 mm | 10 | ком.
122 | Porcelanski tigl | d=40 mm, h=32 mm | dostaviti uzorak! | 50 | ком.
123 | Porcelanski tigl | d=45 mm, h=36 mm | dostaviti uzorak! | 100 | ком.
124 | Posude za merenje, aluminijumske | fi top 74 mm, fi int 72 mm, visina 7 mm |  | 100 | ком.
125 | Posude za merenje, plastične | kapacitet 7 ml, visina 7,5 mm, unutrašnji 41 mm, širina 41 mm |  | 500 | ком.
126 | Propipeta gumena sa tri ventila | prirodna guma, stakleni zaštitni ventil, univerzalna veličina za pipete do 100 mL |  | 70 | ком.
127 | Reagens boca sa poklopcem, staklena | široko grlo, svetla, 250 mL |  | 10 | ком.
128 | Reagens boca sa poklopcem, staklena | usko grlo, svetla, 100 mL |  | 10 | ком.
129 | Reducir | muški slif NŠ 14/23, ženski slif NŠ 29/32 | borsilikatno staklo; DIN / ISO standard za slif | 2 | ком.
130 | Sahatno staklo | φ 10 cm |  | 50 | ком.
131 | Sahatno staklo | φ 12 cm |  | 40 | ком.
132 | Sahatno staklo | φ 8 cm |  | 120 | ком.
133 | Silikonsko crevo, obično | unutrašnji prečnik 6 mm, spoljašnji 10 mm |  | 70 | m
134 | Silikonsko crevo, obično | unutrašnji prečnik 4 mm, spoljašnji 7 mm |  | 5 | m
135 | Silikonsko crevo, za vakuum | unutrašnji prečnik 6 mm, spoljašnji 14 mm |  | 3 | m
136 | Silikonsko crevo, za vakuum | unutrašnji prečnik 8 mm, spoljašnji 18 mm |  | 25 | m
137 | sinter disk | fi 80 mm, poroznost 3 | borsilikatno staklo | 5 | ком.
138 | sinter disk, fi 100 mm | poroznost 3 | borsilikatno staklo | 5 | ком.
139 | Slif 29/32, muski, sa nastavkom (cone with outlet) |  | borsilikatno staklo; DIN / ISO standard za slif | 30 | ком.
140 | Šlif, muški, NŠ 14/23 |  | borsilikatno staklo; DIN / ISO standard za slif | 40 | ком.
141 | Šlif, ženski, NŠ 14/23 |  | borsilikatno staklo; DIN / ISO standard za slif | 70 | ком.
142 | Šlif, ženski, NŠ 19/26 |  | borsilikatno staklo; DIN / ISO standard za slif | 20 | ком.
143 | Šlif, ženski, NŠ 29/32 |  | borsilikatno staklo; DIN / ISO standard za slif | 30 | ком.
144 | Šolja za kristalizaciju, φ 115 mm | staklena | borsilikatno staklo | 5 | ком.
145 | Špatula | metalna, dužina 210 mm, široka | dostaviti uzorak! | 3 | ком.
146 | Špatula, s jednim ravnim krajem i kašičicom na drugom kraju | metalna MIKRO SPATULA, dužina 150 mm | dostaviti uzorak! | 4 | ком.
147 | Špatula, s jednim ravnim krajem i kašičicom na drugom kraju | metalna, dužina 100 mm | dostaviti uzorak! | 17 | ком.
148 | Špric boca, 1000 mL | PVC | dostaviti uzorak | 20 | ком.
149 | Špric boca, 250 mL | PVC | dostaviti uzorak | 8 | ком.
150 | Špric boca, 500 mL | PVC | dostaviti uzorak | 62 | ком.
151 | Špric filter | PTFE, hydrophobic membrane, dia 13 mm, pore size 0,2 um | Amtast ili ekvivalent | 50 | ком.
152 | Staklena cev, fi 12 mm, debljina zida 1.5 mm | duzina 1,5 m, Simax ili ekvivalent | 1 pak = 100 kom; simax ili ekvivalent | 1 | пак.
153 | Staklena cev, fi 14 mm, debljina zida 1.5 mm | duzina 1,5 m, Simax ili ekvivalent | 1 pak = 64 kom; simax ili ekvivalent | 1 | пак.
154 | Staklena cev, fi 20 mm, debljina zida 1.8 mm | duzina 1,5 m, Simax ili ekvivalent | 1 pak = 49 kom; simax ili ekvivalent | 1 | пак.
155 | Staklena cev, fi 48 mm, debljina zida 1.6 mm | duzina 1,5 m, Simax ili ekvivalent | 1 pak = 9 kom; simax ili ekvivalent | 2 | пак.
156 | Staklena cev, fi 80 mm, debljina zida 2.5 mm | duzina 1,5 m, Simax ili ekvivalent | 1 pak = 4 kom | 2 | пак.
157 | Staklena slavina, 14.5, bore 2.5 mm | Lenz quality; according to DIN 12541-1 | borsilikatno staklo | 10 | ком.
158 | Staklene cevi | fi 10 mm | zid 1,5mm | 10 | ком.
159 | Staklene cevi | fi 40mm | zid 1,5mm | 3 | ком.
160 | Staklene cevi | fi 50mm | zid 1,5mm | 3 | ком.
161 | Staklene cevi | fi 8mm | zid 1,5mm | 10 | ком.
162 | Stakleni slif 45/40 | par: muski + zenski | borsilikatno staklo; DIN / ISO standard za slif | 10 | ком.
163 | Stakleni slif 60/46 | par: muski + zenski | borsilikatno staklo; DIN / ISO standard za slif | 8 | ком.
164 | Stakleni slif 85/55 | par: muski + zenski | borsilikatno staklo; DIN / ISO standard za slif | 2 | ком.
165 | Stalak za epruvete, metalni | Za epruverte precnika 16 mm, 2 reda po 6 mesta | dostaviti uzorak | 10 | ком.
166 | Stalak za epruvete, metalni | Za epruverte precnika 13 mm, 2 reda po 6 mesta | dostaviti uzorak | 10 | ком.
167 | Štap za vađenje magneta (izvlakač magneta) |  |  | 6 | ком.
168 | Štipaljka za epruvete | drvena | dostaviti uzorak | 40 | ком.
169 | Supelclean Envi-18 SPE Tube | 500 mg, volume 6 mL, pk of 30 | • Polymerically bonded, octadecyl (17% C), endcapped • Excellent for cleaning, extracting and concentrating pollutants from aqueous environmental samples • Higher 17% C loading for increased binding capacities and higher recoveries • Higher carbon loading also offers greater resistance to extreme pH conditions | 1 | пак.
170 | Teflonska slavina, 14.5, bore 2.5 mm | Lenz quality; according to DIN 12541-1 | borsilikatno staklo | 50 | ком.
171 | Termometar, obični, 0-100°C | sa alkoholnim punjenjem |  | 4 | ком.
172 | Termometar, obični, do 360°C | sa alkoholnim punjenjem |  | 54 | ком.
173 | Tikvica za jodni broj | 300 mL, sa čepom NŠ 29 | borsilikatno staklo; DIN / ISO standard za slif | 10 | ком.
174 | Vegeglas | 25ml | h-30mm,d-50mm | 30 | ком.
175 | Аzbestna mrežica |  |  | 15 | ком.
176 | Dean-Stark-ov nastavak | muski slif NS 29/32, zenski slif NS 29/32, PTFE slavina, cev za merenje zapremine 10 mL, podeoci po 0.1 mL | borsilikatno staklo; DIN / ISO standard za slif | 2 | kom
177 | Nastavci za automatske pipete, 0.1-10 μL, duža forma | kompatibilni sa Brand/Socorex automatskim pipetama | dostaviti uzorak! | 2000 | ком.
178 | Nastavci za automatske pipete, 0.1-10 μL, kraća forma | kompatibilni sa Brand/Socorex automatskim pipetama | dostaviti uzorak! | 5000 | ком.
179 | Nastavci za automatske pipete, 2-200 μL | kompatibilni sa Brand/Socorex automatskim pipetama | dostaviti uzorak! | 36000 | ком.
180 | Nastavci za automatske pipete, 100-1000 μL | kompatibilni sa Brand/Socorex automatskim pipetama | dostaviti uzorak! | 22000 | ком.
181 | Nastavci za automatske pipete, 0,5-20 μL | kompatibilni sa Brand/Socorex automatskim pipetama | dostaviti uzorak! | 2000 | ком.
182 | Nastavci za automatske pipete, 500-5000 μL | kompatibilni sa Brand/Socorex automatskim pipetama | dostaviti uzorak! | 400 | ком.
183 | Mikrotuba sa poklopcem (Eppendorf) | 1.5 mL, plastična (PE ili PP), φ 10.8mm, visina 39 mm, graduisana, sa prostorom za obeležavanje | dostaviti uzorak! | 21000 | ком.
184 | Mikrotuba sa poklopcem (Eppendorf) | 0.5 mL, nesterilna, plastična (PE ili PP), graduisana, sa prostorom za obeležavanje | dostaviti uzorak! | 500 | ком.
185 | Mikrotuba sa poklopcem i zaptivnim mehanizmom koji omogućava upotrebu u PCR-u | 0.2 mL, flat cap, hrapav poklopac | dostaviti uzorak! | 1200 | ком.
186 | Mikrotuba sa poklopcem (Eppendorf) | 2 mL, nesterilna, plastična (PE ili PP), fi=10.8 mm, visina 39 mm, graduisana, sa prostorom za obeležavanje | dostaviti uzorak! | 8000 | ком.
187 | Plastična kiveta sa zatvaračem, Screw cap tube, 50 ml | 114 x 28 mm,conical base, PP, with printed writing space and graduation, with assembled cap, sterile, Staarsted ekvivalent, bez postolja | dostaviti uzorak! | 400 | ком.
188 | Plastična kiveta sa zatvaračem, Screw cap tube, 50 ml | 114 x 28 mm,conical base, PP, with printed writing space and graduation, with assembled cap, sterile, Staarsted ekvivalent, sa postoljem | dostaviti uzorak! | 1000 | ком.
189 | Plastična kiveta sa zatvaračem, Screw cap tube, 15 ml | Sa konusnim dnom sa poklopcem: 120 x 17 mm, conical base, PP, centrifugation max (RCF): 15500 x g | dostaviti uzorak! | 300 | ком.
190 | Nastavci za automatske pipete, 0.5-20 μL | BRAND ili ekvivalent odgovarajuci zbog pipeta koje vec postoje | dostaviti uzorak! | 1 | пак.
191 | Nastavci za automatske pipete, 100-1000 μL | [Brand] | dostaviti uzorak! | 2000 | ком.
192 | Nastavci za automatske pipete, 100-1000 μL | RAININ | dostaviti uzorak! | 500 | ком.
193 | Nastavci za automatske pipete, 2-200 μL | [Brand] | dostaviti uzorak! | 1000 | ком.
194 | Nastavci za automatske pipete, 2-200 μL | BRAND ili ekvivalent odgovarajuci zbog pipeta koje vec postoje | dostaviti uzorak! | 1 | пак.
195 | Nastavci za automatske pipete, 5000 μL | RAININ PIPETA | dostaviti uzorak! | 200 | ком.
196 | Nastavci za automatske pipete, 500-5000 μL | BRAND ili ekvivalent odgovarajuci zbog pipeta koje vec postoje | dostaviti uzorak! | 2 | пак.
197 | Nastavci za automatske pipete, 50-1000 μL | BRAND ili ekvivalent odgovarajuci zbog pipeta koje vec postoje | dostaviti uzorak! | 2 | пак.
198 | Univerzalna indikatorska hartija pH 0-14 |  | Merck ili ekvivalent, dostaviti uzorak | 50 | ком.
199 | Qualitative filter papir 100circles 24.0cm Whatman ili odgovarajuće |  |  | 1 | kom
200 | staklena slavina za destilovanu vodu slif F-24 |  |  | 3 | kom
201 | 9316063LLG viale plastične 15 mL 50kom/pak | Viale Plastične 15 mL 50 kom/ pakovanje | ne sterilne | 20 | пак.
202 | Epruveta, 16*160 mm | staklena, bez ruba |  | 200 | ком.
203 | Hypersil GOLD™ C18 Selectivity LC Columns | Particle Size 1.9 µm, Diameter (Metric) 2.1 mm, Length (Metric) 50 mm, Carbon Load 11% Column Format Analytical Column Column Type Reversed Phase Diameter (Metric) 2.1 mm Endcapped Yes For Use With LC/MS Length (Metric) 50 mm Max. Pressure 1250bar Packing Material Silica, Spherical Fully Porous Ultrapure Particle Size 1.9 µm pH 1 to 11 Pore Size 175 Å Surface Area 220 m²/g Temperature 60°C USP Type:L1, Stationary Phase:C18 Selectivity | thermoScientific, Carbon Load 11%, Column Format Analytical Column, Column Type Reversed Phase, Diameter (Metric) 2.1 mm, Endcapped: Yes, For Use With: LC/MS, Length (Metric): 50 mm, Max. Pressure: 1250bar, Packing Material: Silica, Spherical Fully Porous Ultrapure, Particle Size: 1.9 µm, pH: 1 to 11, Pore Size: 175 Å, Surface Area: 220 m²/g, Temperature: 60°C, USP Type: L1 Stationary Phase C18 Selectivity | 1 | ком.
204 | MS Nylon Syringe Filter 25mm 0.45 | Filter za špric, PTFE / 25 mm, 0.45 μm – пак. = 26100.00 дин. pakovanje od 100 komada | SFNY025045 | 20 | пак.
205 | šifra 50147926 pumpa sistema za ultra čistu vodu | UP 8000 with EMC filter | da odgovora sistemu TKA 08.1205-ST | 1 | ком.
206 | Silikonsko crevo, za kondenzatore | unutrašnji prečnik 6 mm |  | 20 | m
207 | Silikonsko crevo, za kondenzatore | unutrašnji prečnik 8 mm |  | 20 | m
208 | FILTER SAMPLER® Blood Serum Filters, Porex® | 16 x 152 mm (5/8 x 6") | VWR 28295-556 , pakovanje od 100 komada | 100 | ком.
209 | FILTER SAMPLER® Blood Serum Filters, Porex® | 10.2 x 102 mm (13/32 x 4") | VWR 28295-658, pakovanje od 100 komada | 100 | ком.
210 | FILTER SAMPLER® Blood Serum Filters, Porex® | 13 x 102 mm (1/2 x 4") | VWR 28295-603, pakovanje od 100 kom | 100 | ком.
211 | ThermoFisher Pierce™ Disposable Columns | 10 mL kolonica plastična | kesa od 100 komada, kat br 29924 | 100 | ком.
212 | Ni skimmer cone | nikleni konus za uvođenje jona u maseni detektor za Thermo Scientific, ICP-MS model iCAP Q |  | 1 | ком.
213 | Vessel botton DAP-60+ | Kompatibilan sa Berghof uredjajem za mikrotalasnu digestiju |  | 10 | ком.
214 | Aluminum TLC plate | TLC Silica gel 60 F₂₅₄ Aluminum TLC plate, silica gel coated with flourescent indicator F254. The silica gel TLC plates come in a quantity of 25 size 20x20 cm for thin layer chromatography applications., 25 Aluminium sheets 20 x 20 cm | Merck ili odgovarajuće | 1 | пак.
215 | Epruveta, 15 mL, konusna sa zavrtnjem, plastična | Sarsted, Tube 15 ml, 120 x 17 mm, conical base, PP, with print, assembled red cap, 50 sterile and pyrogen-free pieces packed in the styrofoam container Product characteristics Label/ Print With printed label Colour of print/label White Graduation Yes Cap Assembled Type of cap Screw cap Base shape Conical base Centrifugation max (RPM) 15500 x g Size Sample volume 15 ml Diameter 17 mm Length of product 120 mm Material & colours Product material Polypropylene (PP) Colour of product Transparent Cap material High Density Polyethylene (HD-PE) Colour of cap Red Tube material Polypropylene (PP) Purity & certification Satisfies the requirement IATA Product in accordance with MDD or IVDD IVD CE certified CE Purity standard Come Grow With Us Sterilisation sterile Pyrogen-free Pyrogen-free Lot or serial number batched Packaging Minimum order qty. 500 Type of packaging Bag Pcs. / inner box 50 Pcs. / box 500 Pcs. / pallet 16000 Depth of case 648 mm Width of case 420 mm Height of case 145 mm Case volume 0,0395 cbm Weight of case 4,14 KG EAN of inner box 4038917113021 EAN of outer box 4038917013895 | dostaviti uzorak | 10 | ком.
216 | Epruvete plastične | Sterilne, sa čepom ᴓ16/100, 10 mL Dostaviti uzorak | dostaviti uzorak | 200 | ком.
217 | Levak za odvajanje (po Squibb-u), 500 mL | stakleni, teflonska slavina, NS 29/32 | borsilikatno staklo; DIN / ISO standard za slif | 1 | ком.
218 | Mikrotuba sa poklopcem (Eppendorf) | Reaction tubes, 1.5 ml, PP, with attached lid, with moulded graduation and frosted writing space, 500 pcs./bag Recommended centrifugation 20000 x g Diameter 10,8 mm Length of product 39 mm Product material Polypropylene (PP) Colour of product Transparent Cap material Polypropylene (PP) Colour of cap Transparent | dostaviti uzorak | 5 | пак.
219 | Nastavci za automatske pipete | 2-200 μL / Eppendorf, Nastavci Sarstedt ili odgovarajući; pakovanje od 500 u kesi | dostaviti uzorak | 6 | ком.
220 | Parafilm | Height 4.75 inches Item Shape Round Length 125.0 inches Material Thermoplastic Measurement System US Model Number PM-996 National Stock Number 7510-01-608-7661 Size 4 inches x 125 feet UPC 734655769967 Width 4.0 inches | parafilm, Bemis ili odgovarajuće | 1 | ком.
221 | Posuda za bojenje dubeca po Helendalu | Staining Jar with Cover, material glass jar feature capacity 8 3 × 1 in. (76 × 25 mm) slide (sixteen slides back-to-back) Wheaton staining ware is not recommended for any moist heat applications such as microwaves, autoclaves or water baths. They can withstand temperatures up to 500°C mfr. no. Wheaton Scientific 900620 inside dimensions L × W × D 42 mm × 26 mm × 85 mm | Merck ili odgovarajuće | 2 | пак.
222 | Syringe Filters | Hydrophilic, PTFE, 13 mm, 0.22 µm | dostaviti uzorak | 300 | ком.
223 | Normalni sud, 250 mL | stakleni |  | 4 | ком.
224 | Pasterova pipeta | plasticna, 3 ml | nesterilisana | 1000 | ком.
225 | Plastična kiveta sa zatvaračem | 50 mL | sa stopom; *dostaviti uzorak | 500 | ком.
226 | 2 ml Screw Top Vials & Caps | Screw top vial bundle, clear, certified, 2 mL, blue, PTFE/silicone, 100/pk. Vial size: 12 x 32 mm (12 mm cap) | dostaviti uzorak! | 10 | пак.
227 | HR-MAS ROTOR KIT | 50 microL, teflon | Ponuđač mora imati autorizaciju proizvođača Bruker za distribuciju | 1 | ком.
228 | InfinityLab long-life deuterium lamp | InfinityLab long-life deuterium lamp, with RFID tag, for diode array detectors with standard flow cell (G1315C/D, DAD of 1220 LC, G7115A) and multiple wavelength detectors (G1365C/D, G7165A) | Potrebno za Agilent HPLC serije 1100 i 1200 | 2 | ком.
229 | Kolona za HPLC | ZORBAX Eclipse XDB 80Å C18, 9.4 x 250 mm, 5 µm | https://www.agilent.com/store/productDetail.jsp?catalogId=990967-202 | 2 | ком.
230 | Pinceta, prava | plastična ili teflonska, 120-150 mm | dostaviti uzorak! | 5 | ком.
231 | PTFE frits | PTFE frits, 5/pk. For 1290 Infinity Binary Pumps (G4220A/B)and all 1260 Infinity/1200 Series/1100 Series analytical pumps) | https://www.agilent.com/store/productDetail.jsp?catalogId=01018-22707 | 3 | пак.
232 | Četkica za pranje epruveta | broj 2 |  | 3 | ком.
233 | Četkica za pranje epruveta | broj 1 |  | 3 | ком.
234 | Četkica za pranje epruveta | broj 3 |  | 3 | ком.
235 | Hirsch funnel (Hirsov levak) | keramicki, kapacitet 10 mL | keramicki, kapacitet 10 mL | 2 | ком.
236 | Hirsch funnel (Hirsov levak) | keramicki, kapacitet 20-25 mL | keramicki, kapacitet 20-25 mL | 2 | ком.
237 | Muški NŠ 14, ženski NŠ 29 |  | borsilikatno staklo; DIN / ISO standard za slif | 2 | ком.
238 | Petri šolja | Sterilna, jednokratna, aseptična precnik 55 mm.Kristalni polistiren, termostabilna do temperature od 75 stepeni |  | 1005 | ком.