## Sheet1
Prilog uz konkursnu dokumentaciju JN 15/20
Partija broj | Naziv | Opis | Napomena | Količina | Jedinica mere | Cena po jedinici mere bez PDV-a | Ukupno bez PDV-a( kolona 5x kolona 7) | Ukupno sa PDV-om ( kolona 8x PDV) | Proizvođač
1 | Accessories Replacement plastic caps for ROTILABO® glass desiccators | Made of PP, with hole | Carl roth NX14.1 ili odgovarajuće | 1 | ком.
2 | Accessories Replacement stopcock for glass desiccators | inner Ø 8 mm, L 100 mm | Carl Roth NX12.1 ili odgovarajući | 1 | ком.
3 | Assorted spatula-set | stain. steel 18/10 6 double and micro-spatulas, 1 forceps; | Mora sadrzati microspoon/ microspoon spatula; CARL ROTH E286.1 ili odgovarajuće; dostaviti uzorak | 4 | пак.
4 | Automatska pipeta | Varijabilna: 10 - 100 mcL | Klasična/jednokanalna | 1 | ком.
5 | Automatska pipeta | Varijabilna: 100 - 1000 mcL | Klasična/jednokanalna | 1 | ком.
6 | Automatska pipeta | Varijabilna: 1000 - 5000 mcL | Klasična/jednokanalna | 1 | ком.
7 | Bio-Rad Gene Pulser/MicroPulser Electroporation Cuvettes | 0.2 cm Electroporation Cuvette, Sterile and Individually Wrapped | dostaviti uzorak! | 20 | ком.
8 | Büchner funnel ROTILABO®, 35 ml, Suitable for: Filter Ø: 45 mm, 48 mm | "Volume 35 ml; Ø Filter plate 48 mm; Suitable for Filter Ø: 45 mm Height 24 mm; Hose length 43 mm" | CARL ROTH, Art. No. TL78.1 ili odgovarajuće; dostaviti uzorak | 2 | ком.
9 | Büchner funnel ROTILABO®, 70 ml, Suitable for: Filter Ø: 55 mm, 62 mm | "Volume 70 ml; Ø Filter plate 62 mm; Suitable for Filter Ø: 55 mm Height 30 mm; Hose length 64 mm;" | CARL ROTH, Art. No. XX45.1 ili odgovarajuće; dostaviti uzorak | 2 | ком.
10 | Čašica za urin | PVC, sterilna |  | 500 | ком.
11 | Četka za epruvete od svinjske dlake sa vrhom | Ø15 mm, dužina četke 70 mm, ukupna 280 mm | 10 četki u pakovanju, Carl Roth cat. 2019.1 ili odgovarajuće | 1 | пак.
12 | Crevo za dijalizu dijametra od 9 do 12 mm, veličine pora u opsegu 2 - 5 kDa | Celulozno crevo, dužine minimum 6 metara | Sigma D2272-10FT ili ekvivalent | 6 | m
13 | Dupla špatula | metalna, dužina 150 mm, uska | dostaviti uzorak! | 2 | ком.
14 | Dupla špatula | metalna, dužina 150 mm, uska | dostaviti uzorak! | 5 | ком.
15 | Eppendorf tubes | volume 5.0 mL, pack of 100 | Eppendorf ili odgovarajuće | 3 | пак.
16 | Epruveta, 16*160 mm | staklena, bez ruba | dostaviti uzorak! | 100 | ком.
17 | Erlenmajer, 250 mL | stakleni, široko grlo |  | 3 | ком.
18 | Erlenmajer, 250 mL | stakleni, usko grlo |  | 3 | ком.
19 | filter 126 According to Hirsch, Suitable for: Filter Ø: 13 mm, 15 mm | "Ø Filter plate 15 mm Suitable for Filter Ø: 13 mm Ø Upper 52 mm Ø Outlet 8 - 11,5 mm Height 74 mm" | CARL ROTH, Art. No. TL78.1 ili odgovarajuće; dostaviti uzorak. | 4 | ком.
20 | flašice sa navojem, N 24; 20 ml | Screw-neck vials N 24, 20mlO.D.: 27,5mm, Outer height: 57 mm, clear,flat bottom, Pak=100 | LLG ili odgovarajuće | 1 | пак.
21 | Guč boca, 250 mL | for vacuum filtration, heavy walls witth integral glass side arms to accept 9 mm bore flexible tubing, prečnik grla 35mm, spoljašnji prečnik boce 85mm, visina 155mm, atestirana (3 atm) | dostaviti uzorak! | 1 | ком.
22 | Gumica za Pasterovu pipetu | silikonska, transparentna | pakovanje od 10 komada | 2 | пак.
23 | HYPERFlask cell culture flask | Flask za gajenje ćelijskih kultura u velikom prinosu. Sadrži 10 slojeva. Ukupna površina za rast ćelija je 1720 cm2 na polistirenskoj plastici koja propušta gasove. Zatvarač od polietilena. Pakovanje od 4 flaska. | Corning CellBIND, cat. no. 10020 ili ekvivalent. | 1 | пак.
24 | Keramička mrežica za plamenik | dimenzije 200*200 mm |  | 3 | ком.
25 | Kesa za sterilizaciju | HIMEDIA, HiDispoBag - 34, 50/1 pak | pakovanje od 50 komada | 1 | пак.
26 | Kesa za sterilizaciju | HIMEDIA, HiDispoBag - 34, 50/1 pak | pakovanje od 50 komada | 1 | пак.
27 | Kiveta, staklena, negraduisana | 10 mL |  | 100 | ком.
28 | Kivete za NMR | NMR-Sample tube, economic, 178 x 4,95 mm +/- 0,05 mm | LLG ili odgovarajuće | 30 | ком.
29 | Kleme za creva za dijalizu | Kleme od Nylon-a 66, dužine 50 mm, 10 komada u pakovanju | Sigma Z371106-10EA ili ekvivalent | 1 | пак.
30 | Laboratorijska boca sa čepom na zavrtanje | 100 mL | dostaviti uzorak! | 5 | ком.
31 | Laboratorijska boca sa čepom na zavrtanje | 250 mL | dostaviti uzorak! | 5 | ком.
32 | Laboratorijska čaša, 100 mL | staklena, niska forma |  | 5 | ком.
33 | Laboratorijska čaša, 25 mL | staklena, niska forma |  | 5 | ком.
34 | Laboratorijska čaša, 250 mL | staklena, niska forma |  | 5 | ком.
35 | Laboratorijska čaša, 50 mL | staklena, niska forma |  | 5 | ком.
36 | Laboratorijska čaša, 500 mL | polipropilen, graduisana, autoklavabilna, sa prostorom za obeležavanje |  | 1 | ком.
37 | Laboratorijska čaša, 600 mL | staklena, visoka forma |  | 2 | ком.
38 | Levak kvalitativni | stakleni, 3 cm |  | 2 | ком.
39 | Levak kvalitativni | stakleni, 5 cm |  | 1 | ком.
40 | Levak kvalitativni | stakleni, 7 cm |  | 1 | ком.
41 | Levak kvalitativni | stakleni, 8 cm |  | 4 | ком.
42 | Levak po Büchner-u | porcelanski, φ 5 cm |  | 1 | ком.
43 | Levak po Büchner-u | porcelanski, φ 7 cm |  | 1 | ком.
44 | Levak po Büchner-u | porcelanski, φ 7 cm |  | 1 | ком.
45 | Levak po Büchner-u | porcelanski, φ 9 cm |  | 1 | ком.
46 | Levak za praškaste supstance | Powder funnels,PP,wide stem,diam. 65 mm, height 68 mm; stem diametar 15 m | LLG ili odgovarajuće | 5 | ком.
47 | Magnet štapićasti, 12 * 4.5 mm, PTFE |  |  | 2 | ком.
48 | Magnet štapićasti, 20 * 6 mm, PTFE |  |  | 3 | ком.
49 | Menzura, 100 mL | borosilikatno staklo, graduisana |  | 5 | ком.
50 | Menzura, 100 mL | plastična, graduisana |  | 5 | ком.
51 | Micro-spoon spatulas | Spoon-shaped, Spoon width 5mm, Total length 185 mm | Roth cat. No. PX34.1 ili odgovarajuće | 5 | ком.
52 | Mikrokapilare | 5 μL | pakovanje od 100 komada | 1 | пак.
53 | Mikrotitar pločica, plastična (PE ili PP) | 96 bunara; transparentno ravno dno, zapakovana sa poklopcem | dostaviti uzorak! | 25 | ком.
54 | Mikrotuba sa poklopcem (Eppendorf) | 1.5 mL, plastična (PE ili PP), φ 10.8mm, visina 39 mm, graduisana, sa prostorom za obeležavanje |  | 2000 | ком.
55 | Mikrotuba sa poklopcem (Eppendorf) | 2 mL, plastična (PE ili PP), graduisana, sa prostorom za obeležavanje |  | 1000 | ком.
56 | Nalgen Single-Use PETG Erlenmeyer Flasks with Plain Bottom: Sterile | Erlenmeyer, Solid, Sterile, 38-430 mm, vented, PETG, 24 per case, 125 mL, | Catalog Number: 4112-0125, ThermoFisher Scientific ili odgovarajuće | 1 | пак.
57 | Nastavci za automatske pipete, 0.1-10 μL, kraća forma | eppendorf | dostaviti uzorak! | 500 | ком.
58 | Nastavci za automatske pipete, 0.1-10 μL, kraća forma | Socorex | dostaviti uzorak! | 500 | ком.
59 | Nastavci za automatske pipete, 100-1000 μL | Eppendorf | dostaviti uzorak! | 4000 | ком.
60 | Nastavci za automatske pipete, 100-1000 μL | eppendorf | dostaviti uzorak! | 3000 | ком.
61 | Nastavci za automatske pipete, 100-1000 μL | Sarstedt | dostaviti uzorak! | 1000 | ком.
62 | Nastavci za automatske pipete, 100-1000 μL | Socorex | dostaviti uzorak! | 1000 | ком.
63 | Nastavci za automatske pipete, 2-200 μL | Eppendorf | dostaviti uzorak! | 3000 | ком.
64 | Nastavci za automatske pipete, 2-200 μL | eppendorf | dostaviti uzorak! | 3000 | ком.
65 | Nastavci za automatske pipete, 2-200 μL | Socorex | dostaviti uzorak! | 2000 | ком.
66 | Normalni sud, 100 mL | stakleni |  | 5 | ком.
67 | Normalni sud, 500 mL | stakleni |  | 1 | ком.
68 | petri solja za celijsku kulturu, precnik 50 mm sterilne | φ 50 mm, plasticne, sterilne | dostaviti uzorak | 50 | ком.
69 | Petri šolja, plastična, sterilna | φ 55 mm |  | 2000 | ком.
70 | Petri šolja, staklena | 100 mm | dostaviti uzorak! | 1 | ком.
71 | Petri šolja, staklena | 150 mm | dostaviti uzorak! | 1 | ком.
72 | Pinceta, prava | metalna, 120 mm | dostaviti uzorak! | 1 | ком.
73 | Pinceta, prava | metalna, 150 mm | dostaviti uzorak! | 1 | ком.
74 | Plocice liskuna za AFM mikroskopiju | Plano 50-15, x10. highest grade V1, AFM Mica Discs, 15 mm, 1/10. | kataloški br: 50-15 | 1 | пак.
75 | Plugs With turn-up lip | Suitable for: NS 14/23, Version 14,9, Ø Lower 14,2 mm, 20 u pakovanju | Roth cat. No. EE03.1 ili odgovarajuće | 2 | пак.
76 | poklopac sa navojem za flašice N13, | Screw cap N 13, PP, black,Pak =100 | LLG ili odgovarajuće | 3 | пак.
77 | poklopac sa navojem za flašice N24, 20 ml | Screw-caps N 24,white PP, closed top. Pak=100 | LLG ili odgovarajuće | 1 | ком.
78 | Poklopac za falše; GL 45; PP, sa membranom PTFE | Membrane screw cap, GL 45, PP, blue, for laboratory glass bottles ePTFE Pore size 0.2 um, Pak 5 | LLG ili odgovarajuće | 1 | пак.
79 | poklopci za NMR kivete | NMR tube caps, NMR tube size 5mm, pak=100 kom | LLG ili odgovarajuće | 1 | пак.
80 | Porcelanski tigl | d=40 mm, h=32 mm | dostaviti uzorak! | 10 | ком.
81 | Round bottom flasks Clear glass, 10 ml, 14/23 | Clear glass,Volume 10 ml,Made of DURAN®. With ground glass joints.Conical ground joint (NS)14/23 | CARL ROTH Art. No. HY50.1 ili odgovarajuće | 5 | ком.
82 | Round bottom flasks Clear glass, 5 ml, 14/23 | Clear glass,Volume 5 ml,Made of DURAN®. With ground glass joints.Conical ground joint (NS)14/23 | CARL ROTH Art. No. HY49.1 ili odgovarajuće | 5 | ком.
83 | Screw caps | Screw cap, headspace steel, magnetic cap, 100/pk | za GC/MS | 1 | пак.
84 | Separating funnel | With PTFE plugs, Volume 100 mL | Roth cat. No. KT71.1 ili odgovarajuće | 2 | ком.
85 | Separating funnel | With PTFE plugs, Volume 50 mL | Roth cat. No. KT70.1 ili odgovarajuće | 2 | ком.
86 | silicone stopper, fold-down edges | diam 14.9 mm | pakovanje od 20 kom, LLG, Verneret ili odgovarajuće | 2 | пак.
87 | silicone stopper, fold-down edges | diam 19.4 mm | pakovanje od 20 kom, LLG, Verneret ili odgovarajuće | 1 | пак.
88 | silicone stopper, fold-down edges | diam 30.7 mm | LLG, Verneret ili odgovarajuće | 30 | ком.
89 | Šlif, muški, NŠ 14 |  |  | 5 | ком.
90 | Šlif, muški, NŠ 19 |  |  | 5 | ком.
91 | Šlif, muški, NŠ 29 |  |  | 5 | ком.
92 | Šlif, ženski, NŠ 14 |  |  | 5 | ком.
93 | Šlif, ženski, NŠ 19 |  |  | 5 | ком.
94 | Šlif, ženski, NŠ 29 |  |  | 10 | ком.
95 | Špatula | čelična, dužina 180 mm | dostaviti uzorak! | 1 | ком.
96 | Špatula | čelična, dužina 180 mm | dostaviti uzorak! | 5 | ком.
97 | Špric, 5 mL | plastični, dvodelni |  | 10 | ком.
98 | Stakleni špric | : bez igle, 5 mL, stakleni konus, ROTH Art. Number C679.1 ili odgovarajuće, napravljen od borsilikatnog stakla |  | 3 | ком.
99 | Stakleni špric | bez igle, 1 mL, stakleni konus, ROTH Art. Number C676.1 ili odgovarajuće, napravljen od borsilikatnog stakla |  | 2 | ком.
100 | Stakleni špric | bez igle, 2 mL, stakleni konus, ROTH Art. Number C677.1 ili odgovarajuće, napravljen od borsilikatnog stakla |  | 2 | ком.
101 | Stakleni špric | bez igle, 3 mL, stakleni konus, ROTH Art. Number C678.1 ili odgovarajuće, napravljen od borsilikatnog stakla |  | 3 | ком.
102 | Stalak za epruvete, metalni | sa 4 nogice, za minimum 50 epruveta | dostaviti uzorak! | 2 | ком.
103 | Stand clamp, Three-finger type | Made of Die-cast zinc powder-coated, Plastic-coated fingers, Span 0-40 mm, Ø Shaft 8 mm | Roth cat. No. X096.1 ili odgovarajuće | 5 | ком.
104 | Štap za vađenje magneta (izvlakač magneta) |  |  | 1 | ком.
105 | Sterilni nastavci nastavci za pipete 100-1000 µl u kutiji | Nastavci za automatsku pipetu u kutiji sterilni, apirogeni, za automatsku pipetu zapremine od 100-1000 µl koji su kompatibilni sa Finepipett F1 pipetama, Thermo Scientific™ ili odgovarajući | dostaviti uzorak | 3 | пак.
106 | Sterilni nastavci sa filterom pipete, 2-200 µl | Nastavci za automatsku pipetu, sterilni, apirogeni, sa filterom, kompatibilni sa Finepipett F1 pipetom 20-200 µl, pakovanje 96 komada u kutiji, Sarstedt kat. Br. 70.760.21 ili odgovarajući | dostaviti uzorak | 10 | пак.
107 | Sterilni nastavci za pipete 2-200 µl u kutiji (set=480 kom) | Nastavci za automatsku pipetu u kutiji sterilni, nepirogeni, za automatsku pipetu zapremine od 2-200 µl koji su kompatibilni sa Finepipett F1 pipetama 2-20 µl I 20-200 µl, Thermo Scientific™ ili odgovarajući | dostaviti uzorak | 3 | пак.
108 | Stopper | with standard taper Hollow glass, standard ground glass joint 14/23, 10 u pakovanju | Roth cat. No. X785.1 ili odgovarajuće | 2 | пак.
109 | Storage vials | Storage vial, 4mL, 15x 45 clear vial, 13-425 closed top, PTFE/silicone septa100/pk | za GC/MS | 1 | пак.
110 | TC Petri posuda, Cell+, 100 x 20 mm, standardno dno, sterilna | Cell+ TC dish - polistirenska (PS) Petri posuda za gajenje osetljivih adherentnih ćelija. TC tested. Pakovanje od 10 komada. | Sarstedt 83.3902.300 ili ekvivalent. | 10 | пак.
111 | TC Petri posuda, Cell+, 150 x 20 mm, standardno dno, 150 cm2, sterilna | Cell+ TC dish - polistirenska (PS) Petri posuda za gajenje osetljivih adherentnih ćelija. TC tested. Pakovanje od 5 komada. | Sarstedt 83.3903.300 ili ekvivalent. | 10 | пак.
112 | TIN BOATS | Dimenzije: 4 x 4 x 11 mm; kalajni čunići za aparat Vario EL III, Elementar, 500kom/pk | proizvodjac LABNEED; 103495*LBN , https://www.labneed.de/tin_boats_4_x_4_x_11mm-a-93-en.php | 1 | пак.
113 | Tissue culture dish, 6-well. Sterile, non-pyrogenic/endotoxin-free, non-cytotoxic, DNase-/RNase-/DNA-free. | Cell+ cell culture plate - polistirenska (PS) pločica sa 6 bunara za gajenje osetljivih adherentnih ćelija. Dimenzije 127,8 mm x 85,2 mm x 22,4 mm. Površina za rast ćelija je 8,87 cm2. | Sarstedt 83.3920.300 ili ekvivalent | 50 | ком.
114 | Trougao za žarenje |  |  | 2 | ком.
115 | Tube za PCR | Providne sa ravnom kapisom 0.2 mikrolitra, Sarstedt ili odgovarajuće, Kompatibilne sa Eppendorf Mastercycler personal DNA thermal cycler PCR aparatom, pakovanje 1000 komada | dostaviti uzorak | 1 | пак.
116 | Tweezers curved pointed | Length 130 mm | Roth cat. No. 2856.1 ili odgovarajuće | 5 | ком.
117 | Vials | Vial, screw top, headspace, clear, 20ml, 23x75mm, 100/pk | za GC/MS | 1 | пак.
118 | Kvalitativni stakleni levak | φ 40 mm |  | 3 | ком.
119 | Kvalitativni stakleni levak | φ 60 mm |  | 3 | ком.
120 | Levak za odvajanje | 50mL, PTFE slavina |  | 3 | ком.
121 | Levak za odvajanje | 25mL, PTFE slavina |  | 3 | ком.
122 | Balon sa okruglim dnom | 50 mL, NŠ 14 |  | 5 | ком.
123 | Balon sa okruglim dnom | 25 mL, NŠ 14 |  | 5 | ком.
124 | Balon sa okruglim dnom | 10 mL, NŠ 14 |  | 5 | ком.
125 | Balon sa okruglim dnom | 5 mL, NŠ 14 |  | 8 | ком.
126 | Balon sa konusnim dnom | 5 mL, NŠ 14 |  | 5 | ком.
127 | Prsten za levak | 40mm without bosshead |  | 3 | ком.
128 | Gumice za pasterove pipete | silikonske |  | 30 | ком.
129 | Expi293™ Expression System Kit | Expi293™ Expression System Kit / The components included in the Expi293 Expression System Kit are: two vials of frozen Expi293F cells, one liter of Expi293 Expression Medium, one ExpiFectamine 293 Transfection kit sufficient to transfect 1 liter of culture, Opti-MEM I Reduced Serum Medium, and an antibody-expressing positive control vector. No. of Reactions: 33 Reactions; Yield: mg to g quantities of protein; Delivery Type: Transfection; Cell Line: Expi293F™; Expression System: Mammalian; Expression Stability: Transient; Key Functions: Protein Production, Constitutive Expression; Protein Tag: Untagged; System Type: Expi293™ Expression System; Product Line: Expi293™. Contents and storage: 2 vials frozen Expi293F cells, 1 bottle 1000 mL Expi293 Expression Medium, 1 ExpiFectamine 293 transfection kit for 1 L of culture, 1 vial Antibody Expressing Positive Control Vector, 1 bottle 100 mL Opti-MEM Reduced Serum Medium. Store all components at +2°C to +8°C, except frozen cells are stored in liquid nitrogen. | Gibco, ThermoFisher Scientific ili odgovarajuće | 1 | пак.
130 | set od tri varijabilne automatske pipete : 2-20 μL , 20-200 μL i 100-1000 μL | automatske pipete su cele autoklavibilne, pipete su lagane, napravljene od organskog polimera, pipete su izradjene od hemijski rezistentnih materijala, zapreminski displej sa 4 cifre,sekundarni displej za kalibriciju i podešavanje preciznog pipetiranja različitih tečnosti u različitim spoljašnjim uslovima, tj. mogućnost pipetiranja tečnosti različitog viskoziteta, Svaka pipeta poseduje ugradjeni RFID čip koji je kompatibilan sa softverom za sledivost podataka o korišćenju pipete, uz svaku varijabilnu pipetu isporučuje se i box sa odgovarajućih 96 nastavaka; servis obezbeđen u garantnom i vangarantnom roku i fabrički kalibracioni sertifikat uz svaku pipetu, 3 godine garancije |  | 2 | pakovanje
131 | Hyper-Sep nastavci (ziptips) C18 sa direkto povezanim matriksom za plastiku veličine od 10-200 mikrolitara | Kapacitet: svaki nastavak može da veže do 80 μg (variajabilna zapremina od 10 μl do 200 μL) totalnih peptida. Faster sample preparation with minimal sample loss with these Hyper separation micropipette tips that have directly attached C18 matrix with particle size from 40-60 angstrom and achieve separation in volumes as low as 100 nL, at a wide range of peptide concentrations. Tips should be declared to remove interfering contaminants and release peptides in MS-compatible solutions, resulting in increased sensitivity and high-quality spectra. Primarily dedicated for MS applications, but also shold be used for peptide concentration and clean-up for peptide sequencing. Vrhovi nastavaka su u obliku strele te mogu lako dopreti u sam ugao tuba ili u uglove njihovih kapica gde se prečišćavanje sadržaja odvija. Pakovano u kutije po 96 komada | Dostaviti sliku samog nastavka. Neophodno da bude kompatibilan sa Eppendorf pipetama. | 1 | pakovanje