## Sheet1
Прилог уз конкурсну документацију јн 2/18
Партија бр. | Назив партије | Опис | Количина | Јединица мере | Напомена | Цена по ј.мере без ПДВ-а | Укупно без ПДВ-а(колона 4 x колона 7) | Укупно са ПДВ-ом (колона 8 x ПДВ) | Произвођач
1. | Nastavci za automatske pipete, 2-200 μL | eppendorf pipeta, sarstedt nastavci | 10000 | ком. | dostaviti uzorak!
2. | Nastavci za automatske pipete, 100-1000 μL | eppendorf pipeta, sarstedt nastavci | 3000 | ком. | dostaviti uzorak!
3. | Teg E2 1G | weight E2,1g, stainless steel, compact form | 1 | ком. | potrebno uverenje o etaloniranju
4. | Teg E2 10G | weight E2,10g, stainless steel, compact form | 1 | ком. | potrebno uverenje o etaloniranju
5. | Teg E2 100G | weight E2,100g, stainless steel, compact form | 1 | ком. | potrebno uverenje o etaloniranju
6. | kutija plastična za teg od 1-2g | standard case for 1-2g weights, lined for E2 | 1 | ком.
7. | kutija plastična za teg od 10g | standard case for 10g weights, lined for E2 | 1 | ком.
8. | kutija plastična za teg od 100g | standard case for 100g weights, lined for E2 | 1 | ком.
9. | Kalajni čunići (Tin boats 4 x 4 x 11 mm 500 PCS) | za aparat Vario EL III, Elementar, 4 x 4 x 11 mm 500 kom u pakovanju | 1 | пак. | za aparat Vario EL III, Elementar
10. | Cev za sagorevanje/redukciju, kvarcna (Combust./reduct.- tube quartz) | Da odgovara kat broju Elementar-a 11.00-1150/4, za aparat Vario EL III, Elementar | 1 | ком. | za aparat Vario EL III, Elementar
11. | Kvarcna cevčica za sakupljanje pepela (Ash finger, 60mm, quartz) | 60 mm, za aparat Vario EL III, Elementar | 1 | ком. | za aparat Vario EL III, Elementar
12. | Kvarcna cevcica za sakupljanje pepela (Ash finger) | 60 mm, quartz | 1 | ком. | za aparat Vario EL III, Elementar
13. | čančići za DSC | Standard Aluminum Hermetic Pans (pkg. of 200), | 1 | пак. | pakovanje 200 komada; TA Instruments ili ekvivalent
14. | poklopci za čančiće (DSC) | Standard Aluminum Hermetic Lids (pkg. of 200) | 1 | пак. | pakovanje 200 komada; TA Instruments ili ekvivalent
15. | Mikrotuba sa poklopcem / 2 mL, plastična (PE ili PP), φ 10.8mm,okruglo dno,, graduisana, sa prostorom za obeležavanje | pakovanje od 1000 kom. | 2 | пак. | dostaviti uzorak
16. | Target2™ Nylon Syringe Filters | Product Size Pack of 100; For Use With HPLC, SPE; Type, Syringe Filter; Diameter, (Metric) 17mm; Material, Nylon; Pressure Rating, 115psi; Disposable, Yes; Housing Material, Solvent-resistant, low-extractable polypropylene; Hold up Volume (After Air Purge), <29mL; Certifications/Compliance, Target polypropylene syringe filter housings meet the requirements of 21 CFR 177.1520; Pore Size, 0.45μm; Prefilter, No; Membrane, Nylon; No. per Pack, 100; Description, 0.45um, 17mm, 100 pack; | 1 | пак. | Thermo Scientific i odgovarajući
17. | Micro spoon spatulas | 185 mm; 5 mm. | 2 | ком.
18. | Pipette bulbs (grey 2 mL) 10 pk | Gumice za pipete (2 mL) | 1 | пак.
19. | Menzura, 10 mL | borosilikatno staklo, graduisana | 4 | ком.
20. | Parafilm M (100 mm x 75 mm ) | Dimenzije100 mm x 75 mm.Can be stretched up to 200% and clings around irregular shapes and surfaces. Parafilm® M is resistant to many polar substances such as saline solutions, inorganic acids and alkaline solutions for up to 48 hours (After this time it may become brittle). Parafilm® M conforms to general FDA requirements if used below 55°C. Melting temperature: 60°C Continued use temperature: -45°C to +50°C Stretching ability: 200% | 2 | пак.
21. | Microcentrifuge tubes (1.5 mL) polypropylene flat cap; 1000 pk | Volume 1.5 mL. Translucent polypropylene (PP), natural colour tight sealing cap safe and easy to be opened and closed for centrifugation up to 30,000g | 1 | пак. | Poželjno pakovanje od 1000 komada. Dostaviti uzorak
22. | Precision Seal® rubber septa white (19/22 joints) | Typical specification results: Compression recovery - Excellent Self-sealing - Excellent Strength - Excellent Puncture Target Area - 40% greater than standard septa Upper Heat limit - 85°C Extractables (Hexanes) - 1.9% Volatile Matter - 0.19% Ash Content - 0.24% Rubber composition: Standard rubber no. 1, accelerator, oxidizer, hard resin acid, anti-ager, lime carbonate, dye agent. | 1 | пак. | Sigma-Aldrich ili ekvivalent
23. | Rollrandgläser 20 ml niedrige Form, Ø 26 x H 60 mm | Volume 20 mL. Glass vials with rolled rims, low form. Made of soda-lime glass. | 1 | пак. | Carl-Roth ili ekvivalent
24. | Rollrandgläser 5 ml niedrige Form, Ø 24 x H 24 mm | Volume 5 mL. Glass vials with rolled rims, low form. Made of soda-lime glass. | 1 | пак. | Carl-Roth ili ekvivalent
25. | Rollrandgläser 2 ml niedrige Form, Ø 11,5 x H 36 m | Volume 2 mL. Glass vials with rolled rims, low form. Made of soda-lime glass. | 1 | пак. | Carl-Roth ili ekvivalent
26. | Četkica za pranje epruveta | broj 1 | 5 | ком.
27. | Četkica za pranje epruveta | broj 2 | 5 | ком.
28. | Četkica za pranje epruveta | broj 3 | 5 | ком.
29. | Micro Spatulas (185 mm; 5 mm) | 18/10 steel (185 mm; 5 mm) | 2 | ком. | Dostaviti uzorak
30. | Menzura, 100 mL | borosilikatno staklo, graduisana | 2 | ком.
31. | HPLC kolona za analizu peptida (Nucleosil C18 HPLC Column) | Feature: endcapped 15% Carbon loading parameter ≤70 °C temp. range application(s): HPLC suitable L × I.D.: 15 cm × 4.6 mm Matrix: octadecyl matrix active group: C18 (octadecyl) phase particle size 5 μm pore size 100 Å surface area 350 m2/g suitability suitable for L1 per USP mode of chromatography reversed phase equipped with connectors/endings/fittings for attachments to HPLC | 1 | Kom
32. | HPLC kolona za analizu šećera(Supelcosil LC-NH2 HPLC Column) | Feature: endcapped extent of labeling: 3% Carbon loading parameter ≤70 °C temp. range L × I.D. 25 cm × 4.6 mm surface coverage surface coverage 5.1 μmol/m2 matrix: silica gel, spherical particle platform matrix active group: amino phase particle size: 5 μm pore size: 120 Å surface area: 170 m2/g suitability: suitable for L8 per USP mode of chromatography: hydrophilic interaction (HILIC) normal phase equipped with connectors/endings/fittings for attachments to HPLC | 1 | Kom
33. | Prazna kolona sa setom za HPLC (Omnifit) zapremine 5,6mL i LxID 100mmx10mm | General description Omnifit glass columns are designed to be packed with resin-based 20-200 μm LC packings, and can be operated at medium pressures. • 10 mm I.D.: 600 psi (42 bar) • 15 mm I.D.: 300 psi (20 bar) • 25 mm I.D.: 150 psi (10 bar) Each Omnifit column is made from a continuous piece of precision-bore borosilicate glass, with extra-deep threaded ends and strain-free fittings. Scalloped endcaps virtually eliminate rolling and give an improved grip when opening or closing the column. Endpieces are constructed to minimize dead volume and reduce turbulence in solvent flow. A 25 μm polyethylene frit in the endpiece distributes the sample evenly over the surface of the packing bed, reducing sample dispersion before the sample enters the column. Column Kit: 1 glass column, 2 fixed-length endpieces with Viton O-rings, 2 × 1/4-28 UNF endcaps, 1 Fittings Kit, and 1 Frit Kit. Order adjustable endpiece (flow adapter) separately. Fittings Kit: 2 m × 1/16in. O.D. PTFE tubing with 1/4-28 UNF fitting, 0.5 m × 1/16in. O.D. PTFE tubing with 1/4-28 UNF fitting, 2 × M6 endcaps Frit Kit: 2 × 25 μm PTFE frits, 2 each 10 μm PTFE frits and μm PE frits. | 1 | Kom