## Sheet1
Прилог уз конкурсну документацију јн 7/19
Партија бр. | Назив партије | Опис | Количина | Јединица мере | Напомена | Цена по ј.мере без ПДВ-а | Укупно без ПДВ-а(колона 4 x колона 7) | Укупно са ПДВ-ом (колона 8 x ПДВ) | Произвођач
1 | Kolona za HPLC, EC 150/4.6 NUCLEOSIL 100-5 C-18 |  | 1 | ком. | macherey-nagel ili ekvivalent
2 | Dionex CarboPac PA100 Analytical Columns 4 x 250 mm | P/N 043055 | 1 | ком. | ThermoScientific ili ekvivalent
3 | MIKROKASIKA-SPATULA | Špatula, s jednim ravnim krajem i kašičicom na drugom kraju / metalna(18/10 steel) MIKROKASIKA-SPATULA, dužina150 mm | 5 | ком. | dostaviti uzorak
4 | Termometar, obični, 0-100°C |  | 3 | ком.
5 | Normalni sud, 25 mL | stakleni | 5 | ком. | Siroko grlo
6 | Glass capillary tubes, Kapilare za određivanje tačke topljenja, pakovanje od 100 komada | Tube overall length: 100mm, Tube diameter: 1.9mm, inner diameter: 1.3mm, wall thickness: 0.3mm | 1 | пак. | /
7 | Silikonsko vakum crevo; Vacuum silicone tubes | Karl Roth, Rotilabo®-vacuum silicone tubes, 5m; catalog 9738.1; Innner Ø 4 (mm) , Outside Ø 12 (mm) Wall thickness 4(mm) | 1 | ком. | Silikonsko vakum crevo, 5m dužine, unutrašnji prečnik 4 mm, spoljašnji 12
8 | Kapilare za određivanje tačke topljenja; Melting point capillaries | Carl Roth, catalog 0820.1; Rotilabo®-capillary tubes, Length 80 mm, outer-Ø 1.35 mm, inner-Ø 0.95 mm, 100 kom., open on one side | 2 | пак. | Staklene kapilare za određivanje tačke topljenja, otvorene sa jedne strane, dužina 80 mm, 100 kom. U jednom pakovanju.
9 | Kolona za GC/MS: HP-5MSI (length 30 m, diam. 0.250 mm narrowbore, 0.25 um film). Temperature limits: From -60 °C to 325 °C (350 °C). | Temperature limits: -60 °C to 325/340; UNSPSC Code: 41115710; Length (m): 30 m; Phase: HP-5ms Inert; GC-ID (mm) 0.25 mm; Cage size: 7 in.; CG Column Dim 30 m x 0.25 mm / 0.25 um; ID(mm) 0.25 mm; Film (um) 0.25 um | 1 | ком. | ekvivalentna proizvodu na veb strani https://www.agilent.com/store/productDetail.jsp?catalogId=19091S-433I
10 | Tehnički filter papir, naborani | dimenzije 580*580 mm | 100 | ком.
11 | Epruveta, 16*100 mm, sa zapušačem/plastična, sterilna! | Sterilno! | 500 | ком. | Sam Plast Čačak ili ekvivalent
12 | Čašica za urin | PVC, sterilna | 1000 | ком.
13 | Epruvete 50 mL | 115x28, konusno dno, stojece, set od 25 kom dostaviti uzorak | 14 | пак. | Sarstedt ili ekvivalent
14 | Nastavci od 1000-5000μL | 100kom/pak, | 6 | пак. | KARTELL, Eppendorf ili ekvivalent dostaviti uzorak
15 | Nylon syringe filters with Luer lock | 25 mm, 0.45 μm, 100 kom/pak | 6 | пак. | membrane Solutions ili ekvivalent
16 | Stakleni slif 45/40, par: muski + zenski | borsilikatno staklo; DIN / ISO standard za slif | 10 | ком. | Lenz ili ekvivalent
17 | Silikonska gumica za Pasterove pipete |  | 20 | ком.
18 | 4 mL Screw Neck vials for storage purposes ND13, 45 x 14.7mm, clear glass, flat bottom | pakovanje po 100 kom | 8 | пак.
19 | 13 mm Screw cap, black, closed top | pakovanje po 100 kom | 8 | пак.
20 | 2 mL clear vial, 9-425 screw top | pakovanje po 100 kom | 4 | пак.
21 | Red PTFE/with silicone septa + blue screw cap with hole for 2 mL 9-425 screw top vial | pakovanje po 100 kom | 4 | пак.
22 | TLC plocice (TLC silica gel 60 F254) | 25 Aluminium sheets, 20x20 cm Specific surface area (according to BET; 5-Pt. measurement) 480 - 540 m²/g Pore volume (N₂-isotherm) 0.74 - 0.84 ml/g d 50 (laser diffraction, size distribution) 9.5 - 11.5 µm Layer thickness 175 - 225 µm Deviation of layer thickness per plate ≤ 30 µm A) Colour test Bleu VIF Organol 11 - 25 Ceres black 34 - 48 Ceres violet BRN 52 - 67 Separation number ≥ 10.5 B) Steroid test Hydrocortisone 25 - 37 Reichstein S 37 - 49 Methyltestosterone 42 - 54, Merck ili odgovarajuce | 3 | пак. | Merck ili ekvivalent
23 | Sensor chip LNB-Carboxyl, pakovanje od 4 komada | Attana LNB-Carboxyl senzor cip ili odgovarajuci, kompatibilan sa opremom Attana 200 i/ili Attana A200, koji se koristi za kovalentnu imobilizaciju proteina ili drugih molekula sa primarnom amino grupom. Potrebno je da poseduje niski afinitet ne specificnog vezivanja i mogucnost koriscenja sa sirovim uzorcima kao sto su hibridomi ili delovi celija. Pakovani zasebno ili zajedno u gasno izolovanom alu ili plasticnom pakovanju, pakovanje sadrži 4 komada; skladisteni na 4-8°C. | 1 | пак. | Kat broj: 3623-3043, proizvođač: attana
24 | Balon, jednogrli, 2 L | stakleni, okruglo dno, sa šlifom NŠ 29 | 3 | ком.
25 | Filteri | PTFE, pore size 0.45 µm, diameter 25 mm, hydrophobic | 1000 | ком. | Membrane Solutions ili ekvivalent
26 | Viale | 2 mL, bez poklopca, tamne 9-425 | 2000 | ком.
27 | Plastična kiveta sa zatvaračem | 50 mL, ravno dno | 1000 | ком. | dostaviti uzorak!
28 | Nastavci za automatske pipete, 100-1000 μL | Brand ili ekvivalent | 3000 | ком. | dostaviti uzorak!
29 | Nastavci za automatske pipete, 2-200 μL | Brand ili ekvivalent | 1500 | ком. | dostaviti uzorak!
30 | Mikrotitr ploče sa 24 bunara | ravno dno, sterilne, zapakovane | 50 | ком. | Sarstedt ili ekvivalent
31 | Filter za špric, PTFE | 25 mm, 0.22 μmnylon syringe filters with luer lock | 10 | пак. | 100kom/pak
32 | Viala 2ml, ND 9mm, tamna,label screw, | ND 9mm, tamna,label screw, | 10 | пак. | 100kom/pak
33 | zatvarač PP plavi ND9 SIL/PTFE precut | PP plavi ND9 SIL/PTFE precut | 10 | пак. | 100kom/pak
34 | vassel Botton DAP-60+ | za Berghof mikrotalasni digestor | 4 | ком.
35. | Anti-Mouse Ig, κ/Negative Control (FBS) Compensation Particles Set | polystyrene microparticles which are used to optimize fluorescence compensation settings for multicolor flow cytometric analyses. The set provides two populations of microparticles, Anti-Mouse Ig, κ particles,which bind any mouse κ light chain-bearing immunoglobulin, and Negative Control (FBS), which has no binding capacity. When mixed together with a fluorochrome-conjugated mouse antibody, particle set provide distinct positive and negative (background fluorescence) stained populations which can be used to set compensation levels manually or using instrument set-up software. BD or equivalent. | 1 | пак.
36. | Beads for calibration, | designed for use with FACSComp™ or AutoCOMP™ software and the FACS™ family of ﬂow cytometers (FACSCalibur™, FACSort™, FACScan™, and FACStrak™). The beads are used to adjust instrument settings, set ﬂuorescence compensation, and check instrument sensitivity. | 1 | пак.