## Sheet1
Прилог уз конкурсну документацију јн 2/20
Партија бр. | Назив партије | Опис | Количина | Јединица мере | Напомена | Цена по ј.мере без ПДВ-а | Укупно без ПДВ-а(колона 4 x колона 7) | Укупно са ПДВ-ом (колона 8 x ПДВ) | Произвођач
1 | Staklene viale sa zatvaračem za GC-MS, zapremine 2 mL, Screw vials 2 mL, Blue screw caps, PTFE/red sil septa, isključivo Agilent DSP Chromatography zbog postojeceg GC-MS instrumenta | Screw vials, 2 mL with caps and septa, blue caps PTFE/red septa, iskljucivo Agilent DSP Chromatography zbog postojeceg GC-MS instrumenta, pakovanje od 100 komada | 2 | ком. | Screw vials 2 mL with blue caps, PTFE/red septa, pakovanje od 100 komada, kataloski broj 5185-5950A, Agilent, DSP Chromatography, zbog postojeceg GC-MS instrumenta
2 | TEST TUBES WITH SNAP-ON LID, visina 45 mm, prečnik 23 mm | Staklene penicilinke sa plastičnim zatvaračem, visina 45 mm, prečnik 23 mm, pakovanje od 200 komada | 1 | ком. | Test tubes with snap-on lid, visina 45 mm, prečnik 23 mm, pakovanje od 200 komada. U slučaju da nema pakovanja od 200 komada u obzir dolaze dva pakovanja od 100 komada
3 | Pasterove pipete staklene zapremine 2 mL, dužine 22,5 cm do 23 cm | Pasterove pipete staklene zapremine 2 mL, dužine 22,5 cm do 23 cm, pakovanje od 500 komada pipeta ili 2 pakovanja od 250 komada | 1 | ком. | Pasteur pipets,glass,cap. 2 ml,length 225-230 mm, pack of 500 pcs ili two packs of 250 pcs
4 | Balon, jednogrli, 250 mL | stakleni, okruglo dno, sa šlifom NŠ 29 | 8 | ком.
5 | Balon, jednogrli, 50 mL | stakleni, okruglo dno, sa šlifom NŠ 29 | 10 | ком.
6 | Balon, jednogrli, 100 mL | stakleni, okruglo dno, sa šlifom NŠ 29 | 5 | ком.
7 | Balon, jednogrli, 25 mL | stakleni, okruglo dno, sa šlifom NŠ 14 | 5 | ком.
8 | Balon, jednogrli, 500 mL | stakleni, okruglo dno, sa šlifom NŠ 29 | 2 | ком.
9 | Magnet štapićasti | 12 * 3 mm, PTFE | 15 | ком. | dostaviti uzorak
10 | Magnet štapićasti | 20 * 6 mm, PTFE | 15 | ком. | dostaviti uzorak
11 | Magnet štapićasti | 35* 6 mm, PTFE | 5 | ком. | dostaviti uzorak
12 | Stakleni štapić | 5x250 mm | 20 | ком.
13 | Sahatno staklo | φ 5 cm | 10 | ком.
14 | Sahatno staklo | φ 8 cm | 10 | ком.
15 | Sahatno staklo | φ 15 cm | 5 | ком.
16 | Levak za odvajanje (po Squibb-u), 50 mL | stakleni, teflonska slavina, NS 19/26 | 2 | ком.
17 | Mikrotuba sa poklopcem (Eppendorf) | 1.5 mL, PVC, sa poklopcem | 1000 | ком. | dostaviti uzorak
18 | Levak kvalitativni | stakleni, 10 cm | 5 | ком.
19 | Menzura, 25 mL | borosilikatno staklo, graduisana | 7 | ком.
20 | Menzura, 50 mL | borosilikatno staklo, graduisana | 7 | ком.
21 | Menzura, 100 mL | borosilikatno staklo, graduisana | 2 | ком.
22 | Menzura, 250 mL | borosilikatno staklo, graduisana | 2 | ком.
23 | Pinceta, prava | metalna, 150 mm | 1 | ком. | dostaviti uzorak!
24 | Laboratorijska čaša, 1 L | staklena, visoka forma | 5 | ком.
25 | Laboratorijska čaša, 5 mL | staklena, niska forma | 10 | ком.
26 | Laboratorijska čaša, 10 mL | staklena, niska forma | 10 | ком.
27 | Laboratorijska čaša, 10 mL | staklena, niska forma | 10 | ком.
28 | Laboratorijska čaša, 150 mL | staklena, niska forma | 5 | ком.
29 | Laboratorijska čaša, 600 mL | staklena, niska forma | 6 | ком.
30 | Laboratorijska čaša, 2 L | staklena, visoka forma | 3 | ком.
31 | Laboratorijska čaša, 3 L | staklena, visoka forma | 2 | ком.
32 | Laboratorijska čaša, 5 L | staklena, visoka forma | 2 | ком.
33 | Laboratorijska čaša, 5 L | staklena, niska forma | 2 | ком.
34 | Laboratorijska čaša, 3 L | staklena, niska forma | 3 | ком.
35 | Laboratorijska čaša, 2 L | staklena, niska forma | 1 | ком.
36 | Špric boca, 500 mL | PVC, za aceton, etanol, metanol; | 5 | ком. | Kautex ili ekvivalent
37 | Špric boca, 500 mL | PVC | 2 | ком.
38 | Čep stakleni, NŠ 29 | šlifovani | 10 | ком.
39 | Čep stakleni, NŠ 14 | šlifovani | 5 | ком.
40 | Vijale 20 mL | staklena, pakovanje 72 kom. | 1 | пак. | 20 mL Sample Vial, Type I Borosilicate,clear, Thread Finish 24-400, Cap Liner Material 14B Rubber Liner, dia 28mm, height 60mm, pack 72 pcs.
41 | Šolja za kristalizaciju, φ 100 mm | staklena | 3 | ком.
42 | Šolja za kristalizaciju, φ 150 mm | staklena | 3 | ком.
43 | Dupla kašika | metalna, dužina 200 mm, uska | 2 | ком. | dostaviti uzorak!
44 | Dupla špatula | metalna, dužina 150 mm, uska | 2 | ком. | dostaviti uzorak!
45 | Špatula | metalna, dužina 210 mm, široka | 2 | ком. | dostaviti uzorak!
46 | Četkica za pranje epruveta | broj 4 | 10 | ком.
47 | Četkica za pranje epruveta | broj 6 | 3 | ком.
48 | Četkica za pranje epruveta | broj 7 | 3 | ком.
49 | Termometar, obični, 0-200°C | 0-200°C | 2 | ком.
50 | Klema za balon | okrugla, 60 mm, cink Zinc die casting, powder-coated. With round jaws. Range 60 mm. Clamps,die-cast zinc,w/o.bosshead,round jaws. | 5 | ком. | dostaviti uzorak
51 | Držač za kleme-muf | 16 mm, stainless steel Stainless steel, electrolytically polished, for rods up to 16mm diameter. With tommy-bar screws. Bosshead, 16mm T-screws | 5 | ком. | dostaviti uzorak
52 | Prsten za levak sa klemom | dijametar 80 mm, stainless steel stainless steel, Support ring 80 mm, with bosshead | 3 | ком. | dostaviti uzorak
53 | Igla hipodermalna | 0.80 x 100mm | 100 | ком. | 0.80 x 100mm
54 | Pipeta klipna graduisana, 1 mL |  | 3 | ком.
55 | Pipeta klipna graduisana, 2 mL |  | 2 | ком.
56 | Pipeta klipna graduisana, 5 mL |  | 3 | ком.
57 | Pipeta klipna graduisana, 10 mL |  | 2 | ком.
58 | Pasterova pipeta, staklena | dužina 15 cm | 100 | ком.
59 | Pasterova pipeta, plastična (PE ili PP) | 3 mL, graduisana, nesterilna | 300 | ком.
60 | Mikrotuba sa poklopcem (Eppendorf) | 1.5 mL, PVC | 500 | ком. | dostaviti uzorak
61 | Špatula, s jednim ravnim krajem i kašičicom na drugom kraju / metalna(18/10 steel) MIKROKASIKA-SPATULA, dužina150 mm, dostaviti uzorak | metalna(18/10 steel) MIKROKASIKA-SPATULA, dužina150 mm, | 3 | ком. | dostaviti uzorak
62 | Menzura, 100 mL | borosilikatno staklo, graduisana | 3 | ком.
63 | Menzura, 50 mL | borosilikatno staklo, graduisana | 3 | ком.
64 | Filter za spric | Nylon syringe filter / Pore size: 0.22μm, diameter: 25mm, 100kom/pak | 5 | пак. | Membrane solution ili ekvivalent
65 | Filter za spric | Nylon syringe filter / Pore size: 0.45μm, diameter: 25mm, 100kom/pak | 5 | пак. | Membrane solution ili ekvivalent
66 | Parafilm | 4 in. * 125 ft. | 1 | пак.
67 | Horizontal drive WPS | Thermo Scientific Dionex, šifra: 6820.7300 | 1 | ком. | https://www.gimitec.com/epn/thermo-scientific-dionex-horizontal-drive-assembly-wps-pl-p-n-6820-7300/
68 | Plastična kiveta sa zatvaračem | 15 mL, konusno dno | 500 | ком. | dostaviti uzorak!
69 | Plastična kiveta sa zatvaračem | 50 mL, ravno dno | 2000 | ком. | dostaviti uzorak!
70 | Bireta po Schelbach-u, 25 mL | staklena, with straight stopcock, class AS, PTFE key, lenght 500mm approx, podela 0,05 mL (tol. ±0,03mL) | 10 | ком.
71 | Epruveta, 10*100 mm | staklena, bez ruba | 200 | ком.
72 | Syring pump | Accuracy ± 0.5% , Reproducibility ± 0.05%, Syringes (Min./Max.) 0.5 μl / 60 ml, Flow Rate: , Minimum (0.5 μl syringe) 1.26000 pl/min , Maximum (10 ml syringe) 26.0170 ml/min , Maximum (60 ml syringe) 88.4040 ml/min N/A , Display 4.3” WQVGA TFT Color Display with Touch Screen, Non-Volatile Memory Stores all settings, Connectors: RS-485 IEEE-1394, 6 pos , USB Type, I/O & TTL 15 pin D-Sub Connector, Linear Force (Max) 13.6 kg (30 lbs) @ 100% Force Selection, Drive Motor 0.9° Stepper Motor , Motor Drive Control Microprocessor with 1/16 microstepping, Number of Microsteps per one rev. of Lead Screw 15,360, Step Resolution 0.069 μm/μstep , Step Rate: , Minimum 27.5 sec/μstep, Maximum 26 μ sec/μstep , Pusher Travel Rate:, Minimum 0.15 μm/min , Maximum 159.00 mm/min , Input Power 12-30 VDC , Input Power Connection 2.5mm ID x 5.5mm OD male plug , Power Supply 100-240 VAC, 50-60 Hz, 8 Watts Universal. | 1 | ком.
73 | Epruveta, sa konusnom osnovom i poklopcem, 15 mL | sterilna, nepirogena, graduisana, poklopac na zavrtanje (screw cap), polipropilenska, prozirna; φ 17 mm, visina 120 mm; mogućnost centrifugiranja do 15000g; autoklavabilna na 121°C; SARSTED ili odgovarajuće | 200 | ком.
74 | Epruveta, sa konusnom osnovom i poklopcem, 50 mL | sa suknjicom, sterilna, nepirogena, graduisana, poklopac na zavrtanje (screw cap), polipropilenska, prozirna; φ 28 mm, visina 114 mm; mogućnost centrifugiranja do 15000g; autoklavabilna na 121°C; SARSTED ili odgovarajuće | 200 | ком.
75 | Epruveta, sa konusnom osnovom i poklopcem, 50 mL | sterilna, nepirogena, graduisana, poklopac na zavrtanje (screw cap), polipropilenska, prozirna; φ 28 mm, visina 114 mm; mogućnost centrifugiranja do 15000g; autoklavabilna na 121°C; SARSTED ili odgovarajuće | 200 | ком.
76 | Nastavci za automatske pipete, 100-1000 μL / eppendorf |  | 2000 | ком. | dostaviti uzorak
77 | Nastavci za automatske pipete, 2-200 μL / za Eppendorf pipete |  | 5000 | ком. | dostaviti uzorak
78 | Nastavci za automatske pipete 5mL /kompatibilni sa Eppendorf i Brand pipetama |  | 400 | ком. | dostaviti uzorak
79 | Najlonski filter za spric | 0.2 mikrometra pora, nylon, precnik 25mm | 300 | ком.
80 | Filter za spric PTFE | 0.45mikrometra pora, PTFE, precnik 25mm | 200 | ком.
81 | Screw cap tube, 15 ml | 120 x 17 mm, conical base, PP, with printed writing space and graduation, with assembled red cap, sterile and non-pyrogenic/endotoxin-free, | 10 | пак. | 50 pcs./bag
82 | Screw cap tube, 50 ml | 114 x 28 mm,conical base, PP, with printed writing space and graduation, with assembled red cap, sterile and non-pyrogenic/endotoxin-free, | 30 | пак. | 25 pcs./bag
83 | Serological pipette 5 ml | with cotton plug, colour code: blue, polystyrene, sterile , | 4 | пак. | 50pcs/bag
84 | Serological pipette 10 ml | with cotton plug, colour code: orange, polystyrene, sterile, | 5 | пак. | 50 pcs/bag
85 | Serological pipette 25 ml | with cotton plug, colour code: red, polystyrene, sterile, | 4 | пак. | 25pcs/bag
86 | Serological pipette 50 ml | with cotton plug, colour code: violet, polystyrene, sterile, | 5 | пак. | 20pcs/bag
87 | Aspiration pipette 2 ml for aspiration of liquids | polystyrene, without cotton plug, polystyrene, sterile, | 1 | пак. | 1000pcs/bag
88 | Cell scraper with 2-position blade | scraper length: 25 cm, Blade length: 1.7 cm, sterile, | 25 | пак. | 1pcs
89 | Cell culture plate, 6-well | PS, surface: standard TC for adherent cells, red, flat base, | 30 | пак. | 1pcs.
90 | Cell culture plate, 96-well | PS, surface: standard TC for adherent cells, red, flat base, | 50 | пак. | 1pcs
91 | Tissue culture flasks T-25 | standard TC for adherent cells, canted neck, 10pcs | 5 | пак. | 10pcs
92 | Cell culture dish 35 x 10 mm | PS, surface: standard TC for adherent cells, red, | 5 | пак. | 10pcs
93 | Table rack | made of steel/epoxy resin, white, for disposal bags , including a dispensing package with 100 bags, | 2 | пак. | 1 pc./case
94 | CryoPure tube 2.0 ml | (PP) w/ QuickSeal screw cap (HD-PE), colour mix (white, red, yellow, green, violet), external thread, 1.8 ml nominal volume, Cryo Performance Tested, | 1 | пак. | 50 pcs./bag
95 | Hemocitometar | Pločica za brojanje ćelija, "Neubauer improved" dimenzija 30x70x4 mm, sa 2 kvadrata za brojanje ćelija, dimenzija 3 mm x 3 mm. Svaki kvadrat je podeljen na 9 manjih površine 1 mm2 . Centralni kvadrat je podeljen na 25 manjih. Dubina je 0,1 mm. | 1 | ком.
96 | centrifuge bottles, PP-copolymer with screw cap | centrifuge bottles, PP-copolymer with screw cap, capacity 1000 mL, 96mm x 168mm | 12 | ком. | dostaviti uzorak
97 | Traka za sterilizaciju, | self-adhesive, crepe paper, containing thermo-active pigments, The white colored strips turn brown after autoclaving (121°C: after 20 min. approx., 134°C: after 5 min. approx.) | 2 | ком.
98 | Ependorfi 2 mL | mikrotube 2 mL, nesterilne, dostaviti uzorak | 1000 | ком. | dostaviti uzorak
99 | Ependorfi 1,5 mL | mikrotube 1,5 mL, nesterilne, dostaviti uzorak | 3000 | ком. | dostaviti uzorak
100 | Nastavci 1000 mikroL | Nastavci za pipete od 1000 uL, nesterilni, pakovanje od 1000 kom, dostaviti uzorak | 5000 | ком. | dostaviti uzorak
101 | Nastavci 200 mikroL | Nastavci za pipete od 200 uL, nesterilni, pakovanje od 1000 kom, dostaviti uzorak | 7000 | ком. | dostaviti uzorak
102 | Nastavci 10 mikroL | Nastavci 10 uL, RNAse, DNAse free, pogodni za PCR, dostaviti uzorak | 3000 | ком. | dostaviti uzorak
103 | plasmid miniprep kit | Fast isolation of high purity plasmid DNA suitable for all conventional molecular biology procedures, 250 reactions, < 100 µg (Small-Scale) Plasmid DNA | 1 | пак.
104 | 6,48-D0,5CAPILLARY, GLASS-D-L180-R1GOHM | Kapilara visokog napona za Bruker MS MicroTOF II | 1 | ком.
105 | INNER API SOURCE SERVICE KIT | set rezervnih delova za servis unutrasnjeg bloka jonskog izovora, za Acquity TQ maseni spektrometar koji radi pod atmosferskim pritiskom | 1 | ком. | WAT-700005044
106 | OIL RESERVOIR PMO63265T | rezervoar za ulje Acquity TQ detektora, koji se nalazi ispod jonskog izvora | 1 | ком. | WAT-5560013TU
107 | EXTRACTION CONE - 0,73, 1 EACH | ekstraktor jonizovaih cestica od nerdjajuceg celika dijametra 0.73in | 1 | ком. | WAT-700003257
108 | SAMPLE CONE 0,5 DIA | konusni uzorkivac dijametra 0.5in za Waters TQ maseni spektrometar | 1 | ком. | WAT-700003055
109 | TUBE, ESI-SS CAPILLARY, PLCZ | Kapilara za ESI jonski izvor od nerdjajuceg celika, kompatabilna za bioloske uzorke | 1 | ком. | WAT-700000341
110 | SET-UP SOLUTION QP, SQD | Set hemikalija za kalibraciju Acquity TQ masenog spektrometra koji se sastoji od:1 x 10ml Set-up Rastvor QP: PPG 1000 2.5 ng/ul, Triacetyl-B-cyclodextrin 5.0 ng/ul, verapamil 100.0 pg/ul, ammonium acetate 0.31 mg/ml, Leucine Enkaphalin 1 ng/ul sve komponente su rastvorene u smesi Acetonitrile/Water(1:1v/v) i nalaze se u braon boci radi zastite od uv zraka | 1 | ком. | WAT-700003105